Site Emergency Plan

XXXXXXX

33 Smith Rd

XXXXXXX, CA 08033

TABLE OF CONTENTS

A.   PRE-EMERGENCY PLANNING

1.0	INTRODUCTION AND OBJECTIVES

1.1	Introduction

1.2	Objectives

2.0	REGULATORY APPLICABILITY

3.0	FACILITY DESCRIPTION

3.1	Location

3.2	Site Description & Risk Assessment

  - Infrastructure and Utilities

4.0	BASIC COORDINATION & PROVISIONS

4.1	Definition of an Emergency

4.2	Emergency Definitions, Levels and Crisis Management Team

4.3	Crisis Management Team Response Center

4.4	Emergency Equipment

  - Spill Prevention and Planned Countermeasures

  - Hazardous Waste Contingency Plan

  - Training

B. 	EMERGENCY RESPONSE PLAN

5.0	EMERGENCY RESPONSE PLAN

5.1	Emergency Communications

5.2	Emergency Response Action Plans

    - Core Emergency Conditions

      - Fire/Explosion

      - Chemical Spills/Releases

      - Chemical Delivery / Transportation

      - Civil Disturbances/Site Strikes/Protestors

      - Utility Loss (Power Loss)

      - Bomb Threats

      - Medical Emergencies

      - Sabotage

      - Elevator Entrapment

      - Workplace Violence

      - Chemical Release

      - Parcel / Letter

      - Severe Weather - Winter

      - Severe Weather – Severe Thunderstorm / Tornado

      - Hurricane

      - Biohazardous Materials

      - Media Relations

      - Unexploded Munitions/Ordinance (UXO)

      - Confined Space

      - Compressed Gasses

      - Earthquake

      - Nuclear Event

  - Emergency Evacuation Plan

  - Incident Reporting

  - Notification to Regulatory Authorities

C. POST EMERGENCY RECOVERY PLAN

6.0	PUBLIC AFFAIRS

6.1	Spokesperson

6.2	Notification of Spokesperson

6.3	Responsibilities of Spokesperson

7.0	POST-EMERGENCY PROCEDURES

7.1	Post-Emergency Recovery

7.2	Pre-Startup

7.3	Employee Interventions

7.4	Emergency Investigation and Follow-up

8.0	PLAN UPDATE AND DISTRIBUTION

8.1	Plan Update and Amendments

8.2	Distribution of the Plan

TABLES

  - Training Requirements for Emergency Response Staff

  - Spill Containment & Control Measures

5.1	Employee Responsibilities in the Event of an Emergency

5.2	Directory of Emergency Contacts

5.3	Emergency Response Team Roster

5.4	Emergency Response Center Checklist

5.5	Emergency Response Center Locations

5.6	Emergency Equipment Inventory Form

5.7	Chemical Inventory and Reportable Quantities

5.8	Incident Report

6.1	Public Affairs Fact Sheet Development

  - Outline for Communication Flow

  - General Guidelines for Working With The Media

7.1	Emergency Equipment Inventory Form

7.2	Recovery Action Plan Checklist

7.3	Restart Checklist

7.4	Incident Critique Checklist

FIGURES

  - Site Location Map

  - Facility Layout Map

5.3	Evacuation Route Diagrams

5.4	Route to the Nearest Hospital

5.5	Emergency Equipment Locations

5.6	Emergency Response Organization Chart

Attachments

A	XXX Crisis Management Plan

B	Spill Prevention, Control & Countermeasure Plan

C	RCRA Hazardous Waste Contingency Plan & Summary of Hazardous Waste

A.   PRE-EMERGENCY PLANNING

SECTION 1

INTRODUCTION AND OBJECTIVES

1.1	INTRODUCTION

This Emergency Response describes the procedures, lines of authority, and processes that will be followed to ensure that emergency response efforts are prompt, efficient, and suitable for particular circumstances.  This Plan has been developed to provide the information that each employee may need to respond to an emergency and to handle the emergency effectively.  Failure to correctly handle an emergency can lead to injuries, death, or property damage, as well as fines, citations, and damage to the reputation of XXXXXXX and its personnel.

The procedures described in this plan represent the minimum response actions to be implemented to contain, control, and recover from the extraordinary conditions indicated. This document explains, in detail, how the requirements of Federal Occupational Safety and Health Administration (OSHA) Regulations 29 CFR 1910.38 have been implemented at this facility.  Other applicable emergency response requirements have been included or referenced in this document, including emergency response requirements set forth in 40 CFR Part 112 Spill Prevention & Control and 310 CMR 30.521(5)(a-d) Hazardous Waste Contingency Plan.

1.2	OBJECTIVES

The XXXXXXX facility of XXXXXXX has a policy (XXX-CP-444) of commitment to the health, safety and security of all employees, visitors, and the community. The XXXXXXX Emergency Plan is an integral part of this commitment.

This document is intended to meet the requirements set forth in XXX-XXXXX Emergency Planning and Contingency Planning.

The Crisis Management Plan encompasses three sections: pre-event, response, and post-event. The Crisis Management Plan, in conjunction with the site Hazardous Waste Contingency Plan, provides a management plan for all emergencies. For the purpose of this plan, an emergency is defined as any event that potentially may interrupt normal site activities.

This plan provides an expandable management system in response to emergencies including but not limited to: fire; explosion; chemical release; biological release; extreme weather condition; civil disturbances; terrorist threats; and any off site emergencies whose zone of influence extends within the boundaries of this site, pandemic health emergencies and work place violence. The nature and degree of severity of a particular event will dictate the extent to which this plan is implemented.

SECTION 2

REGULATORY APPLICABILITY

This Plan demonstrates compliance with many regulatory requirements and will be updated if any new risks are identified or if new regulations mandate additional emergency control plans.  Specifically, this Plan satisfies or supplements the following regulatory requirements for emergency plans:

- Hazardous Waste Contingency Plan.  This plan is required for large quantity generators of Resource Conservation and Recovery Act (RCRA) / MA Department of Environmental Protection (310 CMR 30.0) hazardous waste who have waste accumulation, storage, treatment, or disposal areas.

- Hazardous Waste Operations and Emergency Response (HAZWOPER) Emergency Response Plan.  The Occupational Safety and Health Administration (OSHA) require facilities with employees who have direct emergency response involvement in handling hazardous substances and/or hazardous wastes, to implement a written response plan.

- Spill Prevention, Control, and Countermeasure (SPCC) Plan.  An SPCC is required for all oil, petroleum, and used fuels and oils stored on site if: (1) the aboveground storage exceeds 1,320 gallons in total or 660 gallons in a single container; (2) the cumulative underground storage exceeds 42,000 gallons.

- Employee Emergency and Fire Prevention Plans.  These plans are required by various OSHA standards.

- Information on Hazardous Substances.  The Emergency Planning and Community Right-to-Know Act (EPCRA) requires facilities to report information on hazardous substance inventories to their State and local emergency planning committees (LEPCs) and local fire department.

SECTION 3

FACILITY DESCRIPTION

This section contains a brief description of the site, including the site location, site features, and infrastructure and utilities at the site.

  - LOCATION

- XXX XXXXXXX Site:

- XXXXXXX

- 33 Smith Rd

- XXXXXXX, CA 08033

- 555-555-1212

- Emergency (24 Hrs.): (555) 555-1212

- Internal Phone: Emergency (24 Hrs.): 3333

- North American Industrial Classification System (NAICS) - xxxxxxx

- Standard Industrial Classification: 2836

- Federal Employer ID: XX-XXXXXXX

- EPA ID Number:   XXXXXXXX

- Emergency Report Address:

- 33 Smith Rd

- XXXXXXX, CA 08033

- Plus building number per section 3.2

- Waste Water Pretreatment Facility:

- MA DEP Plant Code: XXXX

The site location is shown on a map of the area.

3.2	SITE DESCRIPTION & RISK ASSESSMENT

The facility contains administrative space, quality control laboratory space, utility and biopharmaceutical manufacturing capability for XXXXXXX Global Manufacturing & Supply Division.   The 33 Smith Rd Facility has a normal occupancy of approximately 400 employees & contractors on site at any given time.

The site operates 24/7/365. At the minimum, the site is staffed by security personnel.

General Facility Overview

EPA ID NUMBER: XXXXXXXXXXX

NAICS CODE:	XXXXXXXX (Replaces SIC code 2836)

Building Descriptions & Typical Occupancy

Building Number (Name)	Purpose		Operations Description					Occupancy Times

Jackson Rd Guard House	Main Site Entrance	Main Visitor Entrance / Alternate Main Fire Alarm Panel		24/7

131 (Lab/Office/Cafeteria)	Administration/QC Labs	Site administration, cafeteria, occupational health and 		2 shifts / 7 days/wk

Quality control laboratories

222 				Manufacturing		manufacturing 						24/7

555 (Central Utilities)		Site Utilities		Boiler, Chiller, Water systems, Security Command Center		24/7

777 (Warehouse)		Raw Material Storage	Nonhazardous chemical / consumable storage, mail room		1 shift / 7 days/wk

888 (Chemical Storage)		Raw Material Storage	Hazardous materials storage					No Occupancy

444 (Wastewater)		Wastewater Treatment	Process wastewater treatment 					2 shifts / 7 days/wk

Motorpool Buildings (2)		Temp. Office		Temporary Project office and equipment storage			Occupied Phase II

RISK ASSESSMENT

3.3	INFRASTRUCTURE AND UTILITIES

The facility is serviced by the utilities described in the following subsections.

3.3.1	Sanitary Sewerage System

Sanitary sewage is distributed off site to the XXXXXXX Publically Owned Treatment Works

Sanitary sewerage leaves the XXX site at the following locations:

- Jackson Rd Entrance / Main driveway (Serves Smith Rd Guard House Only)

- Joe Rd Entrance / Delivery driveway.

XXX does not maintain any control over the sanitary sewage system.

3.3.2	Storm Water/ Retention System

In association with the XXXXXXX Stormwater Pollution Prevention Plan, the below table and diagram document potential activities and system that could result in 	exposure to the site stormwater system and the outfall location.

Further detailed storm water information can be found in the site’s Stormwater Pollution Prevention Plan (SWPPP) located in the EHS office  (Building 666) 	and site security control room (Building 555).

Site XXXXXXX Stormwater Design:

Stormwater flows are categorized into two areas. West of the building 333 , including the parking garage, drain into unlined wetland locations.

The rear loading docks sections of building 131 and all other site buildings, drain to a lined retention basin located a the southeast corner of the site. A 	main inlet to the lined basin can be controlled via the building automation system. Discharge from the lined basin to the unlined infiltration basin can also 	be controlled via the building automation system. Emergency procedures can be found in the section “Chemical Spills / 	Releases” in this plan.

See the below tables & diagram which provides and overview to the potential stormwater pollutant sources and presents an overview of how the 	stormwater flows are collected.

| Pollutant / Area of Concerns | Engineering Control | Administrative Control |
| --- | --- | --- |
| Bulk chemical and fuel oil delivery spill (CIP (Potassium hydroxide), NAOH, Fuel oil glycol.) Loading dock operations (non bulk <=55 gallon drum quantities of raw materials and tote deliveries and 550 gallon totes at the central utilities building) | Secondary containment of all off loading pad areas sized for 110% containment of tanker. Containment pumps controlled via Building Automation System with data logging back to data historian. Valves remain in closed position. Stormwater accumulated in secondary containment is visually inspected and discharges logged per xxxxxx “Discharge of Water from Containment Areas” Loading dock deliveries are made via a covered vehicle. Materials are not staged out of doors. | Unloading operations require operator to remain with vehicle during activity; spill pad recommended to be under hose connections. Chemical spill control equipment located at each unloading station/tank area and loading dock/ rollup delivery door areas. Bulk chemical unloading and fuel oil standard operating procedures effective. XXX employee will supervise delivery company operator and will confirm with XXX operator volume change in tank during filling via radio communication. Discharge checklist is required to be completed prior to pumping storm water out of containment areas; discharge logged. |
| Bulk chemical or fuel oil tank failure | Secondary containment of all tank farm areas sized for 222% of largest container Containment pumps controlled via Building Automation System with data logging back to data historian | Discharge checklist is required to be completed prior to pumping storm water out of containment areas; discharge time logged. Chemical spill control equipment located at each unloading station/tank area. |
| Pipe rack line failure (glycol/process waste) | Large failure will be detected via system pressure drop Stormwater catch basin system/lined retention pond | BAS system to alarm and trigger immediate investigation of pressure drop and closure of the storm water discharge valve located at the lined pond. Small leaks have the opportunity to be rapidly discovered by site personnel and security tours as rack is in very visible locations. Security cameras positioned at locations where upset condition could be discovered by security video console operator. Stormwater conveyance system can be isolated to prevent discharge into the lined pond and also to prevent discharge from the lined pond to the unlined infiltration basin |
| Cooling tower failure | Robust materials of construction. | BAS system to alarm and trigger immediate investigation of pressure drop and closure of the storm water discharge valve located at the lined pond. Small leaks have the opportunity to be rapidly discovered by site personnel and security tours as rack and towers are in very visible locations. Maintenance conducts equipment visual inspections/rounds once per day. Security cameras positioned at locations where upset condition could be discovered by security video console operator. Stormwater conveyance system can be isolated to prevent discharge into the lined pond and also to prevent discharge from the lined pond to the unlined infiltration basin |
| Wastewater pretreatment plan equalization, sequencing batch reactors (SBRs), sludge holding tank wall failure | Reinforced concrete compartmentalized tank. All tanks are on level control w/ operator (2 shift/7day/week) and remote alarm monitored 24/7 via site security. Compartmentalized tank located in secondary containment area. Stormwater drain system is kept closed / opened to drain only after visual inspection for rain / snow events. | SOP requires immediate investigation of pressure drop and closure of the storm water discharge valve located at the lined pond. Small leaks have the opportunity to be rapidly discovered by site personnel and security tours as tank is in very visible locations. Security cameras positioned at locations where upset condition could be discovered by security video console operator. |

XXX XXXXXXX Stomwater Flow Overview

Unlined Stormwater Basin 1

Lined Stormwater Basin 1

Central Utility Building

Containment Dike

3.3.3	City Water

Potable water is supplied to the site by XXXXXXX Utilities. There is no potable water well(s) located on the site.

Potable water enters the site at three locations:

- Smith Rd Entrance: Services the irrigation system & Smith Rd Guardhouse

- Joe Rd Entrance: Services, Warehouse, Chemical Storage, Wastewater Treatment and Motorpool

- Manufacturing / Water Tank Fence Line: Services manufacturing and lab/office

Curb Boxes are located in site roadways and are painted blue.

3.3.4	Compressed Air

The total capacity of the two-electric-driven compressor systems used to supply the facility with compressed air is 1200 cubic feet per minute at 222 psig.  The closed-loop piping system originates at the air compressor receiver tank area.  There are two receiver tanks (one per compressor) all tied together by a common header.

Compressed air is distributed to building 131, 222, 123 and 888 via the pipe rack.

3.3.5	Natural Gas

Natural gas is supplied to the facility by XXXXXXX Utilities through an 8-inch underground steel main at 60 psig.  The line enters the site underground at the Givery Rd gate and the main terminates at building 555 (west side) , where the pressure is reduced to 5 psig and natural gas usage is metered for feeding to the three boilers via a 4-inch line.

The main gas shut off valve is located inside the fenced area. Shut off valves are also located on the supply lines to each boiler.

A separate 2.5-inch line operating at 2 psig supplies natural gas supplies building 333 to support cafeteria operations. A shutoff is located adjacent to the cafeteria loading dock.

    - Propane Gas

One 1,000 gal liquid propane gas tank is located adjacent to the building 555 tank farm in a fenced area. LPG services the ignition system for the site’s boilers. A shutoff is located inside the fenced area.

    - Diesel Fuel Storage

Bulk Diesel fuel oil is stored in two aboveground vertical carbon steel tanks. One 15,000 gallon tank serves as emergency fuel supply for the boilers and is located at the building 555 tank farm in a dedicated secondary containment structure.

Diesel fuel is used to operate the emergency generators. The site’s two 2.5 MW generators each contain a 3,000 gallon tank integral to the generator structure as well as a 8,000 and a 9,900 gallon storage tanks located in a secondary containment structure in an area north of building 888.

One additional 750 MW generator contains 3,000 gallons of diesel fuel located at building 444 (wastewater treatment.)

One portable 300KW generator contains 22 gallons of diesel fuel located at the containment pad next to the generators.

    - Electricity

Two independent 13,800 volt lines enter the site via duct back at the joe Rd substation and transit onto the pipe rack at the northwest corner of Building 777 (Warehouse)

SECTION 4

BASIC COORDINATION & PROVISIONS

This section presents basic coordination and provisions of emergency response for the XXXXXXX facility in XXXXXXX, California.  More specifically, this section contains:

- The definition of an emergency,

- The facility’s emergency response personnel and responsibilities,

- The locations of emergency response centers,

- A list of the facility’s emergency response equipment,

- Spill prevention and planned countermeasures,

- Training Descriptions

Specific emergency response procedures are described in xxxxxxxx.

4.1	DEFINITION OF AN EMERGENCY

An emergency is any situation that poses a hazard to life, property, the community or the environment. An emergency is also any situation that has, or has already, impacted normal facility operations.

Included in this definition are fires, explosions, severe weather conditions, environmental emergencies, medical and/or first aid emergencies, bomb threats, utility interruptions, etc.  Emergencies may also include security, public relations, and production concerns.  Environmental emergencies may typically involve the release of hazardous substances into the air, soil, waterways, subsurface water, or sewers.

4.2	EMERGENCY DEFINITIONS, LEVELS AND CRISIS MANAGEMENT TEAM

The below section provides an overview of the Crisis Management Team Organization at the XXX XXXXXXX Site. Further details can be found in XXX Crisis Management Plan (Attachment A)

Definition of an Emergency

An emergency is any situation that poses a hazard to life, property, the community or the environment. An emergency is also any situation that has, or has already, impacted normal facility operations.

Included in this definition are fires, explosions, severe weather conditions, environmental emergencies, medical and/or first aid emergencies, bomb threats, utility interruptions, etc.  Emergencies may also include security, public relations, and production concerns.  Environmental emergencies typically involve the release of hazardous substances into the air, soil, waterways, subsurface water, or sewers.

- Initial Incident notification.

- Site Emergency Coordinator (EC) is notified of an incident or emergency condition. 	Notification may be from:

- Site Security Officer /  Command Center

- Site Security Manager

- Occupational Health

- Human Resources

- XXXXXXX Public Safety / Fire Department

- XXXXXXX Governmental Official(s)

- Neighboring businesses to the XXX XXXXXXX site.

- National Weather Service

- EC gathers information, directs implementation of specific response procedures outlined 	in this manual and assigns an incident classification level.

- Incident Classification Level

There are three levels of events that are classified as emergencies at the XXXXXXX facility. The 	Emergency Coordinator, in consultation with the Site General Manager & appropriate technical 	representatives will determine the incident response level. Recognizing that emergency situations are 	dynamic, the Emergency Coordinator will reevaluate the incident classification as conditions change. 	Examples are provided under each level, but are not intended to be 	inclusive of all site emergencies.

Level 1:	An emergency event not within the capabilities or training of the operating department 						but within the resources of the site and/or has the possibility of impacting normal site 						operations.

- Medical emergency requiring First Aid Team activation, but no call to XXXXXXX 	Emergency Medical Services.

- Chemical spill greater than 1 L, no environmental impact

- Utility outage

- Severe weather threats (winter storm, hurricane preparedness, severe 	thunderstorms)

- Fire alarm activations (trouble or supervisory)

- Utility leak or disruption that is contained, is nonhazardous, and has no 	impact to normal operations

Level 2:		An emergency event handled by on-site response groups but requiring additional 						outside resources for the purposes of medical treatment beyond first aid,  technical 						support, clean up, or hazardous waste removal.

- Fire Alarm activation

- First Aid Safety Team response requiring call to XXXXXXX Emergency 	Medical 	Services.

- Elevator entrapment

- Chemical spill beyond resources of spill control kits.

- Protestors/civil disturbance

- Unexploded munitions or ordinance – initial discovery & classification.

- May require notification to XXX leadership for informational purposes only.

Level 3:		An emergency event requiring emergency action by offsite response groups or the 					incident has extended beyond the limits of the site.

- Fire

- Explosion

- Product supply chain disruption

- Bulk chemical tank/process gas or delivery tanker failure

- Utility piping failure (glycol system)

- Mass casualty

- Fatality

- Bomb Threat

- Act of workplace violence / Workplace violence threat

- Major EHS event – Fire, Explosion, Environmental Release or Fatality

- Requires escalation to XXX leadership

- Emergency Organization: Crisis Management Team / Notification Matrix

XXX XXXXXXX Site Crisis Management Team

| CMT Core Members | Title | CMT Role |
| --- | --- | --- |
| Mary Smith | Associate Director, EHS | Emergency Coordinator / EHS / CMT leader |
| John Doe | Vice President / General Manager | Site General Management |
| Mary Smith | Human Resources Director | HR |
| Peter Smith | Director, Technical Services | Facilities & Utilities |
| Mark Doe | Manager, Site Security | Security |
| Ad Hoc Members / System or Subject Matter Experts |  |  |
| Mary Smith | Occupational Health Supervisor | Occupational Health |
| John Doe | Director, Manufacturing | Mfg Operations |
| Mary Smith | Associate Director, Supply Chain | Bulk process chemicals, raw materials, final product storage |
| Peter Smith | Director, Quality | QC Labs, Quality impact assessments |
| Mark Doe | Associate Director, Automation | Process Automation System |
| John Smith | Associate Director, IT | IT Systems |
| Peter Smith | Director, Finance | Site Finance |
| Jane Doe | Utility Engineer | Building Automation System, HVAC, Boilers |
| Mark Doe | Associate Director, Downstream Mfg | Buffer Preparation and Purification |
| Peter Smith | Technical Lead, Electrical Engineer Electrical Engineer | Electrical infrastructure, Fire Protection System |
| John Doe | Chief Operator – Wastewater Treatment | Wastewater Treatment |
| John Doe | Procurement Manager | Site Procurement |
| Peter Smith | Human Resources Generalist | Site HR |
| Dr. Joe Smith | Medical Director | Occupational Health –edical Director |

| Emergency Level | Minimum Notification | CMT Activation? | Report Location |
| --- | --- | --- | --- |
| 1 | EHS Vice President / General Manager Department Head of impacted area/group Site Security Manager | NO | Normal Business Locations |
| 2 | EHS Vice President / General Manager Department Head of impacted area/group Site Security Manager | NO, but is at the discretion of the EC/Site GM based on the likelihood of impacting normal operations. | Normal business locations until otherwise notified |
| 3 | EHS Vice President / General Manager Department Head of impacted area/group Site Security Manager | YES | For fire alarm activation, CMT to report to lobby with Emergency Coordinator. |

Upon notification of an emergency event, the site Emergency Coordinator (or designee) will respond to the 	incident, evaluate the situation and establish the level of response. During the course of an incident, it may 	become necessary to activate the CMT, or individual members as needed. In all emergencies, the 	Emergency Coordinator will enter into dialogue with the site General Manager (or designee during times of 	absence) on site to determine the necessity to activate the Crisis Management Team.

Whenever it is determined that this group required to meet, all attempts will be made to contact members 	of the 	team as soon as possible.

- Normal Business Hours (M-F 8 AM – 5 PM) Notification: CMT members will be called via desk phone, cell phone, and instant / text message with instructions on where to meet.

- After Hours (Weekend, Holidays, 5PM – 8 AM) Notification: CMT members will be notified 	via cell 	phone / home phone of the emergency with instruction to dial into the CMT 	conference call number at a designated time. Based on the nature of the emergency, all 	or some members of the CMT may be required to convene at the site or another 	predetermined location.

4.3	CRISIS MANAGEMENT TEAM RESPONSE CENTER

1) Primary

The primary on-site emergency response center is located in the Security Command Center (Building 	555 Room 5555)

Crisis Management Team Operations Room: Building 444)

2.) Secondary

Crisis Management Team Operations Room: Building 555 Central Utility Building, Security Command 	Center

2)  lists the supplies maintained in both the on- site emergency response centers.  This Plan and all supporting materials shall be kept in the Emergency Response Center.  The primary and alternate emergency response centers are listed.

The emergency response center serves the following purposes:

- Provides a central base of operations security, access control and alarm control.

- Monitoring site closed circuit video.

The Crisis Management Team Operations Room serves the following purpose:

- Primary seating location for CMT members when the team is activated.

- Functions as the main clearinghouse for information about the incident response.

If an emergency at the facility is severe and the site is not able to be occupied due to a catastrophic event, it may be necessary for the CMT to manage the incident from an off-site location or an alternate on-site location.

An off-site emergency response center is located at XXXXXXX Commons Conference Center (Marriott / Springhill Suites), Andrews Parkway, XXXXXXX, MA.  A maximum of 15 persons can be immediately located at this location, with space up to 25 persons available to XXX per agreement.

4.4	EMERGENCY EQUIPMENT

The availability of appropriate emergency response equipment is extremely important in quickly responding to an emergency situation.  At a minimum, XXX XXXXXXX maintains the following equipment at the facility:

- An internal communications (public address system available from each fire alarm panel) and alarm system;

- A telephone or two-way radio capable of summoning assistance from local emergency response authorities;

- Portable fire extinguishers and fire control equipment (including special extinguishing equipment such as foam, inert gas, or dry chemical systems, as appropriate);

- Water to supply hose streams, foam-producing equipment, automatic sprinklers, or water spray systems; and

- Spill control and containment equipment

- Basic first aid supplies and automatic external defibrillators

A list of emergency equipment maintained at the facility is provided in Table 5-5, and the locations of the emergency equipment are shown.  All emergency equipment is inventoried, maintained, and inspected

4.5  	SPILL PREVENTION AND PLANNED COUNTERMEASURES

Many of the existing structural features and management practices at the XXX facility are designed to contain and/or control spills.  These controls including secondary containment and fail-safe engineering measures are described in section 3.3.2 and in the site Spill Prevention, Control and Countermeasure plan found in Attachment B.

  - HAZARDOUS WASTE CONTINGENCY PLAN

Specific information related to the site hazardous waste contingency plan can be found in Attachment C.

4.7	TRAINING

- Training programs ensure that facility personnel are able to effectively respond to emergencies by familiarizing them with emergency equipment and procedures.  All on-site emergency responders have the training described in this section as well as the required refresher training to keep up-to-date.  Training requirements are summarized in Table 4-1.

At a minimum, the appropriate plant personnel are trained in the following:

- Measures to prevent unsafe conditions and releases;

- Methods for responding to emergencies;

- Lines of authority when dealing with emergencies;

- Procedures for ensuring process safety and minimizing waste;

- Good management practices to prevent physical injuries or property damage caused by mishandling, spills, or releases of chemicals; and

- The procedures described in this document.

Besides the training for emergency responders, all employees are trained to recognize emergencies, report emergencies, and respond to alarm signals.

To ensure that all employees know what to do in an emergency, an evacuation or shelter-in-place drill is conducted two times per year at the facility.  Documentation and corrective action is maintained by the site EHS Department.

TABLE 4-1

TRAINING REQUIREMENTS

| Response Type | Level of Response | Training Requirements (1) | Minimum Refresher Training | Minimum Drill Frequency |
| --- | --- | --- | --- | --- |
| Chemical Spills/ Releases | Manufacturing / Supply Chain - Warehouse / Maintenance / Metrology and Lab personnel trained to incipient control only. Response is defensive control for spills <55 gallons. | Classroom / demonstration on use of site spill control equipment | Every three years | Annual |
|  | Site security: awareness and reporting only. | Review of reporting procedure to site EHS team | Annual | Annual |
| SPCC/SWPPP/ Oil Spills/ Releases | Maintenance / Supply Chain – Warehouse and Site Security personnel trained to defensive control measures only. | SPCC/SWPPP overview and spill reporting procedure. | Annual | None |
| Confined Space Rescue | Manufacturing & maintenance employees who receive confined space entry training are trained in Non-entry rescue / emergency contact procedures. | Classroom | Annual | Annual |
|  | Fire Department coordination | EHS review of confined spaces with XXXXXXX Fire Department / rescue coordination | Every 2 years unless conditions change | Every 2 years unless conditions change |
| Biological Material Spill/ Release | Manufacturing and Quality laboratory personnel are trained in general biosafety procedures, biological material spill cleanup and disposal up to biosafety level 1. | Classroom / demonstration on use of site spill control equipment | Annual | None |
| Medical / First Aid | All employees: first aid / medical emergency reporting | Review of medical emergency reporting procedure | Annual | Annual |
|  | First Aid Safety Team: first responder emergency first aid and AED use. | Advanced first aid/first responder and AED use. Includes CPR. | Annual | 2x per year |
| Transportation Incidents | Supply chain- warehouse and waste water treatment employees are trained to defensive control measures only for bulk chemical delivery. | Review of emergency reporting procedure for bulk chemical deliveries | Annual | Annual |
| Emergency Evacuation and Notification Requirement | ### All site employees receive evacuation instructions. | Basic emergency response plan guidelines, notification methods and requirements, location of exits, fire extinguishers, spill control, medical emergencies, hazardous weather, fire extinguisher | Annual | Annual |
| Crisis Management Team | Coordination, reporting and management of a variety of site emergency conditions. | Emergency Response Plan review and mock drills. | Annual | Annual |

TABLE 4-2

SPCC Plan

XXXXXXX Spill Control & Countermeasure Plan is on file in the Site EHS Office & Security Command Center (Bldg 555)

SECTION 5

EMERGENCY RESPONSE PLAN

This section describes the procedures to be followed when responding to an emergency at the XXX XXXXXXX facility.  This Plan identifies responses to those emergencies that are most likely to occur as a result of facility operations, and other emergencies that are reasonably possible and could cause serious consequences.

Emergency condition risk assessment

Below is outlined a risk assessment for the core emergency condition that could occur at the site.

| Condition | Severity | Frequency | Risk Rating |
| --- | --- | --- | --- |
| Fire / Explosion | 4 | 1 | Medium |
| Chemical Spill / Releases | 4 | 1 | Medium |
| Delivery / Transportation Emergency | 3 | 2 | Low |
| Civil Disturbance | 1 | 1 | Low |
| Utility (Power Loss) | 3 | 5 | High |
| Bomb Threat | 2 | 1 | Low |
| Medical Emergencies | 3 | 2 | Medium |
| Sabotage | 2 | 1 | Low |
| Elevator Entrapment | 1 | 4 | Medium |
| Workplace Violence | 3 | 1 | Low |
| Chemical Release | 4 | 1 | Medium |
| Parcel / Letter | 2 | 1 | Low |
| Severe Weather (Winter) | 2 | 5 | High |
| Severe Weather (Summer) | 1 | 5 | High |
| Hurricane | 2 | 3 | Medium |
| Biohazardous Materials | 1 | 2 | Low |
| Media Relations | 1 | 2 | Low |
| Unexploded Ordinance | 4 | 3 | High |
| Confined Space Emergency | 4 | 2 | Medium |
| Compressed Gas | 5 | 1 | High |
| Earthquake | 4 | 1 | Medium |
| Nuclear Event | 1 | 1 | Low |

Risk Rating Matrix

Severity Description Guidelines (Consequence Estimation)

| Severity | Description |
| --- | --- |
| 1 | NEGLIGIBLE: Safety: No potential employee injury. Environmental: No impact in immediate area; No environmental impact. Business Interruption/Supply Chain:- Interruption of 1 day; equipment damage > $10k / </=$100k Legal/Reputational: No impact |
| 2 | LOW: Safety: Employee injury potentially requiring first aid treatment Environmental: Release or other incidents with minor impact in immediate area only; small scale affect or reversible impact; minor emergency response required. Business Interruption/Supply Chain: Interruption of 1 week or less; equipment damage > $100k </=$250k. Legal/Reputational: Elevated to a level requiring broad internal site communication or likely a detectable community concern without impact. |
| 3 | MEDIUM: Safety: Potential employee injury resulting in an OSHA recordable injury or a Lost Time injury of low severity. Environmental: Release, fire or other incident requiring response of XXX Emergency Response Team; local area evacuation; no off-site impact anticipated; environmental impact is reversible, but requires mobilization of resources to mitigate. Business Interruption/Supply Chain: - Interruption of 2-3 wks.; equipment damage > $250k </=$500k. Legal/Reputational: Elevated to a level requiring notification of senior management (e.g. major Incident), may require off site media communication, or likely a serious community complaint. |
| 4 | HIGH: Safety: Likely to result in severe injury. Environmental: Release or incident with off-site impact; fire/explosion that would have a noticeable off-site impact, such as visible emissions or odor complaints. Business Interruption/Supply Chain: - Interruption of at 3-4 wks.; equipment damage > $500k or long lead time for replacement Legal/Reputational: Requires support from legal and public relations to manage external impacts and litigation, likely community outrage. Potential for national media coverage; Incident may require notification to government agency and has potential to trigger an external regulatory inspection. |
| 5 | VERY HIGH: Safety: Potential employee fatality/serious injury. Environmental: Release or incident with significant off-site injuries, hospitalizations, or need for community evacuations/shelter-in-place. Business Interruption/Supply Chain: Interruption of > 1 month; equipment damage > $5MM or long lead time for replacement. Legal/Reputational: - Expected to have significant litigation and possible impacts to company reputation from broad media coverage; Incident expected to trigger regulatory enforcement action. |

Likelihood Description Guidelines (Frequency of Occurrence)

| Likelihood | Description |
| --- | --- |
| 1 | VERY LOW: Scenario with potential to occur only once in facility lifetime |
| 2 | LOW: Scenario with potential to occur about once every 10 years. |
| 3 | MODERATE: Scenario with potential to occur about once every 5 years |
| 4 | HIGH: Scenario with potential to occur about once per year. |
| 5 | VERY HIGH: Scenario with potential to occur several times per year. |

5.1	EMERGENCY COMMUNICATIONS

- Internal employee communication and notification of key personnel at the facility are accomplished by means of a site wide public address system, internal telephones, cellular phones and two-way radios.

- Both internal and external response agencies are listed on Table 5-7.  In an emergency, Global Manufacturing & Supply Communications should be contacted pursuant to Section 6.1.

Specific notifications to XXX personnel and time lines for reporting are defined in XXX-EHS-5555 Illness and Injury Recordkeeping & reporting.

As soon as practicable after an emergency ends, the facility EC (or designee) shall submit a report to the appropriate division personnel containing information about the incident as well as any other pertinent information reported verbally to government agencies.  This reporting will be executed verbally per the call matrix.  Other follow-up reports to any agencies will be prepared and submitted by the facility, as required, after review by the appropriate division and corporate personnel.

5.2	EMERGENCY RESPONSE ACTION PLANS

The following are the emergencies for which specific responses have been developed in this Plan.

# 5.2.1   Core Emergency Conditions

      - Fire/Explosion

      - Chemical Spills/Releases

      - Chemical Delivery / Transportation

      - Civil Disturbances/Site Strikes/Protestors

      - Utility Loss (Power Loss)

      - Bomb Threats

      - Medical Emergencies

      - Sabotage

      - Elevator Entrapment

      - Workplace Violence

      - Chemical Release

      - Parcel / Letter

      - Severe Weather - Winter

      - Severe Weather – Severe Thunderstorm / Tornado

      - Hurricane

      - Biohazardous Materials

      - Media Relations

      - Unexploded Munitions/Ordinance (UXO)

      - Confined Space Emergency

      - Compressed Gasses / Oxygen / LEL Alarm Response

      - Earthquake

      - Nuclear Event

# 5.2.1.1    FIRE/EXPLOSION

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Pull fire alarm and, if safe to do so, contact security. | Employee discovering fire. |  |  |
| 2. | If a call is made, ask the following questions and write down the answers: | Security |  |  |

Name of Caller? ________________________________________________________

Extension of Caller?______________________________________________________

Location of fire? _________________________________________________________

How big is the fire? _______________________________________________________

What direction is it moving? ________________________________________________

Cause of fire or explosion, if known? _________________________________________

Are employees in danger? _________________________________________________

Are employees injured?____________________________________________________

| 3. | Security will Contact XXXXXXX Fire Department by dialing 911. Provide entrance gate location, building number and access door number closet to emergency condition | Security |  |  |
| --- | --- | --- | --- | --- |
| 4. | If notification comes via the alarm system, acknowledge the alarm and contact XXXXXXX Dispatch to confirm receipt of alarm. Provide entrance gate location, building number and access door closet to emergency condition if known. | Security & EC | Entrance location, building number and closet entrance door. |  |
| 5. | Dispatch Rover to the entrance location to escort XXXXXXX Fire Department to the building / area in alarm. | Security |  |  |
| 6. | Security to contact site Emergency Coordinator. If not available, security works down call tree. Emergency Coordinator reports to the main fire alarm panel to greet responding officials. If after hours, this role is performed by the security rover. CMT Member alerted of emergency condition | Security EC |  | Security to alert CMT members of the fire alarm activation. If fire alarm in LOC, CMT members to report to lobby area, not muster points. |

| - FIRE/EXPLOSION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE |  | CRITICAL DECISIONS |  | COMMENTS |
| 8. | Evaluate situation and make the following decisions: Ensure all employees have evacuated by calling to the muster point leaders. Provide missing employee information to Fire Department | EC |  | . |  | If EC/alternate EC doesn’t appear, Security retains control until relieved by a member of the EHS Department or an exempt employee in authority or another CMT Member. Fire should only be fought if it can be extinguished by use of one fire extinguisher. |
| 9. | For an explosion: Begin assessment for immediate evacuations from adjacent buildings. Establish triage area. | EC |  |  | Triage areas: Front parking area Mfg: South lawn area South side of building Warehouse/Chem Storage: Loading dock parking area Wastewater: South side of building |  |
| 10. | ERT personnel are called and provided details of emergency and current action plan. | EC / EHS |  |  | Refer to call list |  |
| 11. | If sprinkler activation has occurred are indicated by the fire alarm panel, Contact Maintenance Technicians to confirm the fire pump is running and sprinkler control valve in the affected area (if safe to do so) is open and remains so until directed XXXXXXX Fire Dept. If pump is not functioning properly, Security to contact maintenance technicians for troubleshooting. | Security | Inform fire department of status fire pumps |  | Security / EC to confirm North or South Fire Pump is running. |  |
| 12. | Security secures entrances from people entering the building. Directions and information provided to outside response groups when they arrive. Access to the building is restricted to Fire Department members only. If required, control media access at main entrance. One Security Officer should be posted at Smith Rd entrance if safe to do so. Ensure Joe Rd entrance is secured unless required to be open for emergency access. If required, station security in guard house. | Security |  |  | Media not permitted on site. See Section for details |  |

| 5.2.1.1 FIRE/EXPLOSION |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| 13. | If necessary and at the direction of the EC, area or plant evacuates to Muster Points to alternate locations on site. Muster Point leaders pickup muster point attendance books and Radios at main and south employee entrances. Muster Point leaders relay any missing employee information to the EC | EC |  | EC will direct muster point leaders to bring groups to alternate location. |
| 14. | Decision made to shut vital equipment, i.e., boilers, chiller, process water systems, etc. If emergency has or has potential to affect information systems servers, Information Technology and Automation heads must be contacted. | CMT | Review shutdown of equipment with Technical Services Director, Manufacturing Director whenever practical. | CMT will be meet . If both location are not available, the most usable location on site will be found. |
| 15. | In the event of media contact. | EHS | Division or Corporate Public Affairs must approve all media communication. | Notify CMT if media inquiry made. |
| 16. | If fire fighting is turned over to the City Fire Dept., EC acts as advisor. | EC / CMT |  |  |
| 17. | After fire is extinguished, make the decision to end emergency and reenter the building. | CMT |  |  |
| 18. | All clear signal given over radio or alarm system. Muster Point Leaders notified to allow muster points back into building. | EC |  | Make announcement over radio system |
| 19. | Emergency equipment returned to proper locations. | EC / EHS Dept. |  | Replace used extinguishers, and recharge batteries for radios. |
| 20. | Convene Incident Review meeting. | EC / CMT |  | Incident review process should be completed within 12 hours. Report findings to Senior Management. |

5.2.1.2  CHEMICAL/ OIL SPILLS/RELEASES

|  | ITEM | PERSON RESPONSIBLE | COMMENTS |
| --- | --- | --- | --- |
| 1. | Notify Security of emergency or pulling a fire alarm pull station (if involving flammable materials) | Individual discovering spill. |  |
| 2. | Keep the caller on line. Ask the following questions and record the responses: | Security |  |

Caller’s Name: _______________________________________________________________

Caller’s Extension: ____________________________________________________________

Where is the spill?:____________________________________________________________

What has been spilled?________________________________________________________

What is the quantity of the spill?_________________________________________________

Is anyone injured?____________________________________________________________

What type of assistance do you need?____________________________________________

Should you evacuate the area? _________________________________________________

|  | ITEM |  |  | PERSON RESPONSIBLE |  | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- |
| 3. | Repeat the information you have collected to the caller to verify the answers. |  |  | Security |  |  |
| 4. | Make initial evaluation of severity of the emergency. |  |  | Security |  |  |
| 5. | Notify EHS Department of the incident. |  |  | Security |  |  |
| 6. | EHS If hazardous waste is involved, implement the RCRA contingency plan for the site. See section 5.2.6 If oil / fuel product involved, note quantity involved and environmental impact. Immediately evaluate stormwater impact and close the main storm infiltration inlet valve via the BAS or manual gate valve. |  |  | EC/ EHS |  |  |
| 7. |  |  | EHS evaluates situation based on all available information. Makes decision to clean spill, and/or evacuate one or more areas of plant. | EHS |  | Employees trained to provide incidental spill response and limit the spread of the material and environmental impact. |  |
| 8. |  |  | Make decision to call/not to call XXXXXXX Fire Department for assistance. If Fire Department called, place Security at main entrance to monitor incoming traffic. | EC |  |  |  |
| 9. |  |  | CMT members are called to provide details of emergency and current action plan. | EC / Security |  | Notify Crisis Management Team members depending on volume and nature of the emergency |  |
| 10. |  |  | Security contacts Maintenance Manger to confirm that sprinkler control valve is open at PIV indicator and electrical power in area is shut off, if needed. | Security |  |  |  |
| 11 |  |  | In the event of media contact |  |  |  |  |

|  | ITEM | PERSON RESPONSIBLE | COMMENTS |
| --- | --- | --- | --- |
| 12. | Make decision to shut down vital equipment, i.e. boilers, etc. | EC / CMT | Notify CMT Members |
| 13. | If evacuation is necessary, area or plant evacuates to Muster Points using predetermined routes. | EC |  |
| 14. | Security activates fire alarm system to initiate evacuation. | Security | Sound alarm until evacuation completed. |
| 15. | Security secures entrances. Prevent people from entering plant. Directions & key information provided to outside response groups when they arrive. | Security |  |
| 16 | Area employee stops leak or spill, contains, neutralizes, and starts clean up process. Decontamination activities initiated. | Area employee / EHS Department | Employees trained to provide incidental spill response and limit the spread of the material and environmental impact. If beyond the control of spill kits (>55 gallons), contact Clean Harbors Emergency Response at 1-800- OIL-TANK. |
| 17. | EHS consults reportable quantity table and determines if there is a need for agency notification. | EHS |  |
| 18. | If employees cannot handle spill, spill response turned over to Clean Harbors or XXXXXXX Fire Department. EC/ EHS acts as advisor to Clean Harbors or XXXXXXX Fire Department. | EHS | Evacuate Area via radio announcement or fire alarm. |
| 19 | Spills stopped and spill clean-up completed. | Area employees, Clean Harbors or Fire Department |  |
| 20 | Decision made to end emergency and re-enter building or area. | EC |  |
| 21 | All clear signal given over radio or alarm system. | Security | Notify Muster Point leaders to clear muster point locations. |
| 22 | Emergency equipment returned to spill carts | Area Employees | Clean all equipment, recharge batteries for radios, etc... |
| 23 | Convene an Incident Review meeting. | EC / EHS |  |

|  | ITEM | PERSON ### RESPONSIBLE | COMMENTS |
| --- | --- | --- | --- |
| 24. | Reporting procedure: evaluate quantity of material involved. If the spill involved and oil or hazardous substance, immediacy consult 310 CMR 40.0300 (on file in EHS office) to begin determination of required notifications In addition, In the event of a spill greater than 1000 gallons of oil into or upon the navigable waters of the U.S. or adjoining shorelines in a single spill event, or in the event that the oil is discharged in harmful quantities (as defined in 40 CFR Part 222) into or upon the navigable waters of the U.S. or adjoining shorelines in two spill events (reportable under section 311(b)(5) of the FWPCA) occurring within any 12 month period, this facility will submit information required in 40 CFR 112.4 to the Regional Administrator within 60 days from the time of the event. Based on size of spill and chemical(s) involved report spill to the following regulatory agencies: MA Department of Environmental Protection State Emergency Response Commission US EPA National Response Center | EC | Update site management, Corporate Legal / Corporate EHS and Division EHS Director prior to making notification per XXX-EHS-5555. Complete incident report per Major EHS Event notification table. |
| 25 | Contact approved vendor to dispose of waste and spill clean up materials created by spill. | EC |  |

#### 5.2.1.3  CHEMICL DELIVERY / TRANSPORTATION

|  | ITEM |  |  |  |  |  |  |  | PERSON RESPONSIBLE |  |  |  | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Refer the person to Security. |  |  |  |  |  |  |  | Person receiving call. |  |  |  |  |  |
| 2. | Ask the following questions of the person reporting the accident. Record the answers: |  |  |  |  |  |  |  | Security |  |  |  |  |  |
| Name of Caller: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Caller’s Phone Number? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the location of the accident? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Which carrier’s truck is involved? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Has anyone been injured? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the driver’s name? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| How can we contact the driver? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Who is the carrier’s representative? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the carrier’s phone number? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the bill of lading number of the shipment? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the destination of the shipment? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the XXX SAP / order number? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Was hazardous material involved? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| What is the extent of damage to the product? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 3. | Contact EHS If involving GMP materials, contact Associate Director, Supply Chain and EHS Manager | Security | Security to contact EHS. If Product and or Raw Materials, contact AD Supply Chain | Provide the information collected above. |
| 4. | Contact Manufacturing Director and Quality if Product and Raw Materials. | Supply Chain |  |  |

#### 5.2.1.3  TRANSPORTATION

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 5. | Confirm carrier has been notified. | EHS |  |  |
| 6. | In the event of media contact,. | EHS | Division or Corporate Public Affairs must approve all media communication. | Notify CMT if media inquiry made. |
| 7. | Determine if damaged materials are hazardous material/ dangerous goods per DOT regulations. Provide SDS to carrier and or determine if a regulatory reportable incident has occurred. If regulatory reportable, notify per Major EHS Event notification procedure. Notify CMT and convene if required. | EHS EC |  | Provide SDS to carrier and or determine if a regulatory reportable incident has occurred. |

# 5.2.1.4  CIVIL DISTURBANCES/SITE STRIKES/PROTESTORS

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Politely ask demonstrators to leave XXX property. Close Smith Rd Gate Monitor via camera Smith Rd & Joe Rd entrance driveway. Re-Verify identification of all individuals entering main entrance driveway. | Site Security Manager | Notify CMT | Politely inform them they are trespassing and the police will be called if they refuse to exit. Demonstrators have no right to enter our property without permission. |
| 2. | Inform demonstrators of XXX’s property line and ensure they do not cross onto our property. Contact State Police XXXXXXX and inform of the situation | Security |  | Demonstrators have a right to picket on public property (i.e., the street in front of our plant). |
| 3. | EC to notify CMT | Security EC |  | Provide the number of demonstrators, the organization they represent and the verbiage on their signs. |
| 4. | Begin a timed log, tracking the events which occur. |  |  | Include names, events and times. |
| 5. | Dispatch security monitors to all gates and entrances to monitor activity. |  |  |  |
| 6. | Contact CMT members Inform them of events. Conduct assessment of which gate to utilize for employee /site access and egress. | Security Manager |  |  |
| 7. | Secure all critical operational areas of the plant (utilities, electrical substations, computer room, telephone system, etc.). |  |  |  |
| 8. | Keep all employees clear of entrances of areas visible from outside the building. |  |  |  |
| 9. | Determine the cause of the demonstration and the severity of their strategies. |  |  |  |

# 5.2.1.4  CIVIL DISTURBANCES/SITE STRIKES/PROTESTORS

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 10. | Contact Division Communications / Public Affairs and inform MA State Police of any developments. | Site Security Manager |  | Contacting police agencies will likely bring media attention. |
| 11. | In the event of media arrival. |  |  | At no time should any media communication be initiated. |

##### 5.2.1.5 UTILITY LOSS (POWER LOSS)

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1 | Determine nature and impacted areas of the outage | Security / Technical Services and Manufacturing | Determine that power is out. | Note time out outage and restoration of power. |
| 2 | Contact XXXXXXX Utilities per Table 5-2 |  | Determine scope of outage and estimated restoration times. |  |
| 3 | If the power outage lasts more than a few minutes, Technical Services makes announcement (either by email or for employees to stand by and not to take any action until further notice. | Technical Services |  | Notify CMT of the impacted and anticipated duration. All SMT members should also be notified. |
| 4 | Contact utility company to determine problem and expected time of outage. | Technical Services |  |  |
| 5 | Verify that emergency generators are running and fuel levels of tanks are documented and monitored. | Maintenance / Electricians | Begin monitoring fuel supply & make contact with vendor to ensure priority in resupplying fuel. |  |
| 6 | Verify other emergency equipment is operational, including emergency phones, fire pumps, fire doors, emergency generators, cameras, gates, etc. | Security conducting rounds. Maintenance Technicians for fire pumps. |  | Hand radios needed for communications |
| 7 | If outage exceeds 60 minutes. Director, Technical Services to notify CMT of the outage and expected duration EHS and Security to coordinate arrival of outside support as needed. | Dir. Tech Services EHS/ Site Security Manager |  | Notify CMT of the impacted and anticipated duration. All SMT members should also be notified. |

5.2.1.5  UTILITY LOSS (POWER LOSS)

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | ###### COMMENTS |
| --- | --- | --- | --- | --- |
| 9 | If long duration event is expected, SMT / CMT to meet to establish action plan. | EC / CMT / SMT |  | Full SMT meeting |
| 10 | Make decisions to determine staffing levels and continuation of normal site operations if a long duration event is planned | General Manager | Determine what equipment needs staffed. Full or partial plant staffing decisions for later shifts. |  |
| 12 | Decision made to continue operations or send non-critical persons home. | GM / CMT / SMT |  |  |
| 13 | Send non-critical persons home. | CMT / SMT |  |  |
| 14 | If decision made not to shut down facility, instruct employees when to return to work and when safe to do so. | All Department Heads |  | Use XXX Facility Status voicemail phone system or site wide voicemail message/email. |
| 15 | Update communications to off shift personnel. | Site Security Manager | Update phone messages. |  |
| 16 | Recheck all critical safety and plant system after return of power, (phone system, Security, Fire Alarms, Fire Pumps). | Technical Services Manufacturing Automation Information Technology | Determine if any equipment has been damaged and it is safe to start up again. |  |

###### 5.2.1.6  BOMB THREATS

|  | ITEM |  |  |  |  |  |  | PERSON RESPONSIBLE |  |  |  |  | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Remain calm, be friendly and congenial, encourage conversation, and listen for background clues. Record every word spoken by the caller. |  |  |  |  |  |  | Person receiving call. |  |  |  |  |  |
| 2. | Ask the following questions and complete checklist: |  |  |  |  |  |  | Site Security / Receptionist. |  |  |  |  |  |
|  | Do you want me to check the location? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Do you want me to have the plant evacuated? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Where is the bomb located? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What type of bomb is it? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | How big is the bomb? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | What does the bomb look like? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | When will the bomb go off? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Who are you? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Why are you doing this? |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Are you aware that the plant is occupied? |  |  |  |  |  |  |  |  |  |  |  |  |

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 4. | Immediately after completion of the call, contact site security manager. Site Security Manager to initiate Bomb Threat SOP | Person receiving call. Security Manager | Notify CMT | Decision to evacuate the plant must be reviewed and approved by CMT and General Manager |
| 5. | Conduct a threat assessment and determine if an immediate evacuation is necessary. Do not use electronic communications when conducting assessment. Contact State Police, XXXXXXX Alert the CMT of the situation | EC Site Security Lead Security | Is an evacuation appropriate | Generally, the greater the specificity of the threat, the greater the risk is. Generally, the decision to evacuate is a management one. |
| 6. | Decision made to evacuate | EC / Security Manager | Partial or Full Evacuation | Prior to an evacuation, if time allows, a cursory search or sweep should be conducted building perimeter, evacuation routes and common building areas. Employees may be directed to other buildings due to the duration of the investigation may be extensive. Use PA system to alert employees in all or specific buildings per SOP. Handout facility status line telephone number sheets |
| 8. | Conduct building search or sweep. CMT to convene at safe location as determined by site conditions. | State Police, XXXXXXX | 1. Is anything suspicious Identified? If so, communicate to Law Enforcement and set up access control to building or area where device was found. 2. If no item is found, convene with Law Enforcement and CMT to decide when to populate the building again. | If an item is found State Police will generally call bomb squad to investigate the item. |

5.2.1.6  BOMB THREATS

| 9. | Immediately contact Corporate Security | Site Security Lead |  |  |
| --- | --- | --- | --- | --- |
| 10. | Make a decision to give the “all clear” signal. Announce “all clear” signal and have employees return to work. | EC Security |  | Notify CMT of the status |
| 11. | Upon completion of emergency convene an Incident Review Meeting with the CMT and others as required. | EC |  |  |

5.2.1.7  MEDICAL EMERGENCIES

|  | ITEM | PERSON RESPONSIBLE |  | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- | --- |
| 1. | Encourage caller to remain calm. Tell caller not to hang up until you tell him or her to. | Security |  |  |  |
| Name of Caller: |  |  |  |  |  |
| Extension of Caller: |  |  |  |  |  |
| Nature of accident: |  |  |  |  |  |
| How many People injured: |  |  |  |  |  |
| How seriously are people injured: |  |  |  |  |  |
| Location of accident: |  |  |  |  |  |
| When accident occurred: |  |  |  |  |  |

| 2. | Contact EC | Security |  |  |
| --- | --- | --- | --- | --- |
| 3. | Perform medical assessment. | FAST |  |  |
| 4. | Summon the outside Emergency Medical Service (EMS) based on FAST member’s assessment | Security |  |  |
| 5. | If life-threatening medical emergency, use automatic external defibrillator (AED) and CPR as appropriate until EMS arrives and assumes responsibility and transports the person Under all conditions of AED Team activation, security to notify EC Implement FAST Procedure Medical Management for Single and Multiple Incidents | Security calls out on radio for a FAST response Security FAST/EC/EHS/Occupational Health |  |  |
| 6. | Perform an appropriate clean-up and/or decontamination as needed | EC |  |  |
| 7. | As appropriate, notify family emergency contact. | CMT / HR | If medical emergency results in hospitalization or fatality, a Major EHS Event notification plan must be initiated. CMT notified. |  |
| 8. | Complete incident report | EC / FAST / Occupational Health |  |  |
| 9. | Inform appropriate site, Division and Corporate personnel, and local agencies as required. | EC / EHS |  |  |
| 10. | Return AED to state of readiness and restock medical supplies. | Occupational Health |  |  |

      - SABOTAGE

This emergency action item provides the actions to take in response to:

- A specific sabotage threat within the facility that could result in on-site or off-site injuries.

|  | ITEM | PERSON RESPONSIBLE | COMMENTS |
| --- | --- | --- | --- |
| 1. | Immediately Notify: - Security upon evidence of equipment tampering that could result in personnel injury or product impact | Person finding the incident |  |
| 2. | Provide nature of tampering, source of information, specific equipment involved and any other pertinent information. | Person finding the incident |  |
| 3. | Record the information provided. Security to take photos and or video of the situation for further investigation and documentation. | Security |  |
| 4. | Dispatch security guard to the equipment location to secure equipment from further tampering. | Security/Site Security Manager |  |
| 5. | Inform Supply Chain, Manufacturing and Quality personnel on-shift of the nature of the tampering. Inform CMT of the event If after hours, Site Security Manager to notify Supply Chain, Manufacturing and Quality Department Heads | Security Site Security Manager |  |
| 6. | Initiate an investigation. Notify local law enforcement, if appropriate. | Site Security Manager | Notify CMT members of the event |
| 7. | Take corrective actions to address cause and to prevent reoccurrence. | CMT, Site Security Manager |  |
| 8. | Communicate, as necessary, to employees. | CMT |  |

5.2.1.9 ELEVATOR ENTRAPMENT

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Alarm is received at the security console, the security guard will first attempt to make voice contact with the elevator through the elevator intercom system. If the alarm is answered, the security console will determine the type of emergency (elevator entrapment, medical emergency, etc). | Security | Determine Nature of Emergency |  |
| 2. | If there is a medical emergency in the elevator, the security console will then call the XXXXXXX Fire Department to respond to the elevator in question. The security console will alert the FAST Team (XXX’s first aid safety team) to respond to the elevator that has the emergency. The security guard will also dispatch the rover to guide the XXXXXXX Fire Department to the correct door and assist in gaining access to the building. | Security |  | Elevator Locations. |
| 3. | If the caller in the elevator report that the elevator is stuck or the elevator is not functioning properly, with no medical emergency, the security guard will notify the XXXXXXX Fire Department and have them respond to the building where the elevator problem is taking place in a nonemergency manner. The rover will direct them to the correct door to minimize contamination in hallways of the Manufacturing building due to opening the outside doors. Some area specific gowning (i.e. shoe covers) will be required to be worn. | Security |  | Elevators in do not require special cleaning or gowning after the event and the response will be identical in these buildings |
| 4. | If an alarm is received and nobody answers the call button, the security guard will alert the FAST Team and the Rover Guard to respond to the elevator in question to determine if there is an actual emergency. If the elevator is not functioning properly the XXXXXXX Fire Department will be called to respond the elevator situation. The XXXXXXX Fire Department will be escorted to the elevator by the rover guard or a member of the XXX FAST Team to assist in the elevator rescue if necessary. | Security / FAST |  |  |
| 5 | If nothing is found, or if the elevator is found to be operating normally, a note will be placed in the security log. A report will be made to JCI Maintenance of the alarm, and if needed the elevator contractor will be called in to investigate the incident |  |  |  |
| 6 | Once the emergency is completed, the elevator will be tagged out of service, and the elevator company will be notified to investigate the incident. |  |  |  |
| 7 | In all cases, the site EHS Department will conduct an investigation with root cause analysis. | EHS |  | Convey information as required to XXXXXXX Fire Department. |

5.2.1.10  WORKPLACE VIOLENCE

|  | ITEM |  | PERSON RESPONSIBLE |  | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Someone reports an incident or event that involved threatening or violent behavior to any site worker (employee, visitor, resident contractor, nonresident contractor etc) |  | Manager Security |  | 1. Is this an imminent danger situation requiring law enforcement intervention or is this a pre-incident situation requiring assessment from Human Resources and Site Security Manager 2. If Injuries are involved, determine if the situation is safe for medical response (evaluate if it is safe for FAST response) | Notify CMT immediately |
| 2. | Confirm Validity and extent of event |  | Security Manager |  | Determine if the situation is an Imminent or pre-incident event |  |

5.2.1.10  WORKPLACE VIOLENCE

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 3 | Confirm Validity and extent of event | Security / HR | Imminent or pre-incident event. | Inform CMT |
| 4 | Make appropriate Notifications as required and determined by the situation. | Security | State Police | Based on severity of the situation one or all of these contacts may be required. |
| 5 | Consider evacuation of immediate area | Security / EHS | Is it safe to evacuate? |  |
| 6 | Identify a protected area to assemble unaffected employees | Security & EHS | Provide verbal instructions to evacuate employees to safe area. |  |
| 7 | Secure area immediately affected | Security | What should the perimeter line be (safe distance) |  |
| 8 | Contain area and/ or number of people involved. | Security |  |  |
| 9 | Document all actions taken, time actions occurred and witness information | Security /HR |  |  |
| 10 | Notify Division Human Resources and Corporate Security of the incident and forward all related documentation | CMT |  |  |

5.2.1.10  WORKPLACE VIOLENCE

Description of Physical Characteristics Form

Description

Perpetrator 1

Perpetrator 2

| Male / Female |  |  |
| --- | --- | --- |
| Race/Nationality |  |  |
| Height |  |  |
| Weight |  |  |
| Build |  |  |
| Hair Color/Length |  |  |
| Glasses |  |  |
| Eye Color |  |  |
| Scars or Marks |  |  |
| Weapon Type (revolver, automatic rifle, shotgun, etc.) |  |  |
| Jewelry |  |  |
| Clothing: |  |  |
| Jacket |  |  |
| Shirt |  |  |
| Pants |  |  |
| Hat |  |  |
| Shoes |  |  |
| Vehicle: |  |  |
| Type |  |  |
| Model/Year |  |  |
| Color |  |  |
| License Plate |  |  |

Additional Information ______________________________________________________________________________________________________________________________________________________

5.2.1.11 CHEMICAL RELEASE THREAT (On or Offsite)

This emergency action item provides the actions to take in response to:

- A specific chemical threat targeted toward the facility or the surrounding community.

- An event-in-progress involving the release of toxic chemicals from an act of terrorism, or accident involving the transport of hazardous chemicals, near the facility

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Notify Security and provide the following information from the caller (or newscast.) | Individual receiving or hearing about a chemical threat or an event-in-progress |  |  |
| 2. | Record the following information from the caller: | Security |  |  |

Location for the threat target or event-in-progress and proximity to the facility: _________________________________________________________________________________

When did/will the chemical agents be released: _________________________________________________________

Brief description of the threat (off site release, overturned tanker, rail car, etc)  ____________________________________________________________________________________________________________________________________________________________________

What is the specific chemical or compound that is or will be released? _______________________________

For a transport vehicle accident:

is there a release in progress?  _____________________________________

what chemicals and how may gallons, cu. feet or cu. meters are on board the vehicle: ____________ _______________________________________________________________

Caller’s Name or source: __________________________________________________________________________________

Other pertinent information offered by the caller or contained in the news report: __________________________________________________________________________________

Record the time the information was received: _______________

| 3. | Notify the Emergency Coordinator and EHS | Security |  | EC to notify CMT and determine level of the emergency. |
| --- | --- | --- | --- | --- |

|  | 5.2.1.11 CHEMICAL THREAT |  |  |  |
| --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| 4 | Immediately convene a meeting the CMT. Evaluate threat or event-in-progress AND, if appropriate, Declare a site-wide emergency and direct Security to call for an assembly of all personnel on-site | EC / CMT | Decide on need for assembly and/or evacuation based on available information Determine best location(s) for assembly. | If a chemical threat is directed at the plant, then assemble outside and up-wind of the facility. Instruct personnel to not stand in front of windows, glass doors or other potentially hazardous areas. Do not linger near or block exits or building access to emergency officials. |
| 6. | Notify Technical Services Utility Engineer to evaluate air handler shutdown to prevent intake of contamination. | CMT / Director Technical Services | Decide to close off air intake. |  |
| 7. | Announce a general assembly AND instruct all personnel on where to assemble or remain in place. Ask personnel to remain calm and orderly to facilitate the assembly and possible subsequent evacuation should that decision be made. | EC / EHS | Decide on best means to communicate and inform assembled personnel on the status of the threat. | Personnel will be concerned about their families and will want to know if the chemical threat is only to the facility or to somewhere in the community. |
| 8. | Shutdown the facility’s general ventilation system to minimize the potential intake of toxic chemicals into the facility. | EC / CMT | Decide best course of action on ways to minimize the intake of outside air into the facility. |  |
| 9. | Account for all personnel on-site. | Security |  |  |

| 5.2.1.11 CHEMICAL THREAT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| 10. | For a chemical release that has occurred within the facility or on facility grounds: - Provide first aid and medical care for any injuries. For seriously injured personnel, never delay medical treatment to assess contamination levels. - Follow action item “Medical Emergencies,” as practical. - Initiate chemical hazard monitoring within the facility (If this capability exists on-site) - Instruct contaminated personnel on where to for decontamination (on-site if the facility is safe and secure or off-site). | EC | Decide on evacuation and best route given weather and road construction, conditions, etc. Decide on acceptable contamination levels for allowing personnel to proceed to an off-site location (or home) for decontamination – simple showering and bagging of contaminated clothes. | Discuss pros/cons of evacuation vs. on-site shelter for off-site threats based on proximity to the facility. A facility may not be able to assess the consequences of a biological hazard release that is affecting the facility. Individuals with serious or life threatening injuries should receive immediate treatment and transport to a hospital. |
| 11. | Notify XXXXXXX Fire Department regarding a chemical threat on-site. Request: - Immediate medical assistance for anyone with serious injuries. - Assistance with evacuation of the site. - Location and arrangements on where to send personnel who may be contaminated. Obtain information regarding any chemical related event-in-progress occurring within the community or metropolitan area. | Security |  | Ask local law enforcement to provide support for evacuation if the facility is the target of the chemical threat. Ask the fire dept. to support searching the site. Ask fire department for paper suits for personnel who may have to discard contaminated clothing. |

| 5.2.1.11 CHEMICAL THREAT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| 12. | Call the appropriate Federal and State (or country) agencies as listed below and inform them of the chemical threat affecting the facility: - XXXXXXX Fire Department Request support in handling the threat. | Security |  | The local department of health should be able to provide on-site assistance. |
| 13. | Announce evacuation of all non-essential personnel if directed by the EC. | Security |  |  |
| 14 | In the event of media contact. | EHS | Division or Corporate Public Affairs must approve all media communication. | Notify CMT if media inquiry made. |
| 15 | Develop a post event chemical survey and cleanup plan. Obtain assistance from Division and Corporate EHS organizations. Follow guidance in action it, “Chemical Spills/Releases” to the extent possible. | EC / EHS |  |  |
| 16 | Determine if anyone was exposed to the Chemical agent. Assess their exposure. | EC / EHS / Occupational health |  | Requires information on the individuals work activities, proximity to the chemical agent source(s) and time in the area. |
| 17 | Perform a post event evaluation of the facility’s response to the event. | EC/ EHS |  |  |

5.2.1.12  PARCEL AND LETTER THREAT

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Employees / contractors processing mail or an employee discovering suspicious letters and packages should contact Site Security | Person discovering suspicious letters and packages |  |  |
| 2. | Security will proceed to the scene to verify the legitimacy of the call prior to notification of the EC. | Security |  |  |
| 3. | If legitimate, Security will cordon off the area where the material is located and contact the EC. | Security |  | Only emergency personnel are allowed into the area. Potentially contaminated personnel are not allowed to leave the area. |
| 4. | Conduct screening test | EC / Site Security Manager | Determine if the material is a credible danger. | Screener should not open, shake, sniff, or taste the package or its contents. |
| 5. | If the material is a credible danger, security will EC, local fire department and other appropriate outside response teams as necessary CMT is notified. | Security / EC |  | Assist any potentially exposed personnel by keeping them calm and in the area. Notify CMT |
| 6. | Request the immediate shutdown of the building or area HVAC system. | EC / CMT |  | Contact Technical Services |
| 7. | Notification to law enforcement agencies will be handled by responding XXXXXXX Fire Department. Area will be protected and treated as a crime scene as required. | Site Security Lead |  |  |

##### 5.2.2.13  SEVERE WEATHER - Winter

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Every effort will be made to keep the plant open during extreme weather given the nature of manufacturing |  |  |  |
| 2. | Maintain contact with weather services to determine current and projected conditions. | Security / EHS |  |  |
| 3. | Determine whether it is safe to come to or remain at work. | Each employee |  | If employees at work feel they must leave, they must first inform their supervisor. |
| 4. | Update the facility notification system with plant opening/closure information or work status information. |  |  |  |
| 5. | Determine if closure is necessary. Decision is based on severity of weather conditions. |  | Site Head or designee makes decision. | Consideration should be given to the fact that closing the facility will cause many employees to enter the severe weather conditions. |
| 6. | Coordinate with local businesses a staggered closure plan to prevent traffic congestion and possible accidents | EHS / Security |  | Business contacts located in contact list. |

# SEVERE THUNDERSTORM / TORNADO WARNING

Note: Although not impossible, tornadoes in California are extremely rare. Employees will be informed to shelter in place away from windows and doors, with restrooms and locker rooms being the designated tornado shelter in place areas.

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | When weather starts to look severe, listen to the weather band radio in place in the Jackson Rd gate house. When a tornado watch is issued for the following counties: Northern Worcester County, report information provided to EHS. If warning is issued, immediately contact EC/Site Security Manager | Security Manger and EHS | Severity of Weather Determination |  |
| 2. | When it is indicated that a tornado is heading in the direction of the general XXXXXXX area, notify EC or alternate | Security EC | Start and complete Notification Process | Inform CMT of the weather situation developing with instructions to standby for further details. |
| 3. | When the tornado location is in a surrounding community (North Worcester County) and is heading in the direction of the facility, make the decision to notify to shelter in place away from doors and windows. Employees should be directed to the nearest restroom or locker room via PA system announcement | Security to make announcements via building PA system and FAST alert. | Evacuate or shelter in place |  |
| 4. | Security monitors local news and weather radio for updates and convey to security manager and EC. | Security Manager EC |  |  |

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 5. | Provide periodic updates to employees on weather conditions, tornado touch-down locations, and ability for them to access phones / use cell phones to contact family. | EC Security |  |  |
| 6 | Once the tornado has passed, make the decision to communicate the “all clear”. Security to begin site damage assessments if required. | EC Security |  | If any damage is reported, EC to communicate with CMT as to the nature and extent of damage. |

# 5.2.1.15  HURRICANE

Hurricanes typically provide sufficient advance warning (several days) so that adequate site preparation can be completed prior to the emergency occurring.  Therefore, limited personnel need to be on-site.  The majority of site work will occur during pre and post emergency (hurricane).

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Longer than 48 hours before predicted arrival: Monitor storm location and keep CMT up-to-date. Inspect facility for items that need to be secured: Spill carts, PPE cabinets, Hoses, Pallets, Signs/banners Test emergency utility systems/communication equipment: UPS, Generators, Portable Radio, Identify electrical sockets on standby power for recharging. Check inventory of supplies, including: First aid supplies; Flashlights and batteries; Rain gear/protective clothing; Food and water. | EHS EHS Technical Services EHS | Convene CMT and assemble a preparedness team from each site group. |  |
| 2 | - Hours before arrival: Remove all loose debris; evaluate if landscaping (dead tree limbs etc) should be removed to prevent damage. Secure or relocate non-essential equipment/trailers Remove or fill exposed tanks/drums. Fill fuel tanks for generators, fire pumps, and company vehicles. Stage portable generators, sump pumps and hose. Ensure fuel supply for portable generators. Inspect and clear gutters, drains, and catch basins. Ensure main inlets to stormwater retention ponds are confirmed OPEN Develop essential employee lists per department; evaluate need to stage employees in local hotels. Identify critical utility personnel staffing (Boilers, wastewater treatment, electrical) | Technical Services / Service Providers Service Providers EHS to coordinate Technical Services EHS All groups All groups |  |  |
|  | 24 hours before arrival: Complete tie-down of loose items and double-check facility. Cover and raise electrical equipment (if possible) to prevent water damage. Berm any sensitive areas to prevent flooding. Parking garage lower level electrical and tel/data room Alert all employees to site closure telephone procedures Ensure all battery powered equipment is fully charged (including pallet jacks) | EHS Technical Services Technical Services Security Supply Chain |  |  |
|  | 12 hours before arrival: Begin plant shutdown, if required Shut down nonessential equipment, if required Shut down utilities no longer needed, if required | Manufacturing & Technical Services |  | EC to contact FM Global representative and inform or preparedness plans. |
|  | 4 hours before arrival through duration of storm: If personnel remain at facility, double-check that above preparations have been made. Employees instructed to park in parking garage structure. Security and EHS to monitor weather reports. Maintenance to monitor tank farm containment areas, inspect and drain as required to prevent overflow. Maintain log of all incidents. Instruct employees to report damage as it occurs to site security. Security to keep overall damage log. | EHS Security Technical Services EHS |  |  |

5.2.1.16  BIOHAZARD

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Leave the area of the hazard. Notify Security (ext.3333) of the emergency. | Individual discovering hazard | Only when it is out of operator control. | Be consistent with site notification procedure. |
| 2. | Record the following information from the caller: | Security |  |  |

Caller’s Name: ___________________________________________________________________________

Caller’s extension: ___________________________________________________________________________

Location of the hazard: ___________________________________________________________________________

Brief description of the hazard (spill of biohazardous material, etc.) ___________________________________________________________________________

Is anyone injured? ___________________________________________________________________________

Was anyone exposed to the biohazard? ___________________________________________

Ask the caller to assist in keeping other people away until help arrives.

Record time of the call _______________

| 3. | Instruct personnel in the area to exit and remain onsite pending follow-up. | Security |  |  |
| --- | --- | --- | --- | --- |
| 4. | Contact EHS | Security |  |  |
| 5. | Determine if anyone was exposed to the Biohazard. Assess their dose. Notify EHS if an exposure is suspected. | EHS / EC | Determine the need for performing bioassays based on potential for uptakes. | Requires information on the individuals work activities, proximity to the Biohazard source(s) and time in the area. |
| 6. | Barricade (rope-off) AND Post the biosafety hazard area, as appropriate based on initial conditions. | EHS | Determine the appropriate boundaries to rope-off and post for restricting access. |  |
| 7. | Obtain appropriate Biosafety supplies and protective clothing. | EHS |  |  |
| 8. | Don personnel protective equipment (shoe covers, gloves, etc.), as appropriate. Proceed to the hazard area. | EHS |  |  |

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 9. | Perform a Biosafety and contamination survey including: what amount, containment and sample if needed. | EHS |  | Perform surveys following procedure Biological Safety Plan |
| 10. | Coordinate the cleanup of any biohazardous materials and/or contamination. | EHS |  | Perform decontamination following procedure BS-001 Biological Safety Plan |
| 11. | Resurvey AND verify that the area is clean post decontamination. Release the area for normal use. | EHS | Determine acceptable levels of minor residual contamination. | Perform surveys following procedure Biological Safety Plan |
| 12. | Dispose of biohazardous waste. | EHS |  | Perform surveys following procedure Biological Safety Plan Transport following transportation regulations. |
| 13. | Account for all biohazardous materials installed, used or stored in the affected area. | EHS |  | Update CMT of the event. |
| 14. | Determine event-reporting requirements. | EHS | Determine if the event requires notification to the appropriate Federal, State or Country regulatory agency and the timeframe for the report. | Follow regulatory requirements and procedures for such reports. Regulatory notification requirements range from immediate, to 24 hours to 30 days or none based on the nature and severity of the event. |
| 15. | Contact the Division and/or corporate BSO for offsite support, if necessary, AND for events that require any level of regulatory reporting. | EHS |  |  |
| 16. | Perform the notification to the appropriate regulatory agency(s) as required. | EHS |  |  |

5.2.1.17	 MEDIA RELATIONS

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | While members of the News Media are not allowed on site without the approval of the site General Manager and accompanied by a designated Communications representative. For more guidance about interacting with the media. | Security |  | Security gates should be closed in the event of an emergency to prevent Media access to the property. |
| 2. | If a member of the media somehow gains access to XXX property, politely ask them to leave, escorting them from the location, and advise them to contact Communications for further instruction. For more guidance about interacting with the media. As an alternative, confine and supervise them at all times in the Jackson Rd Guardhouse. | Security |  |  |
| 3. | Contact site General Manager. | Security |  |  |
| 4. | Contact Division and/or Corporate Public Affairs per table 6-3. | General Manager or designee |  |  |

5.2.1.18	 UNEXPLODED ORDINANCE

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Notify Site Security | Security |  | Description of the object, location on site. |
| 2. | Notify XXXXXXX Fire Department | Security |  | Provide details of how the object was discovered, size/description and location on site. |
| 3. | Contact EHS | Security | EHS | EHS to ensure a safety perimeter is established; all nonessential personnel and contractors are out of the area and wait for XXXXXXX FD response. |
| 4. | Emergency Coordinator contacts Crisis Management Team | Emergency Coordinator |  | Inform of the situation |
| 5 | Escort XXXXXXX Fire Department to location | Security |  |  |
| 6 | XXXXXXX Fire Chief to evaluate the object and makes decision to call MA State Police Explosives Team | XXXXXXX FD |  | If explosives team needed, security to provide resources to meet and direct to location. |
| 7 | Site Emergency Coordinator, XXXXXXX Fire Chief and MA State Police make decision on disposal plan and if any further evacuations are required. |  | Emergency Coordinator relays any updates to CMT |  |
| 8 | Evaluate if site wide and Division Communications is needed | General Manager or designee |  |  |
| 9 | Explosives Team either removes the object or on site disposal plan is developed |  |  | On site disposal is the most likely scenario. Location to be selected based on the location on site. Primary location of the field to the east of the warehouse. |

5.2.1.19	 CONFINED SPACE EMERGENCY

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Entry supervisor or designee to notify Site Security | Confined Space Entry Team |  | Description of the emergency, location on site. |
| 2. | Notify XXXXXXX Fire Department | Security |  | Provide details of emergency, type of confined space and location on site. |
| 3. | Contact EHS and FAST | Security | EHS | EHS to ensure a safety perimeter is established; all nonessential personnel and contractors are out of the area and wait for XXXXXXX FD response. |
| 4. | Emergency Coordinator contacts Crisis Management Team | Emergency Coordinator |  | Inform of the situation |
| 5 | Escort XXXXXXX Fire Department to location | Security/EHS |  |  |
| 6 | XXXXXXX Fire Confined Space Rescue Team establishes action plan and sets up equipment for rescue | XXXXXXX FD |  | Security to provide resources to meet and direct to location. |
| 7 | Site Incident Commander, Emergency Coordinator, XXXXXXX Fire Chief (or designee) maintains contact during rescue response. |  | Emergency Coordinator relays any updates to CMT |  |
| 8 | Evaluate if Division Communications is needed | General Manager or designee |  |  |
| 9 | Rescue team completes response and Emergency Medical Technician evaluate for further treatment. EHS begins incident investigation. |  | CMT updated. | Based on declared emergency level, begin communications to appropriate personnel. |

5.2.1.20	 	COMPRESSED GASSES / OXYGEN/ LEL ALARM RESPONSE

Compressed Gas Locations:

Building 137 	Parking Garage:	None

Building 131	Lab/Office:		RM 2227 	Oxygen	1 Cylinder

Building 444	Wastewater Txmt	None

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | For oxygen displacing gasses Nitrogen and Carbon Dioxide: If room oxygen alarm is sounding, DO NOT ENTER and immediately contact site security at 3333. | Individual discovering hazard | Do not enter room where oxygen alarm is sounding and contact site security |  |
| 2 | For propane tank or acetylene tank leaks, Security to contact XXXXXXX Fire Department. Security will contact EHS and Supply Chain & Maintenance representative on call. If a bulk tank is involved, Security will contact Air Products and inform them of the leak. Security will establish a safety zone around the leaking tank. EHS will evaluate and determine if XXXXXXX Fire Department and or Clean Harbors Emergency Response is required | Security | Contact Air Products for bulk Oxygen and Carbon Dioxide Tanks EHS to notify site Crisis Management Team for bulk tank emergencies |  |
| 3 | EHS, Supply Chain and Maintenance will determine source of leakage, tank volume and oxygen levels. For oxygen displacing gases, a portable oxygen level meter will also be utilized assessing the leakage. | EHS (Lead), Supply Chain and Maintenance | Determine leak source, flow and volume of material remaining in tank Confirm room/area ventilation Take oxygen levels from portable oxygen meter. |  |
| 4 | Either let tank empty or continue to assess and enter area when oxygen levels are >19.5% Once the alarm condition has cleared, it will be permissible to enter the room to investigate the leak and/or commence repair. | EHS | EHS will determine when it is safe to enter |  |
| 5 | For non oxygen displacing gasses, Occasionally a gas cylinder or one of its component parts may develop a leak. Most of these leaks occur at the top of the cylinder in areas such as the valve threads, pressure safety device, valve stem and valve outlet. The following information applies to the remediation of minor leaks: §If possible, soapy water solution If the leak cannot be stopped by tightening a valve gland or packing nut, inform security of the attempt to repair the leak. Area personnel should be relocated. If it is safe to do so, remove the cylinder from the location and move to an isolated location. Oxygen displacing, oxidizing or flammable gasses should never be moved unless instructed by EHS. If it is necessary to move a leaking cylinder through populated portions of the building, place a plastic bag, rubber shroud or similar device over the top and tape it (duct tape preferred) to the cylinder to confine the leaking gas. | EHS, Supply Chain and/or Maintenance |  |  |
| 6 | Initiate incident report | EHS, Supply Chain, Maintenance and area owner |  |  |

5.2.1.21	 EARTHQUAKE

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISIONS | COMMENTS |
| --- | --- | --- | --- | --- |
| 1. | Remain Calm. Move to a safe location in your room or area at the first signs of an earthquake. Safe locations inside include: - In a doorway, - Under a desk or table, and - Away from windows, glass dividers, chemical & electrical hazards, etc. Safe locations outside include: - Open areas away trees, buildings, walls, power lines, storm drains, etc. - If driving, pull over and stop in a safe area. Avoid overpasses, bridges, underpasses, power lines, etc. | All personnel |  |  |
| 2. | Remain in safe location until the shaking stops. | All personnel |  |  |
| 3. | Evacuate the area or building if: - Directed to do so, - Portions of the building have or are about to collapse, - There is danger of a fire (flammable gases or liquids are present, electricity is short circuiting, etc.), - Fumes are detected, - Chemicals have spilled or there is danger of a chemical spill or fumes, - Plumbing has broken and/or fire sprinkler heads have tripped in conjunction with electric problems. | EC / |  | General Rule for evacuation: If you are not in danger, do not evacuate unless instructed to do so by Security/Emergency Coordinator Evacuation should normally only take place after the initial earthquake has subsided. |
| 4. | Announce Evacuation after the initial earthquake has subsided. Notify and convene Crisis Management team at a safe location. Determine incident level per Crisis Management Plan | Security |  | Safe location point: flag poles area outside of Building 131. |
| 5. | Proceed to the designated evacuation muster area. The designated evacuation area will be the lower level parking lot, not the parking garage. Immediately Report any missing persons or damage that may significantly impact the habitability of the building or area to Security or the EC. Remain calm AND be prepared for aftershocks. Stay in the evacuation assembly area until the “all clear” signal is given. | All personnel |  |  |

| 5.2.1.21 EARTHQUAKE |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | ##### ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| 6. | Provide medical treatment for injuries and call for emergency medical care if necessary. | EC |  |  |
| 7. | Assess the area or building if deemed safe to do so: - Be prepared for any aftershocks, - Check for injuries or missing persons, - Check for fires or fire hazards, - Check for any unusual fumes or odors, - Check for Chemical spills, radiation hazards as applicable to the site, - Check for gas and water leaks, broken electrical wiring or sewage lines. If there is any damage, turn the utility off at the source, - Check building for cracks and damage, including roof and foundation, - Clean up any harmful materials if trained to do so, - Cooperate fully with public safety officers. | EC |  | Follow the appropriate emergency action items for identified injuries, chemical spill, biological hazards, etc. as appropriate for the situation. |
| 8. | Monitor news reports and obtain information on damage reports, emergency services directions or instructions to the public. Provide periodic updates to employees on the situation. Escort employees to restroom facilities on an as needed basis. | Security EC |  |  |
| 9. | Make Decision to give the “all clear” signal. Release employees from the site who want to check on family members | EC | Decide when the “all clear” signal can be given based on best available information. |  |

5.2.1.22	NUCLEAR EVENT

This emergency action item provides the actions to take in response to:

- A specific nuclear threat targeted toward the facility, surrounding community or greater metropolitan area.

- An event-in-progress involving the detonation of a radiological dispersion device or “dirty bomb” at the facility or within the nearby community.  A “dirty bomb” is a conventional explosive device that incorporates radioactive material.  The facility will receive minimal to no radioactivity from a “dirty bomb” that explodes several miles away.

- An event-in-progress involving a nuclear bomb that explodes at sufficient distance from the facility that the primary impact, post shockwave, is from radioactive debris and fallout.

|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
|  | DIRTY BOMB THREAT TO THE FACILITY: Follow action item “bomb threats” | Individual receiving the call to contact Security at 3333. |  |  |
| 2. | Record the following information from the caller: | Security |  |  |
| 3. | Notify the Emergency Coordinator or alternate, the individuals on the emergency contact list. Notify MA State Police and XXXXXXX Fire Department | Security |  |  |
| 4. | Send a Security Officer to the main entrance. | Security |  |  |
| 5. | Immediately convene a meeting of Crisis Management Team Evaluate threat or event-in-progress AND, if appropriate, declare a site-wide emergency and direct Security to call for an assembly of all personnel on-site, by building in a designated area. Direct operations to shut off general ventilation for an outside threat. | EC or alternate EC CMT notified | Decide on need for assembly and/or evacuation based on available information. Determine best location(s) for assembly. For an outside threat, assembly should be in the basement or interior of the building away from windows, etc, or an enclosed shelter area. For an inside threat, evacuate building(s). | If a dirty bomb threat is directed at the plant, then use parking lot for assembly. Instruct personnel to not stand in front of windows, glass doors or other potentially hazardous areas. Do not linger near or block exits or building access to emergency officials. |
| 6. | Announce a general assembly AND instruct all personnel on where to assemble. Ask personnel to remain calm and orderly to facilitate the assembly and possible subsequent evacuation should that decision be made. | Security | Decide on best means to communicate and inform assembled personnel on the status of the threat. For an outside threat consider using the public address system. For an inside threat consider using fire alarm system. | Personnel will be concerned about their families and will want to know if the dirty bomb threat is targeted to the facility or to somewhere in the community. |
| 7. | Account for all personnel on-site. Send out search team for individual(s) not accounted for and known to be on-site. | Dept. Supervisors & Muster Point Leaders |  |  |
| 8. | Notify Division and Corporate Management and Global security per Crisis Management Team Plan | EC |  |  |

|  | ##### ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| --- | --- | --- | --- | --- |
| 9. | For a dirty bomb that has exploded within the facility or on facility grounds: - Provide first aid and medical care for any injuries. For seriously injured personnel, never delay medical treatment to assess contamination levels. - Follow action item, “Medical Emergencies,” as practical. - Instruct contaminated personnel on where to for decontamination (on-site if the facility is safe and secure or off-site). | EC or alternate EC | Decide on evacuation and best route given weather and road construction, conditions, etc. | Discuss pros/cons of evacuation vs. on-site shelter for off-site threats based on proximity to the facility. Since XXX XXXXXXX does not use ionizing radiation machines or radioactive materials may not be able to assess the radiological consequences of a dirty bomb blast or be able to determine if a bomb blast was a dirty bomb. Consultants and/or governmental agencies for radioactive material should be contacted for assistance (XXXXXXX Fire Department) Individuals with serious or life threatening injuries should receive immediate treatment and transport to a hospital. |

| 5.2.1.12 NUCLEAR THREAT |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | ITEM | PERSON RESPONSIBLE | CRITICAL DECISION | COMMENTS |
| 10. | Call local law enforcement and fire department regarding a dirty bomb explosion on-site. Request: - Immediate medical assistance for anyone with serious injuries. - Assistance with evacuation of the site. - Location and arrangements on where to send personnel who may be contaminated. Obtain information regarding any nuclear event-in-progress occurring within the community or metropolitan area. Monitor EBS stations, and NOAA weather radio for nuclear threat. | Security |  | Ask local law enforcement to provide support for evacuation if the facility is the target of the dirty bomb threat. Ask the fire dept. to support searching the site. . |
| 11. | Activate site Crisis Management Team and assign incident level. | EC/CMT |  |  |
| 12. | Announce evacuation of all non-essential personnel if directed by the EC. | Security |  |  |
| 13. | Develop a post event radiological survey and cleanup plan. Outside assistance will be guided by EC/XXX EHS/Corporate EHS and Emergency Responders | EC/Emergency Responders | Determine damage assessment process and timeline |  |
| 14. | Determine if anyone was exposed to the radiation. Assess their dose. | Emergency Responders |  |  |
| 15. | Perform a post event evaluation of the facility’s response to the event. | Emergency Responders |  |  |

  - Emergency Evacuation Plan

In case of fire or other related emergency, indicated by the facility fire alarm system, it will be necessary to promptly evacuate the building.  To ensure evacuations are conducted in a safe and orderly manner, the following should be adhered to:

1.	If the fire or other related emergency is discovered in your area, the nearest fire alarm box should be activated.

2.	When the fire alarm sounds, you must promptly evacuate the facility and head towards your assigned muster point location.

For employees wearing classified area gowning, do not de-gown or remove area specific footwear.

As a general rule, always follow overhead directional “EXIT” signs. These signs will direct you to the nearest route outdoors.

3.	Don’t attempt to fight the fire unless you have been trained and the fire is small enough to be handled by ONE extinguisher.  Use Good Judgment!

4	Elevators must never be used for emergency evacuation.

- Employees should walk briskly, not run, and use handrails in the stairwells. In building 131 (LOC), the center stairs should not be used for an evacuation. Follow overhead exit signs to the stairwells located on the northeast and southwest sections of the building.

- No one will be allowed to re-enter the building until the emergency condition has been cleared.

- Facility floor plans with evacuation routes are posted throughout the facility.  Examine these plans to ensure that you know your primary and secondary escape routes from your particular work area.

- Department Managers and Supervisors function as evacuation coordinators for their particular area. The coordinator’s duties are to provide assistance to any employee who needs help in evacuating, i.e. negotiating stairs, etc. Employees should contact their department manager or supervisor if a physical condition prevents them from negotiating stairwells in a safe and efficient manner.

- Each muster point will have an assigned Muster Point Leader who will be responsible for muster point attendance and relaying (via radio) any missing employee information to the Emergency Coordinator.

5.4	INCIDENT REPORTING

In the event of an emergency response incident, an Incident Report will be completed per the site accident/incident reporting procedure, XXX-EHS-0087.  The EC will determine whether it is necessary to report the incident to the appropriate division and/or corporate personnel per XXX-EHS-55555 Illness and Injury Recordkeeping and Reporting.

5.5	NOTIFICATION TO REGULATORY AUTHORITIES

The reporting requirements for an emergency response incident vary based upon the type of emergency.  The EC determines whether an emergency situation meets the regulatory criteria for reporting to Federal, State, and/or local authorities, and files any reports to the applicable agencies as required.

XXX Major EHS Incidents reporting procedure is contained within XXX-EHS-55555 Illness and Injury Recordkeeping and Reporting.

CHEMICAL / HAZARDOUS MATERIAL INCIDENT NOTIFICATION & REPORTING REQUIREMENTS

The reporting requirements for releases and threats of release of hazardous materials or

oil occurring at the facility are governed by the Department of Environmental Protection (DEP) under 310 CMR 40.0300, Comprehensive Environmental Response, Compensation, and Liability Act (CERCLA) under 40 CFR 300 and Superfund Amendments and Reauthorization Act of 1986 (SARA) under 400 CFR 355.

A.	DEP Notification Requirements

The DEP has “2 Hour”, “72 Hour”, or “120 Day” notification periods for certain

releases and threats of release of reportable quantities of hazardous materials or oil as listed in the California Oil and Hazardous Material List.  Any release

requiring DEP notification must be made to the California DEP-Central Region at (555) 555-5555 (Business Hours) and (555) 555-5555 (After Hours, Weekends, Holidays).

B.	CERCLA Reporting Requirements

Any release of a CERCLA Hazardous Substance, which is greater than the

reportable quantity for that material (as listed in 40 CFR 302 Table 302.4), requires notification to the US EPA National Response Center at (800) 424-8802.

C.	SARA Reporting Requirements

SARA requires that facilities which release a CERCLA Hazardous Substance or a

SARA Extremely Hazardous Substance (as listed in 40 CFR 355, Appendix A)

greater than their reportable quantities, and such release threatens the environment or public outside the boundaries of the site, must immediately notify the State Emergency Response Commission (SERC) at (555) 555-5555.

D.	XXX Spill Reporting Requirements

All spills, regardless of volume, require a XXX Incident/Accident Report (either paper or electronic submission) to be filled out by employee, contractor or service provider  and the applicable area supervisor and sent to the EH&S Department within 12 hours of occurrence.

Supervisors must be aware that certain spills may require immediate reporting to the DEP.  For this reason, immediate verbal contact should be made with the EH&S Department so a review of possible regulatory reporting requirements can be conducted. An evaluation will be made by the Emergency Coordinator to determine response procedures.

# TABLE 5-1

# EMPLOYEE RESPONSIBILITIES IN THE EVENT OF AN EMERGENCY

| Position | Who | Responsibilities |
| --- | --- | --- |
| Facility Emergency Coordinator (EC) Alternate EC (in the event of the Plant Manager’s absence) |  | - In charge of Emergency Response Team; - Coordinates all response activities; - Must assess possible hazards to human health and the environment; - Will contact corporate public affairs and other personnel, as appropriate; - Notifies corporate legal counsel in the event of a loss of life or property; - Cooperates fully with local emergency response agencies; and - Will notify appropriate authorities or will designate individual to do so. |
| Incident Commander |  | - Assumes control of all response actions; - Communicates directly with EC; - Responsible for direct overall management of response personnel; - Directs and initiates tasks to on- and off-duty personnel; - Authorizes issuance of emergency supplies and equipment; - Orders evacuation and if necessary, assigns traffic control responsibility; and - Responsible for post-emergency follow up. |
| Crisis Management Team |  | - Coordinates emergency actions as directed by the emergency coordinator for their departments - Authorizes emergency shut down of non-computer equipment, as requested by the emergency coordinator (and repair and reconstruction as needed). - Responsible for transmitting communication between the ERT and the employees in their department. |
| Technical Expert |  | - Assumes control of all response actions related to events involving technical area; - Communicates directly with FIC and EC; |
| Media Contact | Corporate / Division Communications | - Respond to all media inquiries. |

TABLE 5-2

DIRECTORY OF EMERGENCY CONTACTS

| Role/Department | Name | Work Phone | Cell Phone | Alternate | Work Phone | Cell Phone |
| --- | --- | --- | --- | --- | --- | --- |
| Crisis Management Team |  |  |  |  |  |  |
| Crisis Management Leader |  |  |  |  |  |  |
| Emergency Coordinator |  |  |  |  |  |  |
| Technical Services Leader |  |  |  |  |  |  |
| Security |  |  |  |  |  |  |
| Human Resources |  |  |  |  |  |  |
| Incident Command & XXX Support Team Members |  |  |  |  |  |  |
| Incident Commander |  |  |  |  |  |  |
| Occupational Health |  |  |  |  |  |  |
| Community Affairs/ Corporate Communications |  |  |  |  |  |  |
| Legal (business) |  |  |  |  |  |  |
| Legal (EHS) |  |  |  |  |  |  |
| Finance |  |  |  |  |  |  |
| XXX EHS |  |  |  |  |  |  |
| IT |  |  |  |  |  |  |
| XXXXXXX Management Team |  |  |  |  |  |  |
| Vice President & General Manager |  |  |  |  |  |  |
| Human Resources |  |  |  |  |  |  |
| EHS |  |  |  |  |  |  |
| Manufacturing |  |  |  |  |  |  |
| Quality |  |  |  |  |  |  |
| Finance |  |  |  |  |  |  |
| Supply Chain |  |  |  |  |  |  |
| IT |  |  |  |  |  |  |
| Automation |  |  |  |  |  |  |
| MS&T |  |  |  |  |  |  |
| Technical Services |  |  |  |  |  |  |

| Role/Department | Name | Work Phone | Cell Phone | Alternate | Work Phone | Cell Phone |
| --- | --- | --- | --- | --- | --- | --- |
| XXX XXXXXXX Site Critical |  |  |  |  |  |  |
| Security – smith Rd |  | 555-555-5555 |  |  |  |  |
| Security – Command Center |  | 555-555-5555 |  |  |  |  |
| JCI XXXXXXX Site Critical Functional Area Contacts |  |  |  |  |  |  |
| Management |  |  |  |  |  |  |
| Utilities |  |  |  |  |  |  |
| HVAC |  |  |  |  |  |  |
| Boiler |  |  |  |  |  |  |
| Electrical |  |  |  |  |  |  |
| Water |  |  |  |  |  |  |
| Utility Outage |  |  |  |  |  |  |
| Wastewater Treatment |  | 555-555-6355 |  |  |  |  |

| Regulatory Agency | XXXXXXX Fire / EMS Dispatch | 555-555-1212 | 911 |
| --- | --- | --- | --- |
|  | State Police | 555-555-1212 | 911 |
|  | Chemical / Environmental Emergencies |  |  |
|  | Clean Harbors (Environmental Response) | 1-800-OIL-TANK | 555-555-1212 |
|  | Department of Environmental Protection | (888) 555-1212 (DEP Emergency Report line) | 508-792-1212 (central region reporting) |
|  | State Emergency Response Commission | 555-555-1212 |  |
|  | US EPA National Response Center | 1-800-555-1212 |  |
|  | CHEMTREC | 1-800-555-1212 |  |
| Utilities | National Grid (California Electric) | 800-555-1212 (Outages) | 800-555-1212 (Emergencies) |
|  | XXXXXXX Water & Sewer (Emergency) | 555-555-5555 |  |
|  | NSTAR (Natural Gas) | 555-555-5555 |  |
|  | Verizon (Telephone) | 555-555-5555 |  |
|  | Air Products (Bulk CO2 & Oxygen) | 555-555-5555 | 800-555-1212 |

| XXX Abutters | Business Hours | After Hours |
| --- | --- | --- |
| xxxxxx | 555-842-1212 | Same |
| xxxxxxx | 555-555-1212 | Same |
|  | 555-555-1212 | Same |
| xxxxxxx | 555-555-1212 | Same |
| xxxxxxxxx | 555-555-1212 | 555-555-5555 |

Table 5-3

First Aid Response Team Roster

TABLE 5-4

EMERGENCY RESPONSE CENTER CHECKLIST

CHECKLIST

| - Copies of the Emergency Response Plan | - Emergency plan key drawings set |
| --- | --- |
| - Computer with intranet access for Material Safety Data Sheets (MSDSs) | - Maps of the facility |
| - Local telephone directories | - Office supplies |

EQUIPMENT

The following equipment must be stored in the on-site emergency response center for use during an emergency:

| - Network connections to computers |  |
| --- | --- |
| - Radio (battery operated) |
| - Telephones |  |
| - Photocopier/Fax |  |

TABLE 5-5

CMT RESPONSE CENTER LOCATIONS

| LOCATION |  | ON SITE CONTACT | TELEPHONE NUMBER |
| --- | --- | --- | --- |
| Primary: | Bldg 131 2202 | Joe | 555-555-1212 |
| Alternate #1: | Bldg 555 Security | Smith | 555-555-1212 |
| LOCATION |  | OFF SITE CONTACT | TELEPHONE NUMBER |
| Alternate #1: | Springhill Suites/XXXXXXX | Hotel Manager | 555-555-1212 |

TABLE 5-6

EMERGENCY EQUIPMENT INVENTORY FORM

| Item(s) | Location(s) | Minimum Quantity |
| --- | --- | --- |
| First Aid Kit | All buildings | 1 per |
| Eyewash Kit | LOC penthouse, warehouse EHS cage | 5 |
| Material Safety Data Sheet Binder | Occupational Health, Jackson Rd Guard House | 2 sets of paper copies |
| Nitrile Gloves | All buildings Lab Stockroom | 500 pair |
| Safety Glasses/Goggles | All buildings | 50 pair |
| Respirators | None on site | None on site |
| Sorbent Material | All buildings, warehouse EHS cage stock supply | 5 containers |
| Mops and Buckets | Janitor closets / All buildings | 20 |
| Blankets | Occupational Health | 2 |
| Telephones | All buildings | 100 |
| Self-Contained Breathing Apparatus | None on site | None on site |
| Chemical-Resistant Disposable Coveralls | Occupational Health, warehouse EHS cage | 30 |
| Spill Clean-up Kit | All Buildings | 20 |
| Battery Operated 2-way radios (with extra batteries) | Security Command Center | 5 |
| Flash lights (with extra batteries) | Maint Area, EHS office area, | 5 |

TABLE 5-7

BULK CHEMICAL INVENTORY AND REPORTABLE QUANTITIES

# TABLE 5-8

# XXX 48 Hr INCIDENT REPORT

Per XXX-EHS-0006, the primary method of submitting the 48 hours report is via http://eims.XXX.com.

FIGURE 5-1

SITE LOCATION MAP

#### XXXXX  33 Smith Rd XXXXXXX, CA

FIGURE 5-2

FACILITY LAYOUT MAP

General Site Map

# Figure 5-3a thROUGH 5-3g

Evacuation Muster Points

Site Evacuation Muster Points:

Area A (Parking Garage) – Building 777: Lab-Office-Cafeteria Building

- Muster Point 1 –

- Muster Point 2

- Muster Point 3 -

- Muster Point 4 -

- Muster Point 5 -

Area B(Parking Lot) – Building 555: Central Utility Building/ Building 777 Warehouse/ Building 888 Chemical Storage Building

- Muster Point 7 – All Technical Services Groups, personnel.

- Muster Point 8 - All Warehouse/Chemical storage personnel, Quality Assurance. Quality Control Personnel, Mailroom personnel and Non-Resident contractors working in building or XXX employees/Resident Contractors not assigned to the CUB or Warehouse/Chem Storage (i.e. visiting).

Area C (Wastewater Treatment Driveway) – Building 444: Wastewater Treatment Facility

- Muster Point 9 - All personnel located in the wastewater treatment building,  personnel, and Non-Resident contractors working in building or XXX employees/Resident Contractors not assigned to the Wastewater Treatment Facility (i.e. visiting)

Area D (Motorpool parking lot)- Motorpool Area (When in Use)

- Muster Point 10 - All personnel located in the Motorpool area and any non-resident contractors working in this area or XXX employees/resident contractors not assigned to the area (i.e. visiting.)

Area E (Tank Farm Side, On Grass Field) – Building 222: Manufacturing Building

- Muster Point 11 - Cell Culture, Manufacturing Systems

- Muster Point 12 - Process Support

- Muster Point 13 – Purification, Validation

- Muster Point 14 - WH/JIT/Supply Chain, Technical Services, personnel and non-resident contractors working in building or XXX employees/resident contractors not assigned to the manufacturing building (i.e. visiting.)

Figure 5-4

# Route to the Nearest Hospital

Directions to Valley Medical Center

Tel Number 555-555-1212

FIGURE 5-5

EMERGENCY EQUIPMENT – SPILL CONTROL EQUIPMENT LOCATIONS

| List of All Spill Kits Onsite at XXX - XXXXXXX |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Format | 2220-SK-HS-1 would be the first (of one of more) small hazmat spill kits in room 2220 |  |  |  |  |  |  |  |
|  | 1860-SK-OS-2 would be the second (of two or more) medium oil spill caddies in room 1860 |  |  |  |  |  |  |  |
|  | Each list of units is under a heading for its building |  |  |  |  |  |  |  |
|  | HS |  | Small HazMat Spill Kit |  |  |  |  |  |
|  | OS |  | Small Oil Spill Kit |  |  |  |  |  |
|  | HM |  | Medium HazMat Spill Caddy |  |  |  |  |  |
|  | OM |  | Medium Oil Spill Caddy |  |  |  |  |  |
|  | HL |  | Large HazMat Spill Cart |  |  |  |  |  |
|  | OL |  | Large Oil Spill Cart |  |  |  |  |  |
|  | BT |  | Battery Spill Kit |  |  |  |  |  |
|  |  |  | Build 1 | Build 2 | Build 3 | Build 4 | Build 5 | Build 6 |
| Total | HS |  | 37 | 15 | 1 | 1 | 1 |  |
|  | OS |  | 11 |  |  |  |  |  |
|  | HM |  | 11 | 1 | 1 | 1 | 1 |  |
|  | OM |  | 4 |  |  |  | 1 |  |
|  | HL |  | 7 |  |  | 1 | 1 | 1 |
|  | OL |  |  |  |  |  |  |  |
|  | BT |  | 2 |  |  | 1 |  | 1 |
| Building 1 - Manufacturing/XXX |  |  |  |  |  |  |  |  |
|  | HS | OS | HM | OM | HL | OL | BT |  |

FIGURE 5-6

EMERGENCY RESPONSE ORGANIZATION CHART

INCIDENT COMMAND STRUCTURE

In the event that this Crisis Management Plan is implemented, the Emergency Coordinator (or

Alternate Emergency Coordinator, if unavailable) will be responsible and have the authority to direct all defensive emergency response and control procedures to prevent additional injury, environmental damage or property loss.

The Emergency Coordinator and/or alternate will be part of a “decision team” which will include the facility’s president, vice-presidents, and facility engineering manager.  During the absence of all Emergency Coordinators, the following individuals will assume responsibility in the order of availability: President, Vice-President of Operations, Director of Technical Services.

Command of emergencies will be turned over to the appropriate outside emergency

response agency once the applicable agency’s command system is in place.  The XXX

Emergency Coordinator or alternate will remain as a resource to the applicable outside

agency.

Site Management Team

Site subject matter experts

Business Unit Recovery Team,

Crisis Management Team

John Smith (Vice President & General Manager)

Joe smith (Human Resources)

Peter Joe (Technical Services)

Mike Smith  (Security Manager)

XXXXXXX Fire Department & Emergency Services

Recovery Contractors

Incident Commander

John Smith

Emergency Response Team

Occupational Health (Barbara Smith)

Emergency Coordinator

Mary Smith

John Smith

Alt. Emer. Coord.

C.  POST EMERGENCY RECOVERY PLAN

SECTION 6

PUBLIC AFFAIRS

A brief summary of key Public Affairs elements is provided in this section.

6.1	SPOKESPERSONS

The Director, Global Manufacturing & Supply (XXX) Communications is the assigned spokesperson responsible for all communications with the media during an emergency.  If the Director, Global Manufacturing & Supply (XXX) Communications or designated alternate) is not available, the site Vice President/General Manager can act as the alternate spokesperson for that time period.  The phone numbers for contacting the Director, Global Manufacturing & Supply (XXX) Communications (or designated alternate) and site Vice President/General Manager are listed in Table 6-5.

6.2	NOTIFICATION OF SPOKESPERSONS

When an emergency is identified and characterized, the site crisis management team (CMT) will convene. The Site Director, Human Resources will have the responsibility of contacting XXX Communications.

6.3	RESPONSIBILITIES OF SPOKESPERSONS

If a facility emergency produces a potential risk to the community, the spokesperson will work with the Vice President, Corporate Communications team to ascertain the appropriate next steps to inform the community about the incident.  An example of a standard Emergency Information Sheet is included in Table 6-1.  An outline for an Initial Communication Flow is included in Table 6-2.

Media may be allowed onto the facility grounds only when accompanied by a member of Corporate/Division Communications.

It is unlikely that all the needed information will be available at the onset of a crisis to answer questions from media and other key constituencies.  However, these inquiries must be honestly responded to with timely, accurate information.  It is important to release information about the situation as quickly as possible.  All messages and statements are to be drafted under the direction of.  Final approval of materials will rest with the Vice President, Corporate Public Affairs.

In some instances, particularly early on in an emergency, public affairs may not be available if media arrive at an XXX location or contact a site manager for more information.  In such instances, use the information provided in Table 6-3 in the interim before public affairs can become involved.

TABLE 6-1

PUBLIC AFFAIRS / MEDIA

EMERGENCY INFORMATION SHEET

This checklist is provided to assist the XXX XXXXXXX Crisis Management Team in the development of a crisis communication fact sheet.  The fact sheet is a briefing document used by XXX spokesperson(s) when preparing to communicate with the media or community personnel during a site emergency.   The information sheet provides primary contact information, a brief incident overview and facility / site related information that may be commonly asked.

Name: Title Contact Information: (Phone) (Email)

Incident Description:

Location and facility size (e.g., square feet, acres). XXXXXXX’s XXXXXXX site is XXXXXXX’s state-of-the art large scale biologics manufacturing facility. The 400,000-sq. ft. facility comprised of 6 major buildings and is located 45 miles west of Orlando on a 89-acre landscaped site.

- Number of employees and shifts. 350 full time employees. The site is staff 24/7. Manufacturing operations are currently conducted 24/7.

- Years at present location. The XXX site was completed in 2000.

- Major products and processes. XXXXXXX will serve a vital role in the continued growth of XXX’ biologics capabilities. It will provide consistency of supply and greater flexibility and control in the development and manufacture of our biologic medications. XXXXXXX is currently producing xxxxxxx has the potential to support additional biologics in the future.

- Emergency response team (i.e., fire brigade, spill response team), roles and training. XXX XXXXXXX maintains first aid response team. This team under goes comprehensive training to provide first aid assistance until the XXXXXXX Fire Department is able to respond. All XXX employees are trained to respond to emergencies that are beyond the scope of their training by notifying the site security. Site management will implement a comprehensive emergency response plan based upon the nature of the emergency. XXX has contracted with a licensed provider of emergency response services to provide assistance with chemical emergencies.

- Hazardous chemicals that could be released into the environment or ignited. XXX utilizes a number of chemicals to support its manufacturing and facility operations. Storage vessels of these materials have been engineered to ensure containment should a failure of a storage vessel occur. The site also has a high performance stormwater management system to prevent off site releases to the local environment.

- Means of preventing fires/spills (i.e., sprinkler system, containment, regular fire protection inspections, special permit programs, drills). XXX XXXXXXX has implemented a comprehensive environmental, health & safety management program. This program, in combination with protection systems engineered into the facility, ensure a high level of hazard prevention. XXX employees training on emergency response, fire protection, incidental spill response and hazardous chemical handling on a periodic basis.

- Outside responders (local fire department, hazardous materials team). XXX XXXXXXX maintains a working relationship with the XXXXXXX Fire Department and XXXXXXX Local Emergency Planning Commission. XXX has contracted Clean Harbors Environmental Services to provide 24-hour emergency response to chemical emergencies and oil spills.

- Outside emergency medical facilities. XXX XXXXXXX utilizes the services of Nashoba Valley Medical Center or UMASS Medical Center Leominster for medical emergencies and critical care.

TABLE 6-2

OUTLINE FOR INITIAL PUBLIC AFFARIS COMMUNICATION FLOW – INTERNAL and EXTERNAL

| KEY PERSONNEL XXXXXXX, XXXXXXX, MA |  |
| --- | --- |
| First Person Called: | John Smith |
| Spokesperson | Peter Smith |
| Alternate Spokesperson | To be assigned by XXX Communications |
| After Hours Spokesperson | To be assigned by XXX Communications |
| How are employees informed of an incident? - XXX site wide email distribution - XXX site wide voicemail distribution - Department Call Trees. - XXX Facility Status Line. |  |
| How is the community informed of an incident? - Communication statement for site security to give to arriving media: “I am very sensitive to your deadlines and your need for information. I am not the correct person to answer your questions, and I want to put you in touch with the right individual to provide you with the information you need as soon as we can.” - All information requests and dissemination will result from XX Corporate Public Affairs can be reached at XXX-XXX-XXXX. |  |
| Location of Media Briefing: - Primary Location: Smith Rd Guard House / Gate - Secondary Location: Joe Rd Guard House / Gate - Offsite Location: To be determined based on the nature of the emergency |  |
| How should employees and their families react if confronted by the media? - All employees should decline comment. |  |

Table 6-3

general guidelines for working with THE media

An immediate standby message should contain the following information: (in the absence of corporate public affairs, the EC, CMT (or designee) should begin drafting this information for corporate public affairs)

- Commitment to stopping whatever has led to the crisis or emergency

- Compassion for those who have been negatively influenced by the situation

- Cooperation with all involved parities to reach a resolution

Politely engage the media based on the "dos" and "don'ts" below.  Take down their name, contact information and media outlet for follow up by corporate public affairs.

| ##### To Do | ##### Do Not |
| --- | --- |
| Show concern | Go “off-the-record.” |
| Stay calm and be courteous | Be hostile or defensive |
| Establish confidence | Be evasive |
| Demonstrate commitment to resolving the problem and protecting the welfare of the community | Use negative language |
| Release only FACTUAL information which concerns the immediate tasks at hand or which has been approved for public release by corporate public affairs | Speculate on any aspect of the crisis |
| Be concise | Place blame for the emergency |
| Follow up on requests, to do’s, or commitments | Permit unauthorized spokespersons to comment to the media. |
| Keep accurate logs and records of all inquiries. Report decisions being made by these outside entities to the Emergency Coordinator and corporate public affairs. |  |
| Escort restricted personnel on the emergency site, or assure they have such an escort Escalate if needed. |  |

SECTION 7

POST-EMERGENCY PROCEDURES

This section describes the post-emergency procedures that will be conducted to prevent any further problems after the initial threat of an emergency has passed and the reporting requirements described in Section 5 have been met.

  - POST-EMERGENCY RECOVERY

The EC will ensure that all necessary utilities are functioning properly before the facility returns to normal operations.  The EC will also arrange for a systematic evaluation of any electrical equipment that may have been affected by the emergency and employ appropriate methods for ensuring the integrity of all equipment prior to restart.

7.1.1 	PREVENTION OF RECURRENCE OF EMERGENCY CONDITIONS

The primary means for preventing recurrence of emergency conditions is proper completion of the emergency response procedures for the original emergency.  During an emergency, the EC will take all measures necessary to ensure that the incident does not recur, or spread to other areas at the facility.  These measures may include stopping processes and operations, collecting and containing released chemicals, and removing or isolating containers.

The cause of the incident and any factors contributing to the severity of the incident (i.e., response procedures, lack of precautions, etc.) will be studied to determine how to prevent a similar occurrence in the future, and this information will be communicated to the appropriate personnel.

7.1.2	STORAGE AND TREATMENT OF RELEASED MATERIAL

Released material from minor spills will be collected, drummed, labeled, and held for proper off-site treatment and/or disposal, according to routine procedures for the type(s) of material(s) collected.  Emergency response decontamination procedures for removing or neutralizing contaminants that have accumulated on personnel and equipment are maintained by the facility.  Major spills are, by definition for the purposes of this Plan, those not readily handled by the facility’s own resources.  Therefore, for major spills, this facility may use the resources of an emergency clean-up response contractor for containerizing contaminated material prior to transferring it off site for final treatment and/or disposal.  Treatment, storage, and/or disposal of recovered waste, contaminated soil, ground water, or surface water will be arranged by the EHS Coordinator and carried out as expeditiously as possible.  Any nonhazardous debris that results from the emergency will be disposed of in the usual appropriate manner.

The EC is responsible for ensuring that, in affected areas of the facility, no substance that may be incompatible with the released material is brought on site until clean-up procedures are completed and facilities are deemed ready to return to service.

7.1.3	POST-EMERGENCY EQUIPMENT MAINTENANCE

The EC (or alternate) will ensure that all emergency equipment that was used is inspected, cleaned and decontaminated, or replaced as needed. Table 7-1 includes an inventory form for replacement of emergency equipment.

7.1.4 	DISPOSAL OF CONTAMINATED MATERIALS

Emergency response personnel will attempt to minimize any potential for chronic exposures to hazardous materials that may be created by contaminated debris or materials.  Clean-up activities will be conducted in accordance with regulatory guidelines.

Materials classified as hazardous, biological, radioactive or mixed waste require special procedures for disposal.  The response team will coordinate clean-up activities with the Site EHS Lead (or designee)  to ensure that appropriate regulatory procedures as well as routine safety precautions are employed.  Steps will be taken to ensure that harmful exposures are prevented during the handling of hazardous materials for disposal.  Contamination of emergency medical facilities and equipment must be considered if any hazardous material was known or suspected to be present on a victim or his/her clothing or equipment.

All contaminated materials will be disposed of in accordance with applicable regulations.  The site EHS lead (or designee), will oversee all disposal activities to ensure proper disposal.

7.2	PRE-STARTUP

Following an “all clear” determination by the CMT, the criteria for restart will be identified by the EC in cooperation with Director of Engineering and the Maintenance Manager and others as identified by the EC/CMT.  It is anticipated that some portions of the facility will not be affected by most emergency incidents, and therefore, could be safely restarted.  Other areas adjacent to the incident scene may need to be inspected and verified as safe by sampling for potential contaminants.  Specific restart criteria will depend on the nature and severity of the incident.  The EC or his/her designee will identify appropriate restart criteria after emergency response operations are completed.  Temporary operating restrictions and instructions may need to be implemented, accompanied by appropriate training and verification that the temporary procedures are understood.  A checklist for restarting is presented in table 7-3.

7.3	EMPLOYEE INTERVENTIONS

A traumatic event, or critical incident, can impact your business unit and the organization.  The Employee Assistance Program (EAP) is available to help the facility develop and implement an action plan for managing this event and minimizing disruptions.

7.4	EMERGENCY INCIDENT INVESTIGATION AND FOLLOW-UP

7.4.1 EMERGENCY INCIDENT INVESTIGATION

The following standard operating procedures must be consulted:

XXX-EHS-0006 Incident Reporting & Investigation

XXX-EHS-0069	Illness and Injury Recordkeeping & Reporting (includes major EHS event 	reporting guidelines)

7.4.2   EMERGENCY FOLLOW-UP

The EC will conduct a critique as soon as practicable after each emergency incident to capture ideas for potential improvements in the ERP response, procedures, training, etc.  Personnel who participated in response activities will be solicited for their insights, observations, and ideas for possible improvements.

The critique will address those aspects of the response that were successful as well as deficient, evaluate performance of systems and equipment, assess the effectiveness of the training program(s), and recognize successful performance.

A checklist for the incident critique process is presented in table 7-4.

TABLE 7-1

EMERGENCY EQUIPMENT INVENTORY FORM

| Item(s) | Location(s) | Minimum Quantity |
| --- | --- | --- |
| First Aid Kit | All buildings | 1 per |
| Eyewash Kit | LOC penthouse, warehouse EHS cage | 5 |
| Material Safety Data Sheet Binder | Occupational Health, Jackson Rd Guard House | 2 sets of paper copies |
| Nitrile Gloves | All buildings LOC Lab Stockroom | 500 pair |
| Safety Glasses/Goggles | All buildings | 50 pair |
| Respirators | None on site | None on site |
| Sorbent Material | All buildings, warehouse EHS cage stock supply | 5 containers |
| Mops and Buckets | Janitor closets / All buildings | 20 |
| Blankets | Occupational Health | 2 |
| Telephones | All buildings | 100 |
| Self-Contained Breathing Apparatus | None on site | None on site |
| Chemical-Resistant Disposable Coveralls | Occupational Health, warehouse EHS cage | 30 |
| Spill Clean-up Kit | All Buildings | 20 |
| Battery Operated 2-way radios (with extra batteries) | Security Command Center | 5 |
| Flash lights (with extra batteries) | CUB Maint Area, LOC EHS office area, | 5 |

TABLE 7-2

RECOVERY ACTION PLAN CHECKLIST

- Put all management and supervisory personnel on 24-hour call.

- Start emergency work immediately.

- Have a competent, well-instructed person direct the restoration of fire protection in unaffected portions of the facility.  Assemble enough personnel to replace opened sprinklers, repair or plug broken piping, and get water supplies back to normal.

- Have extra guards placed on duty in areas of impaired protection.

- Have all openings in walls and roofs closed against weather.

- Have a competent person direct salvage at once.  Materials being salvaged should be sorted as to degree of damage.

- Have the area dried out and aired out, and made safe for work.  Start removal of debris as soon as possible.

- Attempt to reclaim and recondition equipment, and do not throw any material away until the EC gives approval.

- Have a crew under a competent leader start the job of wiping and oiling wet machinery, drying out wet electrical equipment, getting rid of excess water, etc.

- Do not energize electrical systems, except under the direction of a qualified electrician.

- Notify XXX EHS per major EHS event notification matrix at once.

- Include a description of the apparent extent of damage.

- Decide whether suppliers should be contacted to stop shipments of raw materials.

- Plan areas where materials in transit can be stored.

- Start at once to restore the damaged structures.

- Investigate alternative types of construction that might prove better, faster, and safer.

- Start restoration at once on the parts of the facility where there is no question of construction change.

- Start at once to repair and replace damaged machinery.

- Line up all known sources of supply or replacement machines and parts -- new and used.

TABLE 7-3

RESTART CHECKLIST

(All applicable requirements must be met prior to restart)

- Incident Commander determines “all clear” and sounds signal.

- Area Manager verifies that the unit is safe to restart.

- Immediate cause (hazard) of the incident has been determined.

- Temporary hazard control measures are identified.

- Any modifications to operating procedures are established, documented, and communicated to personnel; and it is verified that the changes are understood.

- If necessary, restrictions on production rates, temperatures, pressures, or other operating parameters are established and communicated to personnel.

- Utility systems are operating properly.

- Emergency response and protection systems and equipment are recharged and/or reset (foam, deluge, halon, detection and alarm, sump levels re-established, fire extinguishers replaced, self contained breathing apparatus units recharged, unit and plant emergency gear restored to normal state of readiness, batteries replaced, medical and oxygen supplies restored to adequate levels, fire pump fuel tanks refilled, and HAZMAT supplies restocked to an adequate level).

- Emergency Coordinator confirms state of readiness from operations, utilities, medical, safety, security, maintenance, environmental, customer services, etc.

TABLE 7-4

INCIDENT CRITIQUE CHECKLIST

- Overview and summary by Emergency Coordinator.

- Individual reports by participants.

- Emergency medical personnel reports.

- Incident Commander’s Report

- These reports should critique the following elements of the emergency response and/or make suggestions:

- Communications -- hardware and software, procedures, initial alert and alarm, tactical communication, external communications, neighboring plants and surrounding communities.

- Preparedness -- skills needed that were not available at a sufficient level, information needed to respond adequately, hardware and expendable supplies.

- Allocation of duties -- responsibilities, tasks, imbalances, overlooked items, repetitive items, conflicting understanding of who was expected to do what.

- Lessons learned.

- Suggested changes in response plan and procedures.

- Recommended actions, including assignments for implementation and follow-up of the recommendations.

SECTION 8

PLAN UPDATE AND DISTRIBUTION

8.1	PLAN UPDATES AND AMENDMENTS

This Crisis Management Plan will be reviewed and immediately amended, as necessary, when one or more of the following occur:

- Applicable regulations are revised;

- The Plan fails in an emergency;

- The facility changes in its design, construction, operation, maintenance, or other circumstance in a way that materially increases the potential for fires, explosions, or releases of hazardous substances;

- The facility changes an emergency response procedure;

- The facility EC or his/her alternates changes; or

- Amendments are required by a regulatory authority.

In addition to the aforementioned events requiring review of this entire Plan, there are several conditions that trigger review of the Plan.  The Plan will be reviewed, revalidated and updated at least every two years.

The Plan will also be amended whenever there is a change in facility design, construction, operation, or maintenance that materially affects the facility’s potential for an emergency condition.  Such amendments will be fully implemented as soon as possible, but no later than six months after this type of change occurs.

The performance of the Plan will be re-evaluated each time the Plan is implemented.  A description of each incident and associated response are kept with the Plan, and all revisions to the Plan are documented and distributed to all recipients of the original Plan.

8.2	DISTRIBUTION OF THE PLAN

.

A file copy of this Plan, with all subsequent revisions, is maintained in the office of the site EHS lead.  A copy of the current version of the Plan is immediately accessible to the facility EC, the alternate facility ECs, and the other ERT members.  The Plan is maintained in key facility locations as shown below.

A controlled copy of this Plan will be sent to emergency response personnel outside the facility including the XXXXXXX Local Emergency Planning Commission (LEPC) and XXXXXXX Fire Department and the XXXXXXX Enterprise Commission (serving as the head of government for the XXXXXXX development).  All revisions of the Plan will be distributed within the facility and submitted to each outside organization.  Provided below is the controlled copy distribution list:

Copy No.			On-site Controlled Copies:

01			Emergency Coordinator

02			Alt. Emergency Coordinator

- Security /Emergency Response Center

- Jackson Rd Guard Station

- Site Security Manager (CMT Member)

- Site Occupational Health

Off-Site Controlled Recipients:

| Agency | Agency Contact | Information Distributed |
| --- | --- | --- |
| CaliDevelopment | Executive Vice President XXXXXXX Operations | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| XXXXXXX Fire Department | Fire Chief | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| California State Police (XXXXXXX) | XXXXXXX Barracks Commander | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| Local Emergency Planning Commission | XXXXXXX Fire Chief | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| Valley Department of Public Health | XXXXXXX Enterprise Commission | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| Local Hospital Emergency Room | Nashoba Valley Medical Center ER Director | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| California Emergency Management Agency/SERC | State Emergency Response Commission Director | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| Department of Environmental Protection | Division of Hazardous Materials (Central Region Office) | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |
| Clean Harbors Environmental Services | Account Representative | Emergency Plan (incl. RCRA Contingency Plan and Summary of Hazardous Waste Operations) |

END