## Slide 1: Safety Briefing Novartis Facility Management team

## Slide 2: Introductory remarks

## Slide 3: Deep Dive Session

## Slide 4: Antimicrobial Resistance
Why it matters to all of us
an introduction to PIE/AMR Deep Dive Session
Steve Brooks
Advisor, AMR Industry Alliance
September 2019

## Slide 5: Biography
Steve Brooks currently serves as an Advisor to the Antimicrobial Resistance (AMR) Industry Alliance, and chairs the Manufacturing Work Group of the Alliance. Prior to this engagement, Steve gained almost 37 years of pharmaceutical industry experience in the UK and the US in roles of increasing complexity, scope and responsibility. Steve has mentored many colleagues, formally and informally, developed and implemented major corporate programs and is a recognized EHS leader in the pharmaceutical industry.
Steve holds an honors degree in Chemistry from Bath University, UK, is a Chartered Safety Practitioner (UK) and a professional member of the American Society of Safety Engineers.

## Slide 6: Antimicrobial Resistanmce (AMR)
Introduction
Global Calls to Action
Manufacturing Challenges, Commitments and Progress
Why the Focus on India, Indian manufacturing/supply, actions Indian antibiotic manufacturers must take and how PSCI and this conference can help.
Understanding AMR
AMR Industry Alliance – life sciences industry response

## Slide 7: Understanding Antimicrobial Resistance (AMR):
Antimicrobial Resistance Overview
What is AMR? AMR occurs when pathogens change & find ways to resist effects of antibiotics. The pathogens survive, grow & spread their resistance. This process of adaptation leads to AMR.
Who is at risk? AMR can affect anyone, any age, in any country. The WHO characterizes AMR, particularly in Gram-negative bacteria, as one of the biggest threats to global public health today.
Risks of AMR include:
Many routine medical procedures could be too risky to perform because of the risk of becoming infected while in hospital by a multi-drug resistant pathogen
Serious infections such as pneumonia or tuberculosis could become impossible to treat
Minor infections and injuries could become life-threatening
Travel could be considered too risky, impacting global trade
One in four infections in long-term acute care settings are caused by antibiotic resistant bacteria
Addressing AMR requires measures to both help prevent and treat resistant infections. Includes both vaccines to help prevent infections from happening in the first place, as well as the proper use of anti-infectives to help treat infections.
Notes: Globally, AMR causes 700,000 deaths annually. Without action by governments, industry and society, AMR is expected to cause 10,000,000 deaths annually by 2050 —more than currently die from cancer.
Antimicrobial resistance, particularly in Gram-negative bacteria, is widely recognized as one of the biggest threats to global health today, with the potential to affect anyone, of any age, in any country. If no solution is found, the impact could be devasting

## Slide 8: Development of Bacterial Resistance
Antimicrobial resistance is a natural phenomenon resulting from evolutionary selective pressure
In the presence of an antibiotic, all of the susceptible bacteria die, allowing drug resistant bacteria to proliferate
Antibiotic resistance can occur through various mechanisms
Bacteria can transmit resistance genes via small cellular elements called plasmids; mobile elements which can transfer genetic material between bacteria
Today, Gram-negative pathogens are becoming resistant to nearly all antibiotics currently available
Harvard Medical School:
https://www.youtube.com/watch?v=yybsSqcB7mE

## Slide 9: Causes of AMR
https://www.cdc.gov/globalhealth/newsletter/2016/feb_16_2016.html
And reports that manufacturing emissions may be potential cause:

## Slide 10: Call to Action
2015 the World Health Assembly (WHA):
endorsed a global action plan to tackle antimicrobial resistance
urged Member States to develop and have in place by 2017, national action plans on antimicrobial resistance aligned with objectives of global action plan
2015 UN recognizes important of tackling AMR to achieving sustainable Development Goals
  2016 – O’Neil report (UK) - “to analyze global problem of rising drug resistance and action pose concrete actions to tackle it internationally”. Viewed as a key report, often cited
  By 2018 almost all country NAPs in place (approved or in development)
  2016-2019 several groups/sectors make further calls to action to address AMR, calling for “one health” approach addressing human health, veterinary medicine, environment aspects.
Notes: *taken from Pfizer AMR Leadership and Commitment.pptx

## Slide 11: …and calls for governments to act
SAICM: UNEP proposes
persistent pharmaceutical
as a new, emerging policy
issue in 2015
StatNews May 2017
Hindustan Times July 2018
European Union Strategic Approach to Pharmaceuticals in the Environment
COMMUNICATION FROM THE COMMISSION TO THE EUROPEAN
PARLIAMENT, THE COUNCIL AND THE EUROPEAN ECONOMIC AND SOCIAL COMMITTEE
March 2019
https://ec.europa.eu/environment/water/water-dangersub/pdf/strategic_approach_pharmaceuticals_env.PDF

## Slide 12: AMR Industry Alliance
life sciences industry response to call for action
one of largest private sector coalitions established to provide sustainable solutions to AMR crisis.
  ~100 biotechnology, diagnostics, generics & research-based pharmaceutical companies and associations
members committed to keeping antibiotics effective & promoting innovation by contributing to, and measuring their efforts in, four key areas:
        Research……. appropriate use……… access……… manufacturing and the environment
drive progress - bold set of shared goals, collaborated to deliver key work products, committed to reporting progress
  Common antibiotic manufacturing framework (environmental management expectations)
  Predicted No-Effect Concentrations (PNECs) for environmental risk assessment of antibiotics,
welcome new members, companies & associations, allover the world, all parts of life sciences industry
for more information see: https://www.amrindustryalliance.org/why-the-amr-industry-alliance/

## Slide 13: Manufacturing Environmental Matters
affordable, accessible, antibiotics essential to public health, bring huge societal benefits
industry antibiotics supply chain global, significant emerging markets footprint Inc. India/China
                reports of environmental pollution from drug manufacturing plants notably in some emerging markets
                key reports (e.g., O’Neill) assert linkage to AMR, state better control of manufacturing effluent needed
                academic, media, investor reports
                highlight high levels of antimicrobials in environmental samples, for example, in India
New Scientist 22 May 2019
while only one possible source of ABs in the environment, recognized concern for many stakeholders, including industry and calls for governments (including India government) to act –
How pharmaceutical antibiotic resistance is driven by pollution
Factories in India making cheap antibiotics for the world are dumping their waste, with grim consequences for people living nearby – and global health too

## Slide 14: India Focus - global antibiotic supply chain
addressing AMR - especially important in India, massive growth of pharmaceutical industry and continued reports/concerns of environmental pollution/AMR
much focus with increasing pressure to act, e.g.:
  supply chain pressures (e.g. Alliance members expectations on their suppliers- adherence to framework and PNECs will drive selection and use of suppliers)
  possible inclusion of env aspects in GMP (current WHO proposal)
  “sustainable procurement” proposals e.g. insurers, national/regional health service providers
Indian government aware of need for action to tackle AMR – National Action Plan (NAP) and proposed India regulations on manufacturing discharges
  NAP includes some refence to improving environmental management
  CPBC has been working to develop a regulatory approach to drive manufacturing waste water emissions reductions.
  Proposed approach to regulate through PNECs taken from the literature
  Some industry comments have been provided to proposed approach
  Time of possible regs? 6-12 months?? Implementation timeframe thereafter?

## Slide 15: Summary and time for action
AMR - a significant and growing global health threat, with dire consequences if left unabated.
Several causes of AMR, manufacturing emissions one potential source of ABs in the environment and manufacturing emissions.
Focus on India - major supplier of ABs globally (and locally), concerns about environmental controls (in general and specifically in supply chain) and Indian regulations/other controls may be introduced to address the issue
AMR industry Alliance Framework and PNECs offers good direction to all AB manufacturers – use to manage risk, do the right thing, and ensure continuity of your business.
PSCI increases supplier AMR awareness, provides tools & training in use of tools
Great that you are here representing your company today…. listen, engage, learn and commit to applying back in at your site/in your business

## Slide 16: Dilution Factors and Next Steps
Dilution Factors
PNECs are to be compared to predicted or measured surface water concentrations
Site-specific evaluation required
Estimating dilution
  Defaults: 10x for rivers, 100x for open water bodies
  Site-specific: Consider local stream flow
PSCI, in concert with the AMR Alliance, to publish spreadsheet tool and background document
  The PSCI calculator tool released July 2019 during PSCI Webinar on AMR and PIE.
  Should be no conflict between using the tool for AMR and using the tool for other pharmaceuticals.
  For AMR protection, one needs to understand how those values fit into the tool and under what hydraulic conditions one should run the tool (i.e. low flow, etc.)
Next Steps
Additional data collection to fill gaps
  Next PNEC Table Update: Dec 2019
  Derivation of default PNEC when data lacking
Continue to follow the science for new opportunities to engage

## Slide 18: UK Research and Innovation
India-UK Tackling AMR in the Environment from Antimicrobial Manufacturing Waste
Steve Brooks/ Jason Snape
September 2019

## Slide 19: Biography
Steve Brooks currently serves as an Advisor to the Antimicrobial Resistance (AMR) Industry Alliance, and chairs the Manufacturing Work Group of the Alliance. Prior to this engagement, Steve gained almost 37 years of pharmaceutical industry experience in the UK and the US in roles of increasing complexity, scope and responsibility. Steve has mentored many colleagues, formally and informally, developed and implemented major corporate programs and is a recognized EHS leader in the pharmaceutical industry.
Steve holds an honors degree in Chemistry from Bath University, UK, is a Chartered Safety Practitioner (UK) and a professional member of the American Society of Safety Engineers.

## Slide 20: Background
The role of antimicrobial manufacturing pollution is particularly pertinent in India. It is estimated that 80% of antibiotics sold by multinational antimicrobial companies on the global market are manufactured in Asia and there are at least 40 antibiotic active pharmaceutical ingredient (API) manufacturers and at least 250 pharmaceutical formulation companies manufacturing at least one antibiotic in India. Whilst the significance of the impact manufacturing waste might have on the environment is unclear, there is potential for high levels of localised contamination because of the large quantity of antimicrobial waste generated during the production process relative to the diffuse environmental exposure that may result from patient or animal use. Recent studies have shown that some wastewater effluents from antibiotic manufacturing units contain a substantial amount of antibiotics, leading to contamination of rivers and lakes.
Proposals are sought for collaborative and cross-disciplinary research projects involving researchers from both the UK and India. Up to £3.8m (80% Full Economic Cost - FEC) is available from Natural Environment Research Council (NERC) to support eligible UK based researchers, and matched in terms of research effort from the India Department of Biotechnology (DBT) to support eligible Indian researchers.

## Slide 21: Aims and Objectives
This call aims to support new research to inform the development of strategies to limit environmental contamination by antimicrobial waste from pharmaceutical manufacturing, with the ultimate aim to contribute to global efforts to contain antimicrobial resistant infections of humans and animals
Stakeholder engagement with antimicrobial producers, pollution control agencies, health protection agencies and other stakeholders
The call is split into three themes
  Context
  Developing tools
  Impact assessment

## Slide 22: Theme 1 – Understanding the Context
Understanding the extent of antimicrobial pollution from antimicrobial manufacturing waste (wastewater, solid waste and atmospheric emissions), its pathways through environmental systems, and its role in driving emergence and circulation of AMR in the environment. Challenges exist around understanding the selective and co-selective pressures of environmentally relevant mixtures of antibiotics and other chemicals on complex microbial communities, and spatial and temporal variations caused by production cycles, geography, climate and socioeconomic factors.

## Slide 23: Theme 2: - Developing the Tool Box
Development and validation of globally relevant standardised methods and tools for detection of active antimicrobials and resistant bacteria in effluents and receiving environments. Challenges exist around integrating a suite of low cost, easy to use, chemical, biological, mass-balance and other tools that can be validated in a range of matrices, and are applicable over a broad analytical range.

## Slide 24: Theme 3 – Impact Assessment
Determining the impact on human and animal health from environmental exposure to high levels of antimicrobial pollution and resistant bacteria and genes. Challenges exist around understanding how communities in areas with antibiotic manufacturing industry are exposed to antibiotics and resistant bacteria through their interactions with the environment (particularly through use of water systems, including wastewater channels), relative to communities with lower levels of exposure, and whether there is an enhanced risk of health impacts in these areas.

## Slide 25: Timetable
Announcement published: w/c 19 August 2019
Deadline for submission of Notification of Intent: 14 October 2019
Deadline for submission of full proposals: 12 November 2019
Peer review: November 2019 – January 2020
Evaluation panel meets: February 2020
Projects start: June 2020
Industry can:
  Expect to be approached by academic groups
  Have data emerge in 2+ years time that will be more systematic and comprehensive in nature

## Slide 26: For more information
For full details click here

## Slide 28: Defining Protection Goals
Rationales used to set PNEC values to protect human health and environment health
Kelly Kappler/ Jason Snape
September 2019

## Slide 29: Kelly Kappler
PSCI Board Secretary
Johnson & Johnson Senior Manager EHS&S External Supply
Kelly is responsible for the environmental, health, safety and sustainability of enterprise wide Johnson & Johnson suppliers in the Americas regions.
B.S. & M.S. Environmental Science Rutgers University

## Slide 30: Defining Protection Goals
Pharmaceuticals in the environment
Significance of exposure pathways and potential for environmental effects
Setting protection goals
  Scientific basis
  Case Studies
  Sources of data
  What to do if there is no data?
  Showing compliance with these protection goals
Roles and responsibilities
Concluding remarks

## Slide 31: Pharmaceuticals in the environment
Potential for localised ‘hot spots’ within the
complete control of the pharmaceutical industry
Low level ‘diffuse pollution’ not in the control
of the pharmaceutical industry

## Slide 32: Pharmaceuticals in the environment
Potential for exposure exists and manufacturing sites have been highlighted in the scientific press as ‘hotspots’
Levels in the mg/l range have been reported and this is raising regulatory, NGO and investors concerns
  Concentrations have been reported that are above regulatory defined ‘safe’ limits
  Stakeholder calls for increased transparency, green procurement and inclusion of environmental criteria in GMP

## Slide 33: Pharmaceuticals in the Environment
Drug targets are highly conserved across species and the potential for environmental as well as non-therapeutic human impacts exist
Verbruggen et al. 2017

## Slide 34: Pharmaceuticals in the Environment
Ecotoxicity data for >100 actives show effects over 10 orders of magnitude (sub ng/l to g/l)
Fish are particularly sensitive; especially to actives that target the sex steroid axis
Gunnarsson et al. 2019

## Slide 35: Setting protection goals
Companies can have slightly different approaches to setting protection goals and they may call them different things
  Predicted no effect concentrations (PNECs)
  Expected environmental concentrations (EECs)
  Environmental reference concentrations (ERCs)
  Aquatic Exposure Guidelines (AEGs)
Most companies will have processes that seek to protect wildlife within rivers, some will have additional protection goals to protect top predators (e.g. mammals that feed on fish to prevent food chain effects) and non-therapeutic human exposure
For antibiotics the AMR Industry Alliance look at human and environmental protection
Usually the company will provide the supplier the lowest ‘safe’ concentration it has for an active
This ‘safe’ concentration usually applies in the receiving environment after dilution or mixing

## Slide 36: Setting protection goals
Safe concentrations for the aquatic environmental are usually derived from standard ecotoxicity data used in marketing applications for new drugs
The most sensitive acute (short-term) or chronic (long-term) toxicity data for fish, daphnia and algae are used with an assessment/ safety factor to derive a PNEC, EEC, ERC or AEG
These values are active specific
Two companies can provide different values for the same active as they may have different datasets that they use to derive the ‘safe’ concentration or may use a different regulatory scheme
  It is usually recommend that use the lower value

## Slide 37: Setting Protection Goals – Case Study
For example AstraZeneca has published its approach to establishing ‘safe’ discharge concentrations (Murray-Smith et al. 2011; Click here)
ERCs have been established for 50 APIs and four protection goals (see Appendix 2; Click here)

## Slide 38: Setting Protection Goals – Case Study
AMR Industry Alliance has agreed a common approach for to set ‘safe’ discharge concentrations for antibiotics that considers both human and environmental health
  Minimum inhibition concentrations for development of antimicrobial resistance (AMR; human health)
  Predicted no-effect concentration (environmental health; largely primary productivity/ carbon dioxide fixation by cyanobacteria)
The lower of the two limits is used and these values have been published.

## Slide 39: Setting Protection Goals
Sources of data
  Contractor – ask them for their ‘safe’ discharge concentration
  PNECs for >100 actives derived from chronic ecotox data are collated in Gunnarsson et al. 2019 (Click here)
  PNECs for 102 actives derived from acute and chronic ecotoxicity data are collated in Vestel et a. 2015 (Click here)
  Pharmaceutical PNEC list for >100 actives are collated in the Temple University Water and Environmental Technology Center, database (Click here)
  IMI iPiE Sum database has ecotox data but not PNECs (assessment factor required; Click here)
  Science‐based Targets for >100 Antibiotics in Receiving Waters from Pharmaceutical Manufacturing Operations published by the AMR Industry Alliance (Click here)

## Slide 40: Setting Protection Goals
What to do if there is no data?
  Many actives were authorised before environmental data were needed in a marketing application so there are some data gaps
  Not all companies have access to environmental data that they can share
  For non-antibiotic and non-endocrine active drugs a default value of 100 ng/l could be applied as a screening criterion; this would be protective in >95% of cases
1.35 mg/l with an assessment factor of 10 gives a PNEC of 135 ng/l

## Slide 41: Setting Protection Goals
There are two main ways to demonstrate compliance with ‘safe’ discharge concentrations:
  Analytical verification within the site effluent or the receiving body of water during a production campaign
  Mass balance calculations; this will require knowledge about mass recovery and losses in production, wash volumes and site dilution, treatment removal (if applicable), and dilutions in the receiving environment
    Tools have been developed to support mass balance based calculations

## Slide 42: Role and Responsibilities
Contractor
  Provision of ‘safe’ discharge concentration data/ limits
  Review of performance data and ongoing management
Supplier
  Perform analysis with ‘safe’ discharge concentration data/ limits
  Review of local performance data and site capabilities (management practices and treatment systems)
  Discuss performance with Contractor

## Slide 43: Concluding remarks
Industry has an obligation to ensure that its manufacturing discharges are safe; it is completely within out control
Failure to control discharges can impact environmental and human health; in the case for antibiotics it can undermine the efficacy and commercial viability of the product through promotion and spread of antimicrobial resistance (AMR)
Failure to control discharges may result in more prescription regulation and policy that may not be risk-based and pragmatic; this could increase the cost of goods, decrease financial margins and reduce the economic viability for some products
Contractors and suppliers need to work together to ensure that the sustainability of pharmaceutical manufacturing operations for local and global markets

## Slide 46: PIE: Water Hydraulics
Selecting the Appropriate Hydraulics for Meeting PNEC Values
Vince Parker, Elanco

## Slide 47: Biography
Vince Parker is an Associate Senior Consultant in Elanco Animal Health’s HSE-Global Environmental Group. He has more than 30 year of pharmaceutical manufacturing experience. Vince has a B.S. in Chemical Engineering from the University of Cincinnati. He is a registered Professional Engineer (Environmental) and holds a Class D Wastewater Operators License in Indiana.

## Slide 48: Presentation Outline
Terminology
Considerations in Choosing Flow Values
PEC_PNEC Calculator Tool Demonstration
Overview: Points of Impact
Data Calculation Examples

## Slide 49: Overview: Points of Impact
Human Use
Wildlife
Wildlife
POTW
PNEC = Predicted No Effect Concentration

## Slide 50: Overview: Points of Impact
POTW
PNEC = Predicted No Effect Concentration
Qe
Qe
MzAc
Qu
MzCh
Qd

## Slide 51: Terminology

## Slide 52: Terminology
Point of Generation: Location where wastewater is generated from a process and discharged to drain, prior to mixing with non-process wastewater.
Facility Effluent (Site Qe): Location where the wastewater pipe exits the production site. This may be an open pipe or hatch/manhole location. This is typically an official wastewater monitoring location for the facility.
Facility Effluent (POTW Qe): Location where wastewater pipe exits the Municipal to Publicly Owned Treatment Works (POTW) after all treatment has occurred. This is typically an official wastewater monitoring location for the facility.
Upstream River Flow (Qu): Location of the nearest river flow upstream of the Facility Effluent.
Downstream Drinking Water Intake (Qd): Location downstream of the Facility Effluent where water is withdrawn for public drinking water use. This may not exist for all facilities.

## Slide 53: Terminology
Mixing Zone – Acute (MzAc): The acute mixing zone is the area of initial dilution, sometimes referred to as the Zone of Initial Dilution (ZID). The acute PNEC is applied at this location
Mixing Zone – Chronic (MzCh): The chronic mixing zone is a percentage of the surface water allowed for mixing, usually 25% or 50% of the Qu. The acute PNEC is applied at the edge of this mixing location
Diffuser: An enhance mixing device installed on the facility discharge pipe below surface water surface resulting in higher mixing zone credits.
MzCh
MzAc
Diffuser Nozzle Example

## Slide 54: Terminology
7Q10 Flow: From available flow data, this is the lowest 7 consecutive day flow average over the last 10 years. This value often used for the upstream river flow (Qu) or downstream drinking water flow (Qd).
Maximum Monthly Average Flow: From available flow data, this is the highest monthly average of the available data. This value is often used for the facility flow (Qe).
Annual Average Flow: From available flow data, this is the average of each calendar year or 12-month period. This value is sometimes used for Qu or Qe.
Lowest Monthly Average Flow: From available flow data, this is the lowest monthly average of the available data. This value is sometimes used for the upstream river flow (Qu).
10th Percentile Flow: From available flow data, the statistical value where 10% of the values are below this value and 90% are above this value. This value often used for the upstream river flow (Qu) or downstream drinking water flow (Qd).

## Slide 55: Data Calculation Examples

## Slide 56: Example 1: Good Stream Flow Data
Available daily flow information for multiple years
The ideal situation is to have flow data for the last 10 years
For you region or state, check with your local environmental authority or POTW to obtain flow data.
Obtain the raw data if possible in order to evaluate appropriate values for your assessment situation.
Download the data into a table using tools such as Excel® or JMP®.
Document the source of the data within the table for future reference

## Slide 57: Example 1: Good Stream Flow Data
Format the flow data in a simple table
Convert units to a per day basis (vs. seconds)
Use statistical functions, formulas or pivot tables to define values
Excel® formula examples
  Mean, “=MEAN(array)”
  10th Percentile, “=PERCENTILE(Array, 0.1)
  50th Percentile, “=PERCENTILE(Array, 0.5)
7Q10 determination
  Add calculation column
  Starting on data row 7, create formula to average last 7 values
  Determine to minimum of the 7Q10 calculated values

## Slide 58: Example 1: Good Stream Flow Data
7Q10 = 8220 m3/day
Min. Monthly (8/2005) = 12000 m3/day
Min Annual Avg. (2005) = 100000 m3/day
These are Outputs Using JMP®

## Slide 59: Example 2: Limited Stream Flow Data
Situation where you can only find stream flow data at a summary level or limited in scope or data is old (not current) or restricted by local authorities
As stated in Example 1, obtain as much of the raw data as you can
Download the data into a table using tools such as Excel® or JMP®.
Document the source of the data within the table for future reference

## Slide 60: Example 2: Limited Stream Flow Data
Only quarterly data could be found
No daily data, so 7Q10 cannot be determined
Data is old, increasing uncertainty to today
Assuming urban growth, data may be conservative (low)

## Slide 61: Example 2: Limited Stream Flow Data
Min Annual Avg. (1990) = 54000 m3/day

## Slide 62: Considerations in Choosing Flow Values

## Slide 63: Considerations in Choosing Flow Values
Facility Effluent Flow (Qe):
  Maximum monthly average over the last 24 months (daily basis)
  Maximum Monthly design flow (daily basis)
Upstream River Flow (Qu):
  7Q10 or 10th Percentile flow are conservative and more commonly used
  Minimum monthly average is less conservative, but may be acceptable
Downstream Drinking Water Flow (Qd)
  7Q10 or 5th Percentile or 10th Percentile flow are conservative and more commonly used
  Minimum monthly average flow would be less conservative
  Minimum annual average could be used, but will underestimate risk

## Slide 64: PEC_PNEC Calculator Tool Demonstration

## Slide 65: PEC_PNEC Calculator Tool Demonstration
See “Terminology Used in this Tool” worksheet for detailed description of terms

## Slide 66: PEC_PNEC Calculator Tool Demonstration
River Calculations

## Slide 67: PEC_PNEC Calculator Tool Demonstration
Ocean Calculations

## Slide 68: PEC_PNEC Calculator Tool Demonstration
Scenario
Flow values:
  Qu 10th Percentile 30000 m3/day
  Qe (POTW) Maximum Monthly Average Design 4000 m3/day
  Qe (Site) Maximum Monthly Average 250 m3/day
  Qd 10th Percentile 90000 m3/day
  Diffuser Credit (ocean example): 2 Acute, 100 Chronic
PNECs
  Acute 24 ug/L
  Chronic 1.2 ug/L
  Drinking Water 0.4 ug/L
Facility Daily Discharge
  eMax 0.75 kg/day

## Slide 69: PEC_PNEC Calculator Tool Demonstration

## Slide 70: PEC_PNEC Calculator Tool Demonstration

## Slide 72: PIE: Mass Balance Calculations
Use of Mass Balance calculations to demonstrate compliance with PNEC-based limits - case examples
Vince Parker, Elanco

## Slide 73: Biography
Vince Parker is an Associate Senior Consultant in Elanco Animal Health’s HSE-Global Environmental Group. He has more than 30 year of pharmaceutical manufacturing experience. Vince has a B.S. in Chemical Engineering from the University of Cincinnati. He is a registered Professional Engineer (Environmental) and holds a Class D Wastewater Operators License in Indiana.

## Slide 74: Presentation Outline
Terminology
Overview: Principles of using Mass Balance Calculations
Mass Balance Case Study Examples
Class Exercise

## Slide 75: Overview: Principles of using Mass Balance Calculations

## Slide 76: Basic Principle – Know your API Mass Load to the Environment so you can calculate PECs
POTW
PNEC = Predicted No Effect Concentration
Qe
Qe
MzAc
Qu
MzCh
Qd
API Loss to discharge
Acute PEC
Chronic PEC
Drinking Water PEC
Know this…
…so you can calculate these

## Slide 77: Terminology

## Slide 78: Terminology
“Mass balance” is a simplified method to determine Active Pharmaceutical Ingredient (API) Load, API Loss and API Concentrations in an effluent, in a receiving surface water body and drinking water intake based on production quantities, estimated losses and assumptions on various elimination options.

## Slide 79: Terminology
“Worst case" analysis is simply an estimate of the highest possible loss to a wastewater discharge from a process. For example, a worst case analysis would assume that 100% (i.e. 10 kilograms of a 10 kilogram process) of material was lost.
A "mass balance" analysis is an evaluation of the materials accounting records and other relevant information for the process which should show how much of an API may be actually lost in wastewater.
“Analytical measurement" means that the site has tested for the presence of the product in the process to determine how much is emitted in wastewater. Measured data needs to be representative of process and its losses.

## Slide 80: Terminology
“Process Information” - Key parameters needed from the processing of API at sites are:
  Amount API processed per year and per day (in kg)
  Total API lost per batch or campaign
  Percentage API lost from All Processes that handle the API at a site
  Load from Process per year and per day (in kg) to wastewater
  Depending on the specific situation for each DS at the site, the above
These parameters should be determined from handling/production information (batch, campaigns), an estimation of the total API lost per year and per day (in kg), and information on in-process elimination options (e.g., degradation, chemistry changes). Information and experience from validation can also be used.

## Slide 81: Terminology
“Conservative assumptions” are first assessment information of API losses from a process(es), and a high end estimate of the amount of an API entering wastewater or a surface water. This typically involves the use of 0% selected for elimination or degradation rates. If the risk under these assumptions is marginal, a site can be assumed being at the safe side of risk for that particular API. Otherwise, the assessment can be revised with more accurately evaluated elimination options.

## Slide 82: Mass Balance Case Study Examples
Case 1b – Improved Statistical Evaluation of Capsule Manufacturing Example
Case 3 - Bulk Synthetic Plant Example
Case 1a – Simple Capsule Manufacturing Mass Balance Example
Case 2 – Tablet Manufacturing Mass Balance Example

## Slide 83: Case 1a - Simple Capsule Finishing Mass Balance Example
Production data was used to evaluate the amount of API present in the final blend operation using milling and final blend yield in combination with the unit formula composition.
Normal production practice is to vacuum up residual powder to the building vacuum system in the event of a spill or significant left-over material left on or in the equipment. This practice should minimize introduction of API containing powder to the floor drain system. However, no reduction in potential API loss to drain was assumed for the purposes of this analysis.
The data show that the worst case daily loss rate was 0.4 kg/day.
Dedicated action limits are not required for this process waste stream because any significant API material loss on an individual batch will be identified and investigated in accordance with local SOP (owned by Quality).

## Slide 84
To better demonstrate control of API discharges, a capability index can be calculated API Daily Losses using process mass balance data in combination with JMP software.
The Shapiro-Wilkes goodness-of-fit test can be used to evaluate the normality of the data (prob < W > 0.05 was the basis used for making determining normality).
After checking for normality, data autocorrelation is checked. If data correlation was present, Levey Jennings charts were used to establish control limits. When the data was determined to be non-normal, the JMP Fit Distribution /Smooth Curve was applied to estimate the Cpk. For non-normal data, control limits were established by defining Quantiles within the Fit Distribution /Smooth Curve analysis. Upper and lower Quantile fractions were defined as 0.000135 and 0.99865, respectively. The median value of the data was specified as the data average within Column Properties /Control Limits / Individual Measurement.
Any exception to the above approach needs to be documented with a discussion.
Case 1b – Improved Statistical Evaluation of Tablet Finishing Example

## Slide 85: Case 1b – Improved Statistical Evaluation of Tablet Finishing Example
The data is not auto-correlated. However the distribution is stratified due to the ± 0.1 kg resolution of the scale used to measure the in-process mass balance. This stratification results in only five different unique values in the distribution. Additional resolution in the scale reading would be an improvement, but the data set was deemed to be sufficient for the purposes of this analysis when previously discussed with the supporting statistician. The resulting Cpk was determined to be 1.57 which is greater than the target of 1.3.
Dedicated action limits are not required for this process waste stream because any significant API material loss on an individual batch will be identified and investigated in accordance with local SOP.

## Slide 86: Case 2 – Tablet Manufacturing Mass Balance Example
Production data was used to evaluate the amount of API
present in the final blend operation using tablet label
claim percentage, average tablet weight, average tablet
weight gain in coating, overall yield, and final blend yield.
As a worst case analysis, production data for all presentations
were evaluated and scaled at a specific batch size for the
purposes of calculating the API loss at final blend.
Normal production practice is the vacuum up residual
powder to the house vacuum system in the event of a spill
or significant left-over material left on or in the equipment.
This practice should minimize introduction of API containing
powder to the floor drain system. However, no reduction
in potential API loss to drain was assumed for the purposes
of this analysis.
The resulting Cpk was determined to be 8.3
which is greater than the target of 1.3.
Dedicated action limits are not required for this process
waste stream because any significant API material loss
on an individual batch will be identified and investigated
in accordance with a local SOP (owned by Quality).

## Slide 87: Case 3 - Bulk Synthetic Plant Example
15% Salt and API Waste (3rd Party Disposal)
API Mother Liquor Feed
Distillate
On-site Biological
Wastewater Plant
Municipal
Biological
Wastewater Plant
Surface Water
Dryer Cleaning and Dry/Mechanical Milling to wastewater after vacuuming
99.93% API Removal
Step 1 – Diagram your system and API waste inputs to the system

## Slide 88: Case 3 - Bulk Synthetic Plant Example
General Information on API Bulk Production
API Campaign 130-140 days/year
Mother liquor waste from Filter Operation
Mother liquor containing API treated 200 days/year
Total Mother Liquor generated per day = 14 000 kg/day
All Mother liquor discharges to site distillation system before discharge to site wastewater facility. System has been tested and shown to remove 99.93% of API before discharge to on-site biological system = 0.048 kg/day over 200 days/yr
Site wastewater treatment facility and municipal biological plant can remove 70% of API
Cleaning of Dryer at end of campaign
2 Campaigns per year (2 technical grade + 2 feed grade)
Primary rinse of dryer is recycled back to the process
Second rinse of dryer goes to waste
Maximum concentration of waste from second rinse = 500 ppm (mg/L)
Second rinse of dryer with 60 000 L of water
Amount of API to waste from each rinse = 0.5 g/L /1000 g/Kg x 60 000 L = 30 kg
Discharge to site wastewater facility from dryer (feed grade) = 30 kg x 2 (secondary rinse/year) = 60 kg over 8 days/yr (conservative) = 7.5 kg/day This goes to distillation for 99.93% removal = 0.005 kg/day
Site wastewater treatment facility and municipal biological plant can remove 70% of API
Dry Milling of API (Air Jet Milling)
Campaigns = 2/year
1 Campaign = 40 days
Wastewater from rinsing of floor <10 gm/day x 80 days = <0.8 kg/year
End of campaign cleaning = 2 kg x 2 campaigns = 4 kg/year over 2 days = 2 kg/day
Estimate After dry vacuuming = 0.013 kg/day
Mechanical Milling
Campaigns = 3/year
1 Campaign = 13 days
Wastewater from rinsing of floor <10 gm/day x 39 days = <0.39 kg/year
End of campaign cleaning = 2 kg x 3 Campaigns = 6 kg/year over 3 days = 2 kg/day
Estimate After dry vacuuming = 0.013 kg/day
Step 2 – Calculate/Estimate API waste inputs to the system
Source | Max. day (kg/day) | Max. day (kg/day) after on-site Biological Treatment | Max. day (kg/day) after Municipal Biological Treatment
Mother Liquor | 0.048 | 0.014 | 0.004
Dryer | 0.005 | 0.002 | 0.000
Dry Milling | 0.013 | 0.004 | 0.001
Mechanical Milling | 0.013 | 0.004 | 0.001
TOTAL | 0.079 | 0.024 | 0.006

## Slide 89: Class Exercise
Step 1 - Evaluating a daily maximum process loss of an API – What is the maximum daily loss to sewer?
Date of Manufacture | # of vials filled | Amount of API in vials (kg), (calculated) | Amount of API not in vials (kg), (calculated)
04-JAN-2011 14:13:03 | 15767 | 18.037448 | 0.095552
04-JAN-2011 14:18:08 | 15745 | 18.01228 | 0.12072
11-JAN-2011 14:12:12 | 15740 | 18.00656 | 0.12644
11-JAN-2011 14:09:54 | 15765 | 18.03516 | 0.09784
11-JAN-2011 14:24:55 | 15756 | 18.024864 | 0.108136
18-JAN-2011 10:52:49 | 15723 | 17.987112 | 0.145888
18-JAN-2011 10:46:36 | 15730 | 17.99512 | 0.13788
25-JAN-2011 16:24:28 | 15534 | 17.770896 | 0.362104
25-JAN-2011 16:22:15 | 15737 | 18.003128 | 0.129872
Step 2 - Evaluating the Predicted Environmental Concentration (PEC) of the discharge of the daily maximum API loss from Step 1
  What is PEC in the effluent?
  What is the PEC in the river at average flow?
  What is the PEC in the river at 10th percentile flow?
  What is the PEC in the river at Q7,10 flow?

## Slide 90: Class Exercise
River Hydraulics (Upstream)
Effluent Discharge Hydraulics
568,000 m3/day

## Slide 91: Class Exercise
Step 1 - Evaluating a daily maximum process of API – What is the maximum daily loss to sewer? 0.492 Kilograms per day
Date of Manufacture | # of vials filled | Amount of API in vials (kg), (calculated) | Amount of API not in vials (kg), (calculated) | Daily sum of amount not in vials (kg)
04-JAN-2011 14:13:03 | 15767 | 18.037448 | 0.095552 | 0.216272
04-JAN-2011 14:18:08 | 15745 | 18.01228 | 0.12072 | 
11-JAN-2011 14:12:12 | 15740 | 18.00656 | 0.12644 | 0.332416
11-JAN-2011 14:09:54 | 15765 | 18.03516 | 0.09784 | 
11-JAN-2011 14:24:55 | 15756 | 18.024864 | 0.108136 | 
18-JAN-2011 10:52:49 | 15723 | 17.987112 | 0.145888 | 0.283768
18-JAN-2011 10:46:36 | 15730 | 17.99512 | 0.13788 | 
25-JAN-2011 16:24:28 | 15534 | 17.770896 | 0.362104 | 0.491976
25-JAN-2011 16:22:15 | 15737 | 18.003128 | 0.129872 | 

## Slide 92: Class Exercise
Step 2 - Evaluating the Predicted Environmental Concentration (PEC) of the discharge of the daily maximum API loss
  What is PEC in the effluent?
  = (0.492 kg/ day * 1,000,000,000 ug/kg)/568,000,000 Liters per day = 0.867 ug/L
  What is the PEC in the river at average flow?
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + ((1,455 ft3/s x (1 m3/day/0.000408735 ft3/sec))*1,000 l/m3))
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + 3,559,763,661 Liters per day)
  = (0.492 kg/day * 1,000,000,000 ug/kg)/4,127,763,661 Liters per day = 0.119 ug/L
  What is the PEC in the river at 10th percentile flow?
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + ((152 ft3/s x (1 m3/day/0.000408735 ft3/sec))*1,000 l/m3))
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + 371,879,090 Liters per day)
  = (0.492 kg/day * 1,000,000,000 ug/kg)/ 939,879,090 Liters per day = 0.523 ug/L
  What is the PEC in the river at Q7,10 flow?
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + ((69 ft3/s x (1 m3/day/0.000408735 ft3/sec))*1,000 l/m3))
  = (0.492 kg/day * 1,000,000,000 ug/kg)/(568,000,000 Liters day + 168,813,534 Liters per day)
  = (0.492 kg/day * 1,000,000,000 ug/kg)/ 736,813,534 Liters per day = 0.668 ug/L

## Slide 93: Class Exercise
The choice of river flow used in hydraulics calculations can have significantly different outcomes

## Slide 94: Class Exercise using PSCI Calculator Tool
Average Flow
10th Percentile Flow
Q7,10 Flow

## Slide 97: PIE: Sampling Plan
Developing a Sampling Plan to evaluate compliance with PNEC-based limits
Vince Parker, Elanco

## Slide 98: Biography
Vince Parker is an Associate Senior Consultant in Elanco Animal Health’s HSE-Global Environmental Group. He has more than 30 year of pharmaceutical manufacturing experience. Vince has a B.S. in Chemical Engineering from the University of Cincinnati. He is a registered Professional Engineer (Environmental) and holds a Class D Wastewater Operators License in Indiana.

## Slide 99: Presentation Outline
Preparing the Sampling Plan
Purpose and Scope
Potential Analytical Methods for APIs

## Slide 100: Purpose and Scope

## Slide 101: Purpose and Scope
Why do it?
  Keep people safe while executing sampling events.
  Ensure results are determined which are meaningful to the facility.
  Provides clear communication on what to do and what not to do in collecting samples.
  Provides a consistent and repeatable process.
What is it?
  A written plan providing procedural and analytical requirements for projects involving the collection of wastewater to characterize impact of active ingredient discharged.
  It combines the basic elements of a quality assurance and field sampling.
  It can be simple or complex, depending on the objective of the sampling.

## Slide 102: Preparing the Sampling Plan
Key Elements of the Plan

## Slide 103: 1.0 Introduction and Background
Project Description and Background
  Purpose of the sampling project including background information and justification for the project
Overall Objective
  Define the goals of the project based on the specific site and processes
Site Description
  Location and physical description of the site
  Include information on operations and maps/drawings as needed
Project Organization and Resources
  Provide the name, phone number, and email address of the person(s) working on the sampling project.
  A brief description of the roles and responsibilities for each key position

## Slide 104: 2.0 Quality Objectives
Data Quality Objectives
  Quantitative and qualitative criteria upon which project decisions are based.
  Identify the information that needs to be obtained and the measurements that need to be taken.
  describe decisions to be made based on the data and provide criteria on which these decisions will be made
Measurement Quality Objectives
  Precision, accuracy, representativeness and completeness for both laboratory and field measurements
  Sensitivity, usually expressed as method detection limits (MDLs) or quantitation limit for all analytes or compounds of interest for all analyses requested

## Slide 105: 2.0 Quality Objectives
Quality Control Samples
  Field QC samples such as Field Blanks, Trip Blanks and Temperature Blanks
  Equipment rinse blanks for reusable equipment
  Laboratory control samples such as instrument blanks, duplicates
Handling Deviations
  Documenting deviations or variations when conditions are different from expectations such that changes must be made to the plan once the samplers are in the field.
Data Management and Review
  Data review and data validation, including who will be responsible for what aspects of data review and what the review will include
  Measures that will be taken to review the data collection processes, including field notes or field data sheets; to obtain and review complete laboratory reports; and to review the data entry system, including its use in reports

## Slide 106: 3.0 Analytical Methods
Analyte Identification
  List or table of all compounds and parameters which will be analyzed
Analytical Method Identification
  Specific methods to be used for analysis
Analytical Laboratory
  Specify which laboratory will perform each analysis
  Contact information for each laboratory

## Slide 107: 4.0 Field Sampling and Procedures
Sampling Rationale
  Present a rationale for choosing each sampling location and type of sample (grab or composite).
  If decisions will be made in the field, provide details concerning the criteria to be used to make these decisions.
  Include a figure showing sampling locations.
Sampling Equipment
  Description of all field equipment needed
Sample Identification and Labeling
Sample Collection and Handling
  Instructions for sample preservation, physical collection
Quality Control Samples/Duplicates
  Description on how QC field samples will be collected

## Slide 108: 4.0 Field Sampling and Procedures
Decontamination
  Instruction for cleaning reusable sampling equipment
Sample Chain of Custody
  Provide chain of custody form and instructions how to complete
Sample Packaging and Shipping
  Cooling or refrigeration of collected sample
  Courier pick-up or shipping via third party
  Identify transportation and dangerous goods requirements
Disposal of Residuals
  Instructions for rinse water and solid waste disposal

## Slide 109: 5.0 Field Health and Safety
Hazard Identification
  Provide safety on caution information for wastewater and preservation chemicals
  Physical protection from sampling environment (falls, lifting, hands, feet, noise)
Personal Protective Equipment
  Base on hazards specify protective equipment (safety glasses, gloves, footwear, hearing protection, etc.)
Project Specific Safety Procedures
  List specific safety protocols for each sample location
Emergency Notification
  Describe emergency response and reporting procedures
  List of emergency conacts

## Slide 110: 6.0 Data Reporting and Documentation
Laboratory Reports
Chain of Custody
Final Report on Results
Communication of Results
Document Retention

## Slide 111: Potential Analytical Methods for APIs

## Slide 112: Potential Analytical Methods
EPA Method 1694 covers 73 pharmaceuticals and personal care products (PPCPs). The method was developed at Axys Analytical Services, Ltd.
https://www.epa.gov/sites/production/files/2015-10/documents/method_1694_2007.pdf

## Slide 113: Potential Analytical Methods
Paper Highlights
Nationwide study of 29 paired source water and treated drinking water samples
Chemicals: pharmaceuticals, PFASs, anthropogenic waste indicators, and inorganics
Microorganisms: bacteria, fungi, protozoa and viruses
148 contaminants detected in source water; 121 detected in treated drinking water.
Provides a baseline for future drinking water monitoring for these constituents
https://www.sciencedirect.com/science/article/pii/S0048969716326894

## Slide 114: Potential Analytical Methods
Paper Highlights
Describes results of monitoring study for pharmaceuticals and hormones Highlights
118 pharmaceuticals determined in drinking water samples from 25 U.S. treatment plants.
Results demonstrate substantial reduction in concentration of many pharmaceuticals.
One of most comprehensive sets of pharmaceutical concentrations in drinking water.
https://www.sciencedirect.com/science/article/pii/S0048969716305551?via%3Dihub

## Slide 115: Potential Analytical Methods
Study Highlights
A 7-day simulated shipping and sample stability assessment was undertaken demonstrating no significant degradation over the 1–3 days which is typical for global express shipping. Linearity (r2) was consistently 0.93 (median = 0.99 0.02), relative standard deviation of intra- and inter-day repeatability and precision was <20% for 75% and 68% of the determinations made at three concentrations, respectively, and recovery from Liquid Chromatography Mass Spectrometry grade water, tap water, surface water and WWTP effluent were within an acceptable range of 60–130% for 87%, 76%, 77% and 63% of determination made at three concentrations respectively. Limits of detection and quantification were determined in all validated matrices and were consistently in the ng/L level needed for environmentally relevant API research.
https://www.researchgate.net/publication/332148033_A_Novel_Method_to_Characterise_Levels_of_Pharmaceutical_Pollution_in_Large-Scale_Aquatic_Monitoring_Campaigns

## Slide 116: Potential Analytical Methods
Paper Highlights
The performance characteristics of a combined solid-phase extraction isolation and high-performance liquid chromatography–electrospray ionization mass spectrometry (HPLC–ESI-MS) analytical procedure for routine determination of the presence and concentration of human-health pharmaceuticals are described.
The method performed well for the majority of the 22 pharmaceuticals evaluated, with recoveries greater than 60%for 12 pharmaceuticals. The recoveries of angiotensin-converting enzyme inhibitors, a histamine (H2) receptor antagonist, and antihypoglycemic compound classes were less than 50%, but were retained in the method to provide information describing the potential presence of these compounds in environmental samples and to indicate evidence of possible matrix enhancing effects.
https://www.sciencedirect.com/science/article/pii/S0021967304005771

## Slide 118: Environmental Management of Antibiotic Manufacturing
Best Practices & Engineering Design Considerations
Mohit Dhamija, EHSS Lead - Third Party Asia, EHS & Sustainability, GSK

## Slide 119: Bio
EHSS (Environment, Health, Safety & Sustainability) professional for 15 years with Post Graduate degree in Environmental Science and Technology. Key skills include auditing, developing & implementing EHSS management systems, environment sustainability, embedding environment sustainability in end to end supply chain, EHSS legal, water & carbon end to end supply chain foot print, Organizations environmental sustainability strategy. Handled various assignments in the field of EHSS with various Organizations including certification bodies, Electronics, Textile Industries, FMCG & Pharmaceutical.
Currently working with GSK, as Third Party EHSS Lead (part of global EHSS Third Party team) and based out of Gurgaon, India. Responsible to drive key EHSS programmes for key third party suppliers in the region

## Slide 120: Setting Standards for Environmental Management
GSK has set best practice standards for its supply chain sites to adhere to aligned to the AMR Industry Alliance Common Antibiotic Manufacturing Framework. These form part of GSK’s routine auditing standards for sites.
Standards cover several aspects of manufacturing facility design and operation;
  Containment of antibiotic at source
  Wastewater treatment (NB: covered in later presentation) and antibiotic quantification
  Solid waste management
  Permit compliance
  Design of manufacturing & warehouse areas
  Risk assessment & mitigation
  Maintenance & spillage response
  Wastewater characterisation

## Slide 121: Containment of Antibiotic at Source
Where practicable, contain antibiotic at source to minimise overall and peak load on downstream wastewater treatment.
Containment at source can be achieved by the following;
  Process optimisation to minimise process yield losses.
  Separation of high antibiotic concentration waste within manufacturing areas for disposal by incineration, through
    Dry/vacuum cleaning.
    Capture of equipment rinse washes.
    Solvent recovery.
  Use of processing or pre-treatment conditions/techniques which inactivate or destroy the antibiotic molecule prior to discharge to wastewater treatment e.g. application of extreme pH or high temperature conditions.
    e.g. β-lactams are readily degraded at high pH conditions.

## Slide 122: Case Study : Total Containment at Source
Indian antibiotic manufacturer supplying GSK’s local Indian business with 3 antibiotics
GSK’s assessment identified 4 separate findings:
  Disposal of waste water treatment plant (WWTP) biosolid waste as an agricultural fertiliser.
  Waste water antibiotic concentrations prior to discharge to soil were above the AMR Industry Alliance PNEC limits.
  Lack of containment at source.
  Gaps in prevention of environmental contamination via stormwater.
4. Stormwater
contamination
risk
3. Lack of
containment at
source
2. Discharge
above limits
1. Biosolid waste
to agriculture

## Slide 123: Case Study : Total Containment at Source
Supplier responded to GSK’s findings in 2 months:
  Provided further information on manufacturing & warehouse design and operations to demonstrate prevention of contamination to stormwater.
  Confirmation that site has implemented complete containment of antibiotic at source through capture of dry cleaning residues and all process rinse water for incineration.
  Significant potential risks of environmental AMR propagation remediated as a result of this assessment.
4. No stormwater
contamination
risk
3. Containment at
source: minimal
discharge to WWTP
2. Discharge
below limits
1. Biosolid waste
to agriculture - no risk

## Slide 124: Examples: Containment of Antibiotic at Source
GSK South East Asia site
  Antibiotic ointment manufacture
  5 different antibiotic APIs
  Contain antibiotic at source by physically removing product residues from equipment prior to rinsing with recovered solids incinerated.
  First rinses also incinerated
GSK European site
  Steriles and ointment manufacture
  5 different antibiotic APIs
  Losses minimised through use of HEPA filters on process vents
  Containment equipment used for dermatological products
  First cleaning rinses of equipment are collected for incineration. Manufacturing areas are sealed.
  A thermal pre-treatment is employed for 2 antibiotics
Notes: Karachi WW & Barney

## Slide 125: Antibiotic Quantification
Control of antibiotic discharge to within the environmental limits (PNECs) should be established by robust calculation and or monitoring. Calculation by mass balance should include the following parameters;
  Worst-case losses of antibiotic to wastewater, accounting for any containment at source techniques.
  Removal efficiency of the antibiotic in the wastewater treatment processes. Ideally be based on analytical characterisation of the specific systems as assumptions based on measured COD removal efficiency are unlikely to be accurate and extrapolation of literature data may not be representative of actual performance.
  Estimation/measurement of the flowrate at the point of environmental discharge of wastewater. Where this data is unavailable, typical conservative assumed values for dilution of 10x (river), 20x (soil*) and 100x (sea) are commonly applied, where appropriate.
Where analytical testing results in “none detected” results, these should be interpreted as results at the limit of detection of the method rather than confirming the absence of antibiotic.

## Slide 126: Example: Analytical Verification
European GSK beta-lactam antibiotic manufacturing site.
    Antibiotic residues are contained at source through the recovery of equipment heels prior to equipment cleaning to minimise the quantity discharged.
    Wastewater undergoes a thermal treatment (manufactured antibiotic is thermally unstable) prior to discharge to marine outfall.
    Composite samples of wastewater prior to discharge analysed by a sensitive in-house LC-MS/MS method with a low (ppb) limit of detection determined, which confirmed control of the antibiotic to 6% of the PNEC limit.

## Slide 127: Solid Waste Management
Antibiotic and antibiotic-contaminated solid waste may constitute;
  Process waste e.g. fermentation bio-sludge, waste and rejected product, laboratory waste.
  Contaminated packaging, personnel protective equipment (PPE) or consumables.
  Wastewater treatment wastes (e.g. biosolid, sediments, spent carbon, membranes).
Solid waste storage/transport/disposal should comply with regulations, permits, licenses and authorisation.
Where incineration (best-practice for antibiotic solid waste) is not used, containment, pre-treatment, inertisation and monitoring (e.g. analysis of leachate) controls should be in place to appropriately manage the risk of soil or groundwater contamination from leaching or spills.
Solid waste containers should be;
  Compatible, robust and maintained in good condition.
  Kept closed except when filling/emptying.
  Stored with appropriate labelling and segregation to ensure appropriate disposal.

## Slide 128: Examples: Solid Waste Management
GSK North American site
  Liquids, solids and derm products involving 4 antibiotic APIs
  Antibiotic solid waste includes recovered material from physical cleaning of production equipment
  Collected and contained in solid, leak-tight containers within plant rooms and sent to a third party for incineration
  Recovered biosolid and clarified solids from the municipal WWTP are also incinerated
GSK Far East site
  Manufacture of oral solid doses & creams involving 1 antibiotic API
  Site waste (waste production materials & WWTP biosolid) stored in labelled containers in a dedicated waste storage warehouse
  Solid waste materials are packed & palletized to minimise spill risk with transportation in sealed trucks. Sent for incineration

## Slide 129: Permit Compliance
A valid authorization, license or permit should be in place with compliance demonstrated and reported for all requirements/parameters e.g. related to;
  Water discharge quantity and quantity.
  Disposal routes/volume of solid waste etc.
  Type and quantity of antibiotics manufactured on site.
In the event of the site being out of consent or receiving any formal complaints, warning letters, enforcement notices, court proceedings, prosecutions or fines in relation to effluent discharge incidents, an investigation should be carried out and robust remedial, corrective or preventative actions taken in response.
Where site or regulatory changes could result in a failure to meet regulatory wastewater limits, a plan should be in place to mitigate the risks.

## Slide 130: Manufacturing & Warehouse Facility/Process Design
Facilities should be designed and operated to prevent fugitive releases to the environment.
  Processes contained in closed equipment wherever practicable
  Potential for airborne releases minimised through vent abatement e.g. filters, scrubbers or cyclones.
  Sealed or segregated from external areas e.g. within enclosed buildings, airlocks, pressure cascades etc.
Where spillage can occur, this should be mitigated through e.g.;
  Use of routinely maintained bunds
  Routing of floor drains to wastewater treatment or plugging of floor drains during high risk activities.
Storage areas should be of sufficient capacity to hold all materials and be sheltered from weather elements.
Ensure that no process or antibiotic containing wastewater is routed to any storm drains that are not connected to wastewater treatment facilities

## Slide 131: Risk Assessment and Mitigation
Site risk assessments should consider the potential for environmental contamination by antibiotics via all potential vectors whether intended and routine or unintended and fugitive.
  Land – e.g. potential for soil contamination.
  Water – e.g. potential for surface and groundwater contamination.
  Air – e.g. roof vents (Rupture disc failures)
Risk assessments should include potential for impact from foreseeable external environmental factors (e.g. heavy rains and flooding).
Mitigating controls should be identified and in place, proportional to the severity of the consequences and likelihood of occurrence. These can be a combination of;
  Preventative controls e.g. engineering design.
  Responsive controls e.g. emergency response processes.
Where procedural controls form part of the risk mitigation strategy these should be documented in up to date standard operating procedures, with relevant personnel trained.

## Slide 132: Maintenance
Wastewater monitoring, treatment and transfer equipment and pipelines should be fit for purpose and robust by design with preventative maintenance programmes in place based on;
  Criticality
  Manufacturer’s recommendations
  Historic failure rates
Maintenance programmes should include the periodic integrity inspection of vessels, bunds and pipework, including underground pipework by (as appropriate);
  Visual inspection
  Camera inspection
  Use of tracer chemicals
  Hydraulic/pressure leak testing
Environmental Management of Antibiotic Manufacture

## Slide 133: Examples: Maintenance
GSK Far East site
  Local manufacture site involving 1 antibiotic API
  Integrity inspection performed 3-yearly (annual inspection on rolling rota) by camera
GSK Far East site
  Manufacture site involving 1 antibiotic API
  Underground drainage routinely inspected on 2-yearly basis
  RBI integrity test through CCTV visual and mechanical inspection

## Slide 134: Spillage Response
There should be a proceduralised response to near misses, leaks and spills on site, which all relevant personnel are trained in, to ensure a rapid and effective response to minimise environmental impact. Training may be supported by routine drills, particularly if there is a high-severity risk associated with potential incidents.
Processes should also cover;
  Timely reporting of events to the business and relevant authorities.
  Determining the root cause of the issue so that robust remedial, corrective and preventative actions are implemented to prevent recurrence.

## Slide 135: Example: Spillage Response
GSK Far East site
  Manufacture of oral solid doses & creams involving 1 antibiotic API
  Site has an Emergency Response Plan
  Defines the appropriate notification of authorities
  Annual drill to practice the response
  Procedures in place to appropriately handle spills and leaks and WWTP personnel are trained in spillage response
  In the event of emergency conditions shut down of manufacturing operations and the WWTP is available

## Slide 136: Wastewater Characterisation
All sources of wastewater from site operations should be characterized and evaluated for treatability through the maintenance of an up to date, and routinely reviewed, water balance.
  Based, wherever practicable on measured flow rates in the feed and final discharge from the site and ideally also from individual production areas and wastewater treatment plants.
  Flow meters should be routinely calibrated.
Where there are unaccounted volumes in the water balance an investigation should be conducted and corrective actions identified to address these, e.g. through the installation of additional flow monitoring points.

## Slide 137: Summary
Risks of environmental contamination from antibiotic manufacture could occur from;
  Intended, routine release points: e.g. discharge of treated wastewater to sea/river/soil etc. or disposal of solid wastes.
  Unintended, fugitive release points: e.g. from leaks, spills and airborne releases.
Assessing and remediating total risk to the environment from antibiotic manufacture requires both quantitative mass balance and qualititative/holistic approaches.

## Slide 140: Environmental Management of Antibiotic Manufacture
Plant and API specific wastewater treatment demonstration
Mohit Dhamija, EHSS Lead - Third Party Asia, EHS & Sustainability, GSK

## Slide 141: Bio
EHSS (Environment, Health, Safety & Sustainability) professional for 15 years with Post Graduate degree in Environmental Science and Technology. Key skills include auditing, developing & implementing EHSS management systems, environment sustainability, embedding environment sustainability in end to end supply chain, EHSS legal, water & carbon end to end supply chain foot print, Organizations environmental sustainability strategy. Handled various assignments in the field of EHSS with various Organizations including certification bodies, Electronics, Textile Industries, FMCG & Pharmaceutical.
Currently working with GSK, as Third Party EHSS Lead (part of global EHSS Third Party team) and based out of Gurgaon, India. Responsible to drive key EHSS programmes for key third party suppliers in the region

## Slide 142: WWTP Technologies
Releases of antibiotic should be minimised at source where practicable through process and facility design e.g. use of scrubbers, inactivating cleaning agents (e.g. bleach) and capture of high concentration (e.g. mother liquor) and solid waste for incineration.
Wastewater treatment processes generally employee Primary, Secondary and Tertiary treatment processes in order to meet regulatory quality criteria.
Conventional wastewater treatment processes typically employed in pharmaceutical WWTPs were not specifically designed to deliver antibiotic removal or inactivation.
Antibiotic removal effectiveness
Environmental Management of Antibiotic Manufacture

## Slide 143: WWTP Technologies
Use of advanced tertiary treatment techniques may be required for sites to meet low discharge criteria.
Techniques including UV/H2O2 advanced oxidation, alkaline hydrolysis and reverse osmosis are utilised in GSK antibiotic site wastewater treatment to minimise antibiotic release. Zero-liquid discharge is also employed to eliminate aqueous release.
Several literature reviews and many experimental studies have characterised wastewater treatment technologies for the removal of antibiotics. Whilst trends exist, wide variations in effectiveness are also seen. Analysis or modelling of the systems is recommended to understand specific performance where this is critical for establishing PEC.
Antibiotic removal effectiveness
Environmental Management of Antibiotic Manufacture

## Slide 144: Biological Processes
Biological treatment processes are the most commonly applied treatment process for wastewater, both in municipal and industrial wastewater treatment.
Biological processes are used to remove organics from wastewater by several mechanisms - both biotic (biodegradation) and abiotic (sorption, hydrolysis, photolysis).
Biological processes are generally only partially capable of removing antibiotics. Variations are seen across antibiotic classes; Beta-lactams such as penicillin's and cephalosporins are generally more readily removed than macrolides and quinolones.
Due to greater affinity to sludge particles, hydrophobic antibiotics, such as Beta-Lactams Aminoglycosides, Quinolones, and Macrolides are more likely to be concentrated in sludge whilst hydrophilic antibiotics, such as Sulfamethoxazole, show low affinity to sludge. Responsible disposal of recovered sludge is also critical to minimise AMR.
Environmental Management of Antibiotic Manufacture

## Slide 145: Biological Processes
Key operating parameters in biological processes impacting antibiotic removal efficiency are:
  hydraulic residence time
  sludge residence time
  Temperature
  pH
  exposure to light
  dissolved oxygen
  organic load / competing species
  presence of toxic substances
  microbial community diversity
  batch-mode operation of pharmaceutical processes.
Several technologies exist for biological oxidation with Conventional Activated Sludge (CAS) the most common. Membrane Bioreactors (MBR) are also frequently used and generally outperform CAS for antibiotic removal due to longer sludge retention time and higher biomass.
Environmental Management of Antibiotic Manufacture

## Slide 146: Example: Wastewater Treatment
GSK European beta-lactam antibiotic manufacturing site.
  Antibiotic residues are contained at source through the recovery of solid residues wherever, practicable.
  Wastewater from production areas is then routed to a pre-treatment tank and exposed to high pH (pH 12-13) for an extended (hours) duration.
  The pre-treated wastewater is then neutralised prior to discharge to municipal WWTP treatment (including biological treatment) and discharge to a large river.
  Comparison with literature reported kinetic half-lives at the pre-treatment operating conditions justifies a very high removal efficiency– demonstrating control within several orders of magnitude of the PNEC limit*
* Tsuji A, Nakshima E, Deguchi Y, Nishide K, Shimizu T, Horiuchi S, Ishikawa K, Yamana T; Degradation Kinetics and Mechanism of Aminocephalosporins in Aqueous Solution: Cefadroxil; J. Pharmaceutical. Sci.; 1981; 70(10); 1120-1128.

## Slide 148
TOANSA SITE, PUNJAB
CENTRIENT PHARMACEUTICALS : DRIVING SUSTAINABLE GROWTH
KEY TOPIC: WASTE WATER TREATMENT PRACTICES AT TOANSA SITE
BY:
VIKAS GARG (TECHNICAL OPERATIONS DIRECTOR – SOUTH ASIA)

## Slide 149: Bio
Graduate in Chemical Engineering from Ujjain Engineering College
Post Graduate Diploma holder in Management from IIM, Indore
20+ years of experience in multi national pharma companies like Dr. Reddy’s Laboratories, Teva Pharmaceuticals, Centrient Pharmaceuticals
Have worked across Operations, Quality, Sourcing, Technology Transfer, Projects including a short stint in Israel and Croatia
Attended Executive programs in Management at IIM, Ahmedabad

## Slide 150: CONTENTS
INTRODUCTION TO CENTRIENT PHARMACEUTICALS
SUSTAINABILITY - STRATEGY AND ACHIEVEMENTS
COMBATING ANTIMICROBIAL RESISTANCE – JOIN THE FIGHT
WASTE WATER TREATMENT – KEY PROCESSES

## Slide 151: ABOUT CENTRIENT PHARMACEUTICALS
Centrient Pharmaceuticals is a leading manufacturer of beta-lactam antibiotics, and a provider of next generation statins and anti-fungal
The company is now wholly owned by Bain Capital Private Equity, a leading global private investment firm
Headquartered in Rotterdam (Netherlands), Centrient Pharmaceuticals has production facilities and sales offices in China, India, Netherlands, Spain, Egypt, United States and Mexico
We have a strong track record in regulated markets and a clear focus on growing presence in Asia and Latin America

## Slide 152: ABOUT CENTRIENT PHARMACEUTICALS
Our Mission: Improving lives by being at the centre of sustainable and accessible healthcare
Our Vision: To be the leading, diversified and fully integrated partner to generic marketers
Our value proposition: Quality, Reliability and Sustainability shape how we do things as a company
Our world-leading proprietary enzymatic technology ensures an unmatched eco-friendly production process for high-quality products

## Slide 153: CENTRIENT PRODUCT PORTFOLIO
Semisynthetic Penicillin (SSP)
Purimox® (Amoxicillin trihydrate)
Puricillin® (Ampicillin trihydrate)
Isoxazoles
Cloxacillin sodium
Dicloxacillin sodium
Flucloxacillin sodium
Statins
Atorvastatin calcium
Rosuvastatin calcium

## Slide 154: SUSTAINABILITY IS CORE TO OUR STRATEGY
CENTIRENT SUSTAINABILITY STRATEGY
COMBATING ANTIMICROBIAL RESISTANCE
Preventing further rise of AMR through responsible production
Taking leadership stance on AMR with specific environmental focus
HEALTH AND SAFETY
Improving Human health by increasing access to our medicines
Improving social impact
Engaging employees
ENVIRONMENT
Reducing environmental impact: CO2, VOC, COD emissions
Reducing Energy and Water consumption

## Slide 155
“…some concentrations of pharmaceuticals we found in surface water samples where higher than the levels in patients that undergo treatment…”
Joakim Larsson, Professor in Environmental Pharmacology, University of Gothenburg

## Slide 156: COMBATING ANTIMICROBIAL RESISTANCE
Sustainability Highlights: Steps taken 2017 onwards & Journey continues….

## Slide 157
Efforts to Contain Impact of Pharmaceutical Pollution in India
The Indian Government, in April 2017, launched its National Action Plan on AMR, which included the environmental aspect and recommended setting of standards for antibiotic residue in industrial effluent
National Action Plan for AMR Containment
(Apr 2017)
National Consultation to Operationalize NAP
(Sep 2017)
CPCB Expert Committee for Antibiotic Standards for Effluent
(Dec 2017)
1st Draft of Antibiotic Standards for Industrial Effluent*
(Jul 2018)
Kerala Antibiotic Resistance Strategic Action Plan
(Oct 2018)
Our Advocacy Efforts | Engagement with Government decision makers to create urgency for action Technical support and guidance to Government and regulatory bodies for drafting standards Working with independent technical experts to create push for research to fill in critical gaps – GMP a criteria in government tenders Media advocacy on impact of pharmaceutical pollution and the need for action Promoting sustainable supply chain and improvement in quality and regulatory compliance through STEM (Sustainability through excellence in Manufacturing) trainings Supporting initiatives such as Sustainable Health in Procurement Project (SHiPP)

## Slide 158: OUR SUSTAINABILITY LEADERSHIP POSITION
In 2017, True Price - a social enterprise evaluated the impact of our activities against Industry benchmark
Analysis indicated that our company creates “considerable value to society” through contributions to human health
It further concluded that Centrient Pharmaceuticals is successful in “minimizing pharmaceutical pollution and combating the further spread of AMR”
The successful execution of our strategy will help to strengthen our position on sustainability in the coming years

## Slide 159: OUR SUSTAINABILITY ECO-FOOTPRINTS: CENTRIENT INDIA
Chart: 
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
VOC emmissions | 0.80628 | 0.62854 | 0.45964 | 0.37223 | 0.26705 | 0.078304 | 0.076519 | 0.043236 | 0.059295 | 0.059865 | 0.065348 | 0.076216 | 0.062259 | 0.075522 | 0.057186
Phasing out solvent based processes
In 2018, 24% reduction vs 2017
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Sox emmissions | 0.079211 | 0.047365 | 0.035574 | 0.062393 | 0.055206 | 0.054647 | 0.023248 | 0.016296 | 0.014756 | 0.018454 | 0.017019 | 0.028869 | 0.022954 | 0.020519
In 2018, 11% reduction vs 2017
Low Sulphur fuel
Solar panels
Boiler Preheater
Improved SFR
Chart: 
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Water consumption | 80.5943 | 73.5346 | 86.2766 | 62.5406 | 70.68 | 80.8256 | 60.1926 | 51.2901 | 49.4761 | 43.388 | 54.6535 | 56.9062 | 54.1554 | 54.5341 | 51.0173
In 2018, 6.5% reduction vs 2017
Treated water for cooling towers
Treated water for horticulture
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Energy consumption | 109.4 | 80 | 58 | 61.3 | 74.6 | 57.3 | 41.5 | 38.8 | 36.8 | 41.7 | 48.7 | 61 | 60.6 | 58.24
In 2018, 4% reduction vs 2017
Replacement with energy efficient equipment's
Enzymatic process
VOC Emissions (kg/kg of production)
Sox Emissions (kg/kg of production)
Water consumption (liters/kg of production)
Energy consumption (GJ/Ton of production)

## Slide 160: BUSINESS CASE OF VALUING WATER
It’s quite evident that there will be massive water scarcity in years to come. India is going to be hugely impacted
Centrient Pharmaceuticals is fully committed towards efficient use of water
Why focus on water ?
Natural resource conversation
Ensuring availability of life saving drugs
Compliances
Spare water for our society

## Slide 161: OPERATIONAL FLOW
Responsible Production by:
Enzymatic technology
In-process product and intermediates recovery
Process water recycle
Use of solar energy
Production Plants
Treated water
Treated water: Key attributes
Use of treated water: In cooling towers Green belt development We check residual antibiotics at defined frequency
Waste water (High TDS)
Waste Water Treatment : Key attributes
High TDS water: Multi stage evaporation
Low TDS water: Aerobic biological treatment
Over 99.5% antimicrobial content is removed by effective process practices, best in class waste water handling technology at Centrient India
Antimicrobial content < PNEC (0.25 ppb)
Waste water (Low TDS)
Dried solids: Sent to authorized disposal sites
Sludge: Bio gas generated by its decomposition

## Slide 162: WASTE WATER TREATMENT PROCESS
Multi Effect Evaporator (A)
Dried Solids to Authorized disposal sites
High TDS Effluent
Multi Effect Evaporator (B)
Agitated Thin Film Dryer
Biological Treatment Unit
Treated Water generated is used in
Colling towers and Green Belt development
Low TDS Effluent
Ultra Filtration Unit
Reverse Osmosis Unit
Condensate
Decanter
Biogas Generator (2 stage decomposition)
Sludge
Future Plans of Power Generation from Bio-gas
Treated Water

## Slide 163: COMBATING ANTIMICROBIAL RESISTANCE
Waste Water Treatment Technology: Equipment's involved in removal of Antibiotic contents (ensuring less than PNEC value in Treated water)
Water management driven by Our Proud and Dedicated team
Multi Effect Evaporator
Separation of non volatile contents
Thin Film Dryer
Drying of non volatile contents
Biological Treatment unit
COD / BOD & Ammonical nitrogen removal
Ultra Filtration unit
Removal of suspended solids
Reverse Osmosis unit
Removal of dissolved solids

## Slide 164: WASTE WATER CHARACTERSTICS
Treated water Characteristics
Daily Treatment Capacity : 400 KL/day
COD : < 50 ppm
TSS : < 10 ppm
TDS : < 500 ppm
pH : 6.0-8.0
Antimicrobial content : < 0.25 ppb
High TDS water characteristics | Low TDS water characteristics
Daily Inflow : 150 KL/day | Daily Inflow : 175 KL/day
COD : ~ 2.5% | COD : ~ 0.1%
TDS : ~ 4.0% | TDS : ~ 0.2%
Antimicrobial content > 50 ppb | Antimicrobial content > 50 ppb
Effluent from production plants are segregated as High TDS and Low TDS waste water streams
Treated water is online tested at defined frequency on PCB defined parameters

## Slide 166
Thank you

## Slide 167
Backup Slides

## Slide 168: IMPROVING WATER EFFICIENCY: CENTRIENT GLOBAL
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Absolute water consumption (in 1000 m3/year) | 2615 | 2731 | 2502 | 2257 | 1851 | 2032 | 1903 | 3127 | 3640 | 3519 | 3660
Relative water efficiency improvement (%) | 0 | -0.06 | 0.17 | 0.13 | 0.21 | 0.19 | 0.22 | 0.24 | 0.23 | 0.28 | 0.27

## Slide 169: WASTE WATER MANAGEMENT AT CENTRIENT INDIA
Effluent Storage Tank
Quantity : 2
MOC : RCC
(lined with chemical resistant tiles)
Capacity : 100 KL each
Biological Treatment Unit
Quantity : 1
MOC : RCC
Capacity : Hydraulic load 470 KL per day,
(COD 2.8 MT per day)
Power consumption : 4.0 kWh per KL
Multi Effect Evaporator
Quantity : 2
MOC : SS 304 & Ti
Capacity :80 and 140 KL per day
Power consumption : 22 & 12 kWh per KL
Steam consumption : 0.35 & 0.45 MT per KL

## Slide 170: WASTE WATER MANAGEMENT AT CENTRIENT INDIA
Reverse Osmosis Unit
Quantity : 1
MOC : SS 304
Capacity : 415 KL per day
Power consumption : 4.25 kWh per KL
Thin Film Dryer
Quantity : 2
MOC : SS 304
Capacity : 36 KL per day
Power consumption : 40 kWh per KL
Steam consumption : 1.2 MT per KL
Ultra Filtration Unit
Quantity : 1
MOC : SS 304
Capacity : 500 KL per day
Power consumption : Considered with RO

## Slide 200: PANEL DISCUSSION

## Slide 201: END OF CONFERENCE – DAY 1