## Day 1
Question | Answer
D1-PSCI Audit Update 2020
How much time is recommended to perform 100% remote audit? | It depends on size and type of activities of a supplier, and also how much information is available beforehand (e.g. a well completed SAQ along with requested further information). Also on the maturity of a site. To PSCI Member experiences, you will need more time for aligning on various topics with a supplier previous to the audit and preparing for interviews For the actual remote audit, you will most likely need a similar time as for an onsite audit. On the other hand, no time is needed for travel activities.
What is the frequency of PSCI audits for a site/supplier? how it is defined (understood) by a customer | The frequency for carrying out a PSCI Audit at a supplier depends on the PCSI member who carries out the audit. Generally, the Members have their individual risk approaches in defining audit frequencies. They typically depend on the type of facility, past audit performance, strategic importance etc. The PSCI Audit committee will come up with a proposal for an audit frequency soon (most likely around 3 years).
Is PSCI planning to develop virtual audit platforms using technology? especially in COVID times, where onsite audits are not feasible | We are in ongoing exchange within the membership to learn about their approaches to remote (virtual, both expressions mean the same) audits. PSCI Audis can be carried out onsite, party remote or fully remote. This has to be indicated in the audit report (easy to do with the new PSCI SAQ Audit templates on the "overview" page.
What are the differences and connections between Tfs and PSCI audit programs? | There are no connections between these programs, but they have some similarities, but also a number of differences. Both are part of the respective industry initiatives and have been developped by their members. Both adress similar topics. TfS audits are designed for suppliers of TfS members, i.e. for the chemical supply chain. PSCI Audits have been designed for the pharmaceutical supply chain (also including Animal Health and Consumer Health suppliers), as they specifically address topics unique for our industry. TFS Audits are conducted only via approved 3rd parties, and the audit protocol is not publicly available. They are also paid by the supplier and normally it is required to share them amongst the entire membership. PSCI Audits can be conducted either by approved 3rd party audit firms or PSCI member companies. The PSCI Audit protocols are publicly available. The PSCI Audit protocols can be used in a very flexible way, e.g. only the MS/HSE parts may be covered or the MS/Ethics /Labor parts. PSCI Audits can be paid by a sponsor (PSCI Member) or can alternatively also be paid by a supplier. PSCI audit sharing is also more flexible. It is desired that they are shared with the whole membership, but suppliers can decide to share them only with selected members. PSCI puts a very strong emphasis on the continous improvement of the overal audit quality thats why regular auditor trainings are conducted both on the audit process/audit protocols as well as subject matter related training. For more information on the individual audit programs please check the websites of the respective initiatives. For PSCI cehck the PSCI Audit Program Guidance Document.
Is there any sample of a complete audit report for both onsite and remote? | In the meantime there are both remote and onsite audit reports available on the PSCI platform. Audit reports are however only shared within the membership and with a data sharing agreement
Will there be any scores or weightage suppliers with a graph to know where the Organisation is looking for improvement? | No. Each PSCI Member company has their own approaches on supplier evaluation based on audit results. PSCI provides regular evaluation of aggregated audit findings to the membership, also to develop and finetune our supplier capability building efforts.
we've been conducting many audits remotely this year due to COVID, what are your thoughts on effective ways to ensure such audits still meet PSCI objectives? | We are in ongoing exchange within the membership to learn about their approaches to remote (virtual, both expressions mean the same) audits. PSCI Audits can be carried out onsite, party remote or fully remote. This has to be indicated in the audit report as well as explained how answers and information are verified.
As a Social Auditor, is it necessary to join all the 4 days of training? As, I'm not trained for the HSE part before and not certified also. Thanks. | The training is a voluntary training, with a strong focus on HSE and primarily designed for HSE Auditors. It is not mandatory for social auditors. We just started to include a presentation on social topics. We will take your comment into account when preparing for further training, thanks a lot for your feedback
the main updates of the PSCI auditor guidance are already available (published)? or it is still under review? If so, when it is expected to be published? Thanks | Link to PSCI Audit program guidance V6 as of Oct 2020 This version is already available (see also PSCI homepage, key resources for auditors )
Do these PSCI Auditors need to be APSCA Enrolled / Qualified Auditors as PSCI also comes under the umbrella of social compliance audits? | No. PSCI covers labor and HR aspects but is not a full social compliance audit. We nevertheless want sufficiently qualified and experienced auditors, so we require certain trainings and audit experience (see chapter 4 in the PSCI Audit Program Guidance).
PENEC mass balance API loss calculation tool available on PSCI resource ? | See link to "Consolidated PEC:PNEC Calculator tool for Assessing API Discharges" on the PSCI Resource library
what's the difference in partly and fully remote audit | A fully remote audit is an audit at which auditors are not present at a site in person. All interactions of auditors and supplier take place virtually, i.e. via phone, email, any type of video conferning (skype, MS Teams etc.). A partly remote audit (sometimes also called hybrid audit) is an audit in which some activities are carried out remotely (e.g. interviews and discussions) and others onsite (e.g. site tour or parts of a site tour. These activities can take place within one auidt, or at different times (e.g. first the remote part, then later onsite verification).
What parameters are to be taken into consideration to decide whether to conduct 'Remote/Part remote/Onsite' audit? And who decides this? | This depends on the agreement the PSCI member has with the supplier and the individual local situation. For example it is not recommended to conduct a remote audit if there is no stable internet connection, as interviews and other exchange cannot be conducted appropriately then. The success of a remote audit also depends on the willingness of the supplier to share more documents (also beforehand, e.g. very acurately completed SAQ along with required supporting documents) and insights, and also allowing for sharing pictures, videos or allowing some application of technology like live-streaming. The more mature the supplier is regarding HSE and Social/Ethical standards, the easier it is to discuss and gain an impression on the suppliers performance via a remote audit. Remote audits have limited use when it comes up to the social/human rights part of the audit, as it is quite difficult to carry out employee interviews in a really private and secure enviroment. Also checking of payslips and time attendence records is also rather difficult to be checked in sufficient detail. Remote audit alone cannot not fully replace onsite audits in the longer run, as also many HSE related questions can only be fully evaluated when auditors see a site in full operation and employee doing their daily work. Also the social part can only be checked sufficiently in an onsite audit. But we assume remote audits will remain as valuable tools also in future.
For partly remote audits, what % of total audit needs to be performed onsite? | There is no fixed rule in place. At least the time you would estimate for a site tour, employee interviews and check of working hours/payment topics is necessary.
Why 2 classification methods for the observations? Will it not be better to have either of them? | The ideal situation would be to have only one classification type. However we need to consider all our member opinions. Thats why we provide 2 methodologies.
Can you elaborate on risk based approach to be used by auditor | If e.g. time is limited the the auditor needs to concentrate on the most important topics (e.g. topics which are relevant for a supplier due to its activities) to check. These are typically the questions we have provided auditor guidance notes for and which need to be verified on site and via discussion, and not only by a simple document check.
the latest PSCI SAQ Excel version on the PSCI page is dated 7 Feb 2019. Is this the "new" version which is referred to during this training? | See link to key audit resources There you can find the newest templates. The newst version (full SAQ/Audit report template) is as of October 2020
what should be done, if supplier not filled his part in SAQ before audit. | The completed SAQ is essential for preparing for an audit. It is NOT recommended to conduct an audit without having the SAQ available and studied prior to the audit as agenda, detailed audit topics and time management heavily rely on the information provided in the SAQ.
Do we need to interview workers for a pure HSE PSCI Audit as this will help us to know the trainings given on HSE ? | It makes very much sense to speak with workers also for the HSE part of the audit.
Is it compulsory for supplier to fill SAQ prior to audit? | Yes, as this is an essential part of auditor preparation. See also question No 20.
how many days prior to audit we have to ask documents from supplier in case of remote audit | There is no fixed rule in place however it is recommended to have the SAQ and other documents available 3-4 weeks prior to the audit
If at supplier workers contain gender mix(Male & female) , is this requirement we have to use audit team gender mix (interview labor& ethics) | Yes this is recommended
When the new version of SAQ&Report can be available for download? | The new version (7) is already available, see question No. 19.
How is virtual audit tour of plant conducted. Is it pre-recorded video or live streaming. | This depends on the agreement with the supplier. Both pre recorded videos and/or live streaming can be used. It is recommended to concentrate on the most important areas or processes, and not to completely try to simulate a full site tour as this is too time consuming and not realizable.
Does the fire suppression system (fire hydrant, fire extinguisher, fire alarm system) mentioned by the speaker fall under the major category? or would it be critical? | It depends on the exact description of the audit finding and the type of supplier, what finding classification is the most suitable one. The information provided in the question is not sufficient enough to provide you with advice.
Does the pre audit questionnaire contain the applicability as per the requirements ? | The supplier fills out the SAQ and decides to the best of his knowledge whether a question is applicable or not. This can be independently verified by an audit.
If a finding is a repeat from previous audit finding, how to classify this | It depends. It has to be listed in the audit report and also mentioned that it is a repeat finding. It can be classified higher (e.g., a minor could become a major). In case several repeat findings occur, this could be an indication that the CAPA system of the supplier is not working properly, which would also result in an audit finding.
in case of critical and major observation what could be the action plan from the client side | Critical observations are very serious and should be corrected immediately. Major findings are not as serious as critical findings but also should be corrected soon. It is the responsibility of the supplier to think and implement appropriate actions.. In case support is needed then a supplier might consider to use a consultant. In some cases also the sponsor is able to provide some support. Many solutions, especially HSE related ones, are also provided on the PSCI resource library.
Do we need approval from PSCI before appointing Third Party / auditor? | No. Each member can select out of the approved 3rd party audit service providers list whom they wish to work with. In case of supplier self paid audits, the supplier can also select their audit service provider from this list. We do not recomment to use unapproved audit service providers as there is no assurance that they follow the PSCI audit process or provide suitably qualified auditors.
what is non-finding remark (this is under classification of audit finding) | A non finding remark is a recommendation for improvement. It is not a deviation from any standard, but should provide the supplier with ideas to even further improve their performance.
How to define A,B & C type supplier ? | Please check the PSCI Audit Program Guidance chapter 3, section "Audit scope"; A suppliers are service providers & general manufacturers, B suppliers are component & material suppliers and C suppliers cover the Core suppliers & contract manufacturers
Does this mean, the remote audit option will be available only for the pandemic times? | No. Remote audits will continue to be a possibility to conduct audits also in future, because there might be other situations where travel restrictions might occur (e.g. political unrest)
What should be criteria to decide / calculate audit man-day for a PSCI audit? | Please check the PSCI Audit Program Guidance chapter 5, section "Audit duration"
slide 42 mentions last version of report is Version 6.0 - January 2019. Correct? During presentation it was stated that in April 2020 changes were made. | Please see question No 19 and check the provided link. The newest SAQ/Audit report templates have been published in Oct 2020.
SA 8000 internal auditor course is sufficient for labor and ethics | See PSCI Audit Guidance Document, chapter 4 for details . Both SA 8000 (basic and advanced courses) are required (alternatively amfori BSCI training) as well as sufficient audit experience.
Do you have special guidance related to finding classification ? | A guidance with examples for finding classification is currently under preparation and will be published in Q1 2021
D1-CR & Social Compliance Audit
To what depth/how extensive shall the social issues be assessed for a western country, where social rights are legally recognised? | Generally for Western countries; the risk for social accountability is less significant. So; if supplier companies have their internal social compliance available for less than two year; a social auditor can take reference of it example: SEDEX, ECOVADIS, TFS etc.,
PSCI audit guidance requires social auditors to have attended basic and advanced SA8000 auditor qualification course. Is this a mandatory requirement? | Ideally PSCI Social auditor shall have minimum 1000 hours of social auditing experience. It is of course good that he is either basic or advanced certified SA 8000 auditor. Alternatively BSCI training is also accepted.
Can you share your thoughts on corporate responsibility in developing green belt? | Create awareness sessions with Green belt land owners; establish a structured approach for the campaigning on rain water harvesting, use of non conventional energy and renewable energy projects such as Solar, BioGas etc.,
what are the minimum requirements for audit working hours? | It depends on the size of the organization. The detail number of audit man-days are provided in PSCI audit guidance manual. Example: Small, Medium and Large companies / offices. Small is between 1-100 (1 man day audit).
Please further explain the scope of social compliance audits - do we need to audit not only the organization but also external interested parties? | The scope of social audit is very wide. It includes stakeholders such as supply chain partners, customers, society, all departments within the Organization, Government / regulatory authorities, investors etc.,
Will social compliance audit also review PSCI questionnaires as a reference? | Yes; if PSCI audit is completed in last three years; a social auditor will take reference of the same and may provide certification based on the current status of compliance of PSCI audit.
How does the General Data Protection Regulation apply to audit? | Yes GDPR is of course applicable for social audit . All the confidential data shall be used only as per requirement for the audit. 1. Companies need to assess whether processing of personal data is allowed? 2. Auditee company must know how to conduct privacy maintenance? 3. Companies must communicate about privacy.
How do we relate the laws and rules to social compliance audit? | Law of land plays an important role in any social audit. Any audit is based on ISO 19011 standard. The linkage between local laws and legislation and norms of ISO 19011 need to be interlinked by a social auditor.
Compared to other social audit, SAQ are limited - is this because of the distinctive characters of the Pharmaceutical sector? | There is an adequate coverage of all topics of social compliance such as Ethics, HSE, Labor. Pharmaceutical sector has its very different and significant social issues such as Anti Microbial Resistant, environment pollution through emission, river pollution, freely chosen employment and industrial relations issues etc.,
In pharmaceutical companies many migrational workers in India are working. that is new to me.In which areas? | Migrant workers are seen most of the times from one state to another in India. Example - many workers are seen working in Maharashtra who are migrated from Jharkhand, Bihar etc.,
According to PSCI protocol, is it permissible to conduct PSCI audit when we do not have any social auditor background? | No. If the social ethical part of the PSCI audit protocol is audited, then we need to have a sufficently qualified social auditor for conducting this audit.
A big part of social audits is the direct interview with employees. What is your recommendation regarding this topic when performing remote audits? | There are two types of interviews being performed in social audit based on the number of employees/workers within the organization. 1. Individual interview max 5 2. Group interview: 1 group of 4 For a small company maximum number of employees interview shall be maximum 10.
Does social audit involve the interview across interested parties internally or externally (workers, authorities, etc.)? What's the mechanism to perform that | Yes; it involves interviews of internal parties as individual and group interviews. Also it involves interviews from NGO associated with company, society representative, suppliers, investors as an external parties and social returns filed by company.
How "Social Audit" topic is related to PSCI Ethics, Labor and Human Rights audit? | PSCI ethics, labor and Human rights is an integral part of social audit as for any organization social capital is organized from issues raised from them. The consistent contribution of employees / workers towards ethics, labor rights, business and human rights plays an important role in improving the social footprint of any organization.
Do I understand this correctly: Remote/ virtual audit option is not appropriate for social audit since it should be conducted face to face. isn't it? Please advise. | Virtual audit is not an option for social audit. Essentially social audits shall be performed on site only for observing the issues beyond compliance such as ground issues of labor / workers / employees, environmental issues, society perception of organization etc.,
Is SA 8000 internal auditor course conducted by Third party certification body sufficient for Social audit? | No. Auditors also need to conduct a sufficient number of audits per year and have a thorough knowledge of local labor law. See PSCI Audit program guidance for details.
Could you please share PSCI expectations for a labor audit? and common labor issues identified during PSCI audits in Asia? | For PSCI labor audit the expectations are that the organization shall comply with all local labor regulations and strictly abide with PSCI principles such as: 1. Freely chosen employment 2. Child labor and young workers 3. Non Discrimination 4. Fair treatment 5. Wages, Benefits and Working hours 6. Freedom of association Typical issues of labor in PSCI audits in Asia are: 1. Excess working hours / Overtime related issues 2. Issues related to freely chosen employment 3. Employment contracts (clauses relating to Non compete) 4. Non Disclosure agreement (Clauses related to confidentiality of information) 5. Issues related to contract labor (wages, benefits, holidays, appointment letters etc.,).
Do you recommend chosing the interviewee from the site tour? | Yes it is always recommend to take interview while performing a facility tour randomly.
How to identify illicit drug trafficking during social audit? | This is good question. There are many factors which lead to illicit drug trafficking. Just to give few examples: 1.The ratio of contractors staff V/s Full time employees 2. Training record of contractors' staff 3. Attendance of contractors staff (trend) 4. Political influence in the area where manufacturing plant is located. 5. Geographic location of plant 6. Rotation of physical security agency in past two years 7. How strong electronic security of organization is in operation 8. Relationship of contractor with external parties such as political leaders, regulatory authorities, police etc., 9. Rehiring policy of organization. 10. Attendance system of organization especially for contract labor / daily and casual workers.
Still need explanation on dealing with companies that do no allow the auditor to review their payroll record | Payroll record is a complete confidential record. It is important here that how much experience an auditor has in social auditing in such cases and how much in depth knowledge does he/she acquires about organization and particular geography. The external source of information / formal / informal knowledge of auditors plays an vital role here.
How can the contract labour payroll be digitalized?Mostly those are being done by excel-is it okay for auditor? | It is Okay for an auditor as long as the number of contract employees is matching to the number of employees working in the plant in a given month with name and other details.
Is there any variations in Manday calculation when we do virtual audits? | Yes generally virtual audits are performed between 3-4 hours three days session. Again it depends on the size of the organization. But it is not an option for social audit.
Slide 80. How is surveillance categorized under act A element under PDCA? Surveillance Audit should be part of Certification Audits & definitions of PDCA do not really match with Deming Cycle. | Any management system is a continuous improvement process; so "A" plays important role as in surveillance in order to demonstrate the continual improvement actions taken by the organization until re-certification audit. Social audit shall always be seen Beyond Compliance.

## Day 2
Question | Answer
D2-Environmental protection
Chemicals registration is a complex issue - how to assess it within PSCI? | This topic was addressed in the PSCI virtual India conference 2020. Please visit PSCI website to see the presentation on Indian Chemical Mangement & Rules by Dr. Jayachandran Nair by the link below: https://pscinitiative.org/resource?resource=765
One critical step is to classify findings into critical/major/minor. In many cases, it's difficult to differentiate between critical and major - Any insights? | All high risk findings which require immediate action to protect employees or environment or can lead to loss of licence to operate fall under critical , other can be categorized as major or based on auditor judgement.
Are there any special aspects (e.g. wastewater, air emission, greenhouse gases, ODS, etc.) that we need to focus on when doing the environmental audit? | Environment authorizations, chemical registrations and spills are important aspects in addition to waste water, air emissions, GHG and ODS.
Any insights into the environmental issues arising in pharma production and distribution | Some aspects adressed under question no.5. However for disribution, it is important to understand methodology for disposal of the expired finish dosages , for API the method for disposal of expired API.
Do auditor need to have the PNEC of the API before to do the audit | Yes, it is important. During the audit the site should have the PNEC values for their APIs and demonstrate where they have obtained these values from. This could include the AMR Industry Alliance PNEC values for antibiotics or other reputable sources for API PNEC values such as the Temple WET Center. Please find more information through below links: //www.amrindustryalliance.org/wp-content/uploads/2020/01/AMR-Table-1-Update-2020-01-24.pdf https://www.nsfwetcenter.org/2018/09/11/new-pnec-list-9-11-18/
Can you please explain the usage of PNEC PEC tool. | The PNEC/PEC tool is an environmental risk assessment to determine whether the discharge of an API in wastewater (i.e. the Predicted Environmental Concentration) is likely to exceed the Predicted No Effect Concentration in the final receiving water body i.e. lake, river or sea. It is a theorectical calculation assuming the worst case losses of the API into wastewater effluent and conservative removal by any wastewater treatment processes and dilution in the effluent and final receving water body. The objective of PNEC tool is to calculate the concentration of the API in the waste water through the mass balance. You will find more information by below link: https://pscinitiative.org/resource?resource=385
Do we have tool in PSCI resource for assessing PiE (mass balance) estimation for suppliers | PNEC tool, it can be down loaded from the link: https://pscinitiative.org/resource?resource=385
Do we need to monitor APIs/ PiE in water/ soil/ air under PSCI requirements? | It is desirable that PiE is monitored in the waste water which is the major risk area,monitoring air is not an requirement. Any release of APIs to the environment should be evaluated in the audit
Do we need to learn more about life cycle perspective of pharmaceutical industry when conducting PiE audit? | The audit should focus on APIs released to the environment during manufacturing. It should not cover the release of APIs into the environment through patient use.
How ERA can help tackle PiE as it indicates only impact and not treatment / disposal methodology for particular pharmaceutical? | ERA is extremely helpful to understnd the source of emission. Most of the emissions can be addressed at the sourcing e.g. improvising practices like cleaning methods, containment of losses and recovery of API from mother liquor etc. An ERA indicates whether there is an issue with an API environmental release (i.e.PEC/PNEC >1) which should then drive the site to look to ways to reduce their API losses and/or improve their treatment processes
In areas/regions where API standards are not yet available, will PSCI require pharma companies to treat wastewater up to international standards? | PSCI prescibes that supplier complies with the PSCI audit requirement mentioned in self assessment questionnaire ( SAQ)irrespective of region and API standards. There is currently no legislation in any country around the world on API limits in the environment. India have some draft regulations which are yet to come into force. PSCI however is encouraging suppliers to control their API and in particular antibiotic releases
What aspects to be checked for PiE risk if site has zero liquid discharge facility? | Check the water balance i.e. water extracted , flow to WWTP and recycle, factor in the cooling tower losses. Another point important to understand the area of recycle cooling tower/boiler etc. Check how the cooling tower blow down is treated. It is also important to check if the water is checked for residual API contents at the end of pipeline i.e. at the last treatment step. It needs to be confirmed that all the wastewater generated is reused on site and that there are no wastewater discharges to the environment e.g. use in on site gardening. Other PiE risks for ZLD sites could also include disposal of contaminated solid waste and inparticular sludge from wastewater treatment plants
Is there any dedicated methodology for calculating PNEC considering Indian conditions? Is there any PSCI initiative for calculating Country specific PNEC. | There is no country specific elements for calculating PEC/PNECs and the same methodology is applied. The PSCI has an online PEC/PNEC tool which is available for suppliers to use：https://pscinitiative.org/resource?resource=385
Is there any PPM levels or standards to monitor API Concentrations in waste water like from process cleaning like filtration and carbon | The contents are normally at PPM level at these two steps. Hence a method deployed for the analysis of API ( HPLC) , can be modified to dtermine the contents at this stage. There is no proscribed standard for quantification of API mass or concentration discharged following cleaning and wastewater treatment operations and this will be dependent on access to sample and the limitations of analytical methods. As dilution will occur downstream of manufacturing operations through on/off-site treatment etc. required limits of detection will be lower (and require more bespoke/sensitive analytical methods) the further downstream the samples are taken. An ideal standard would be routine analytical montoring before and after key operations to understand removal efficiency.
As per PSCI requirement, are there any limits/standards for APIs' concentration in the treated wastewater before using it for landscaping? | PNEC value is considered as the limits ( until local regulator has fixed). There are dilution factors defined based on the point of discharge i.e. sea, river, lake and land. Each facility can determine the concentration limit of residual API at the end of pipeline i.e. last treatment step keeping in mind impact of dilution factor. For landsacaping a dilition factor for soil application is applicable. It would be recommended that for any wastewater effluent discharged to soil that the API concentration in the effluent to be below the PNEC. Please note at present there are no PNEC values for APIs in soil itself
any findings statistics about Europe? (or rest of the World)? only India and China.. | Very natural question. there is data available for other than India and China. Since India and China are pharma supply hub, Hence most of the audits happened there. In future events , we can share data on other geographies as well.
Can use of treated wastewater (which may have traces of API) on ground for gardening be termed as land-application? | It would be recommended that for any wastewater effluent discharged to soil that the API concentration in the effluent to be below the PNEC. Please note at present there are no PNEC values for APIs in soil itself
Could you elaborate on how the ZLD claim can be checked with water balance evidence? | A robust water balance should indicate the fate of all water and wastewater on site and therefore demonstrate evidence of ZLD claims e.g. no offsite discharge, full recycle of wastewater to utilities etc.
AMR only list PNEC for antibiotics. How about non-antibiotic APIs? | The PNEC value for non-antibiotics is also available. These are to be extracted from the literature or ecotoxicology studies submitted to authorities normally by the innovator. Ideally a site should do an environmental risk assessment for any API environmental discharge. PNEC values for some non-antibiotic APIs can be obtained from the Temple WET Center. Find more information by the link: https://www.nsfwetcenter.org/2018/09/11/new-pnec-list-9-11-18/
Can default PENEC considered in case PENEC value not established | Yes, AMR IA has set 0.03 ppb as the default PNEC for API without PNEC value. For some APIs e.g. antibiotics a default PNEC value of 0.1ug/L is used if there is no PNEC for this API.
what is source of PNEC values for soil | PNEC value for any API remains the constant. The dilution factor changes based on the source of discharge or mixing. Dilution factor is applied to calculate the residual API concentration. At present there are no PNEC values for APIs in soil
How to tackle issue of carbon emission if incineration is solution proposed by PSCI | PSCI shares some of the case studies for dissemination of knowledge. However, each company to decide the treatment method based on the effluent characteristics. Agree, simetimes it may add to Co2. Incineration of API waste can be both expensive and result in carbon emissions. The site should take this into consideration and do a suitable risk assessment balancing this with the risk of environmental damage due to the levels of API in this waste. Use of containment at source techniques is one option available to minimise volumes of material incinerated.
D2-Stormwater management and Zero Liquid Discharge key points
How should the risk posed by disposing the salts to landfill in ZLD be controlled? Isn't it possible that the APIs could leak into environment from landfill? | Leakage from a landfill is known risk. Sludge and salts containing hazardous substances shall be incinerated and only ashes should be landfilled
Is PiE assessment required if site is ZLD | The amount of residual APIs in the recyling streams should be checked to verify removal
Please brief on PEC and PNEC and its calculation? | See CONSOLIDATED PEC:PNEC CALCULATOR TOOL FOR ASSESSING API DISCHARGES on the PSCI webpage
does the sludge from ZLD to be sent for land filling directly or to incinerated as may contain some trace amount of residual pharmaceuticals | Leakage from a landfill is known risk. Sludge and salts containing hazardous substances shall be incinerated and only ashes should be landfilled
What parameters should we used to measure against the API residual detected in the wastewater sludge to be used as fertilizer? Should we use PNEC? | Sludge from ZLD should not be used as fertilzer when it cotains APIs
What are your recommendations to verify the stormwater management program when performing a remote audit? | See my presentation
what is source of PNEC values for soil | See CONSOLIDATED PEC:PNEC CALCULATOR TOOL FOR ASSESSING API DISCHARGES on the PSCI webpage
Storm water monitoring is not a legal requirement in India. Even if a monitoring is done, it is done for basic parameters such as pH & conductivity. Any yhoughts? | It is not mandatory but recommended to prevent soil and groundwater pollution. Pollution of water and soil is prohibited in India
Does having RO treatment system based ZLD effectively means no API discharge in wastewater? | Only if proven my measuring residual API levels
A perception is ZLD site has little PiE risks, but many API, antibiotics/other compounds still accumulate in sludge, aerosols. how to view these holistically? | Leakage from a landfill is known risk. Sludge and salts containing hazardous substances shall be incinerated and only ashes should be landfilled
How much can organization spend on Treatment of process water? | As much as needed to provide water in good quality
PNEC values for soil - where we can get these values | See CONSOLIDATED PEC:PNEC CALCULATOR TOOL FOR ASSESSING API DISCHARGES on the PSCI webpage
TDS balancing will also give a chance to verify effectiveness of ZLD. | Yes if done correctly
The typical issue is that storm rainwater ussualy have valves for collection that should remain ever closed, which ussually is not happening | TRUE
Segregation of waste at source is the need of the hour. How this can be applied to API's units | By segragation of waste streams (corrosive, toxic etc.) and correct storage and adequate treatment (incineration etc.)
D2-PiE & AMR; Antibiotic Emissions
Is PiE and AMR applicable only for companies manufacturing antibiotics? | Due to the risk of AMR it is particularly important that antibiotic manufacturing sites control their antibiotic emissions. There is however increasing interest from NGOs, governments, academia and the public in PiE and companies should consider controlling their releases of all types of APIs
Any points to share on discharge of possible heavy metals? | This would depend on the source of heavy metals which would be operation specific.
Please provide the sample cases of antimicrobial resistance caused by manufacturing discharges of antibiotics in the case studies | Studies conducted in the late 2000s did show that the concentration of antibiotics in some water bodies in the Hyderabd region of India were at therapeutic levels which could result in AMR developing
What would be the recommendation for the patients in terms of properly disposal of medicines? Many times the industry does not receive the product back. | Patients should return any unused medicines to their local pharmacist so that they can be properly disposed of
Is there discharge target for non-anitibIotic APIs? | PNEC values for some non-antibiotic APIs can be obtained from the Temple WET Center. Find more information by the link: https://www.nsfwetcenter.org/2018/09/11/new-pnec-list-9-11-18/
Are there published destruction/deactivation techniques available for different antibiotics? Like high pH for beta lactams | There is significant published literature on the efficiency of various destruction techniques on antibiotics/APIs. Caldwell et al. (2015) provide a good overview of this. Find more information by the link: https://setac.onlinelibrary.wiley.com/doi/full/10.1002/etc.3163
how much should be the dilution factor if the treated water is being used for gardening ? | It would be recommended that for any wastewater effluent discharged to soil that the API concentration in the effluent itself to be below the PNEC. Please note at present there are no PNEC values for APIs in soil itself
What is the recommended/preferred procedure on inactivate antibiotic molecule prior to discharge for wastewater treatment? | There is no recommended or preferred procedure, this will be dependent on the nature of the API manufactured and wastewater sources and should be determined by robust risk assessment.
Since there is no PNEC for soil discharge. What dilution factor is recommended for evaluation of PEC for such case? | It would be recommended that for any wastewater effluent discharged to soil that the API concentration in the effluent itself to be below the PNEC. Please note at present there are no PNEC values for APIs in soil itself
When a manufacturing site comply to local discharge limits but these are higher than PNEC, should this be considered a major finding? | At present it is unlikely that there will be any local discharge limits for APIs as no country in the world has any regulations on API discharge limits
If a supplier doesn't have PEC calculations available, should their lack of ability to demonstrate compliance be classified as a Critical or Major Finding? | It should be a Major finding
Can we as auditors state: the integrity testing of underground features and pipelines is a requirement under the PSCI standard? | Sites should be able to demonstrate that the risk of soil and groundwater contamination from failure of underground pipework is mitigated. This mitigation could include a combination of routine integrity inspection, regular water balancing alongside other design and envronmental considerations.
Do any standards/ guidelines exist to inform the Spill Control & Response Plans? These are usually poorly drafted with little consistency between sites. | No. This is largely because such plans are inherently specific to site operations and risks.
Can any soil discharge of antibiotics (or any API really) ever be "safe"? | It would be recommended that for any wastewater effluent discharged to soil that the API concentration in the effluent itself to be below the PNEC. Please note at present there are no PNEC values for APIs in soil itself
When suppliers mention that they send all waste water to CETP for further treatment, what further questions can an auditor ask to further investigate PiE | The environmental risk assessment must include the dilution and possible removal of the API in the CETP and its impact on the PEC in the final receiving water body
The assessment will cover capabilities in controlling their antibiotic emission (to air) and waste water discharge (to water), is this correct? | Yes. All potential environmental emissions should be considered
Do auditors need to have the PNEC (and MSDS) of the API before conducting the audit ? | During the audit the site should have the PNEC values for their APIs and demonstrate where they have obtained these values from. This could include the AMR Industry Alliance PNEC values for antibiotics or othe reputable sources for API PNEC values such as the Temple WET Center.
What about Antibiotics released to Air from pharma industries, How can it be quantified and controlled? | Airborne releases should be minimised through use of apppropriate equipment and facility design, e.g. use of enclosed equipment, airflow cascades in manufacturing areas and use of abatement techniques such as HEPA filtration, scrubbers etc.

## Day 3
Question | Answer
D3-Process safety risk
how to deal with the lack of lab infrastructure in India for powder testing and reaction calorimetry studies? | There is no alternate to process safety testing to accurately determine risk. However there are rational which defines which test or study required for which type of reactions and material. The process can include literature review, theoretical calculations and inference from basic test to more evolved or detail test.So the suggestion will be till you establish your own process safety test, engage with available laboratories and establish process how they can help you identify which test is required, involve your Purchase / finance department to establish contract with reasonable pricing (discount are given for long term engagement).
How are pharma powders hazardous to human beings? | Pharma powders are hazardous to human beings from both industrial hygiene and hence work place exposure as well as process safety risk.
How people outside the organization can get affected? | Process safety incident have potential to impact person outside organization. Two examples cited during presentation indicate the impact on common person outside organization. The LG polymer case were hazardous chemical storage can have impact on neighboring unsuspected common people. These were example of Toxic release, explosion impact. Also person injured or lost their life due to such incident carries ripple effect to the families and society.
What control measures have to be undertaken by the manufacturing organization to ensure workplace safety and outside environment safety? | For PSCI member companies it is principle that their supply chain respect and ensure safety of people (health and life safety) and also environment. This is further linked with reputation risk and business continuity risk. For supplier also these shall be driving factor, principle based on ensuring safe working environment and protection to environment. To acheive this they need to follow PSCI principle which cover management system, Health & Safety and environment.
Based on your experience in India, could you explain the reasons why major accident happens repetitively in Tarapur & Vizag in recent years? | It is due to lack of robust process safety management system.
Some of the PSCI audit has questions about the operation's impact on the communities. Please can you elaborate on what types of impact we may anticipate? | Impact such as toxic release, explosion impact etc.
Can you explain how to calculate pressure rise rate and temperature rise rate? | This can be done using specialized instrument available for such test.
Process Safety Risk assessment for the R&D is challenging due to limited tech data, lack of samples, etc. in light of this, how to address PSM elements at laboratory scale. | Literature reviews along with basic testing can provide information on safe handling in laboratories. Very elements of Process safety management can be applicable.
Is MiE dependent on concentration of dust? | Yes MiE depends on concentratin of dust
What is meant by dust class St1 St2 St3? | These are dust explosion class. Use to determine explosion protection measures like venting, suppession and containment.
How to calculate MiE ? | MIE- Minimum ignition energy is determined experimentally using testing equipment available for such testing
Is there a standard method of assessing initial risks, risk reduction due to various controls and residual risks? Risk assessment process is rarely robust. | Process Hazard analysis or process safety risk analysis if done systematically can really help in identifying risk, evaluate Hazard and define control to reduce risk.
How can auditors check and confirm that there is objective, scientific basis for the assessment of risks? Most sites seem to have a subjective risk assessment. | This can be checked based on sample. Process hazard analysis or Process safety risk assessment of product or process. Input to PHA such as process safety information, controls defined and availability of same at shop floor.
Can u explain on HAZOP in pharma industries | HAZOP in pharma industries is similar to any process industries
which type of risk assessment is mostly used in pharmaceuticals companies? | HAZOP, what if Analysis/with checklist are commonly used
what kind of controls required for milling and sifting with dust explosive perspective | prevention of Dusting (in case of sifting), grounding and bonding ensuring continuity, prevention of isolated conductors, inertization is special case etc.
Thoughts/tips to auditor on how to cover such broad technical topic that requires deep understanding in the short time we have to cover PSM in the audit? | Check established PSM process, take sample and check how elements of PSM are followed and implemented at site
Can you please explain vent pipe from RD and 90 degree turns? | RD-Rupture disc is emergency pressure relief device and pipe connected to it is required to smoothly vented out to safe location. 90 degree turn or bend restricts smooth relieve and defeats purpose of safe emergency relief.
Shall the Reaction Calorimetry studies be included in PSCI SAQ? Especially for Distillation process and Intermediates | Calorimetry data of distillation process, especially concentrate shall be carried out and included in process safety information.
D3-Emergency preparedness
Do we train employees to evacuate once alarm is heard, or to await instructions from emergency response coordinators? | This has to be defined in the emergency respone plan. Both options are possible
Do we need to prepare for any chemical or antibiotic exposure emergencies? | Yes, an ERP shall also include a spill scenario
What documents are required to implement a good ERP? | The emerhency response plan is normally a stand alone document containing all necessary information: credible scenarios with detailed response, clear responsibilities etc.
What should be the duration of hot work permit for project based jobs? | One shift length only
Is there a specific Hot work permit in ATEX Areas when it exceeds the LEL ? | The LEL check shall be a part of an hot work permit if the location handles flammable liquids and is an ATEX zone.
how can we test wet sprinkler testing in process areas and warehouse. Is there any specific procedure viz a viz annually/once in two years etc? | NFPA 13 testing of sprinklers is a good guidance on this topic.
Should we expect the site to have a dedicated fire water tank? Some fermentation sites has huge water supply pool and are using the same pool for fire water. | Sites need to have a reliable water source. That can be a tank, a reservoir, a pond, a river etc.
How many pumps are recommended for sprinkler pump station and what types | Normal setup is 2. 1 active and one standby. Normaly main pup can be electric or diesel and standby pump is diesel. Jockey pump is normally electric. NFPA 25 is the guidance document here.
How often should fire extinguishers be refilled? Is there any standard expiry duration of extinguishing material? | Fire extinguisher have normally a maintenance/replacement schedule that depend on local rules and type of extinguisher.
Emergency exits and normal exits can be the same? | Yes.
What's a good design of foam sprinklers for chemical tanks? | See NFPA 13 for guidance.
Do we need to also consider the COVID-19 pandemic outbreak recently as part of EPR in the PSCI audit? | Pandemie can be a scenario of the ERP but is more a topic for a site wide BCP.
most of the time when a calamity takes place it appears that the emergency plans in place are not efficient even if all scenario's and testing is done. Why? | An ERP cannot prevent an event but is should mitigate and reduce the severity of the event by reacting to it.
If the SDS is not conforming to the GHS standard (16 chapters), would this be a major or minor finding? | I would define it as major finding.
Relating to the former question of GHS standard, do you think underlying data need to be GLP compliant? This is a question of data quality. | Data for the SDS should be reliable and available. Only then the substance can be classified correctly.
For countries/ areas where natural risk / disaster assessments/studies are not available, how do we assessment compliance of a factory/site? | Exposure can be defined by CatNet of Nathan. Asssessment of natural hazard risks needs to be done by a specialist. The auditor can give the recommendation to hire a 3rd party to do the assessment if he sees that the site has an issue.
Shall we interview the employees to determine their knowledge with regard to hazardous substance, emergency preparedness? | Yes that is a good approach to see if training of SDS information is done.
Is there an accepted approach in case of toxic gas release (ie evacuate vs safe refuges)? | That depends on the characteristics of the gas (lighter or heavier as air) and the site. Stay in a save room can be a measure to prevent that people flee to a place the gas accumulates.
In China, several factories may face fraud alarms, so if the panel was turned to automatic, the auto-sprinkler system will start to work. Any recommendation? | A sprinkler system is only activated when the glas bulb burst and then the pump is started due to the occuring pressure loss.
Drills should not only be on fires, but other emergencies, including natural disasters that may occur in that region: earthquakes, tornados, floods, tsunamis,.. | Yes the ERP drill shall use all scenarios of the ERP
Is AFFF Foam a soil contaminant? | AFFF contain polyfourinated components that are persitent. That is the reson that fire fighting water should no be released to the environment and retention is required.
Should non availability of compatibility study be categorized as finding | Yes. This is a minor finding
based on ZDHC guidelines, SDS should be revised every 3 years instead of 5, please help to clarify | GHS requires re-issuing after changes in the SDS: new classification et. Revision should be at least every 5 years. This would be minimum and PSCI auditors use the 5 years to my understanding.

## Day 4
Question | Answer
D4 - Plant General Safety
what training modules are available on this topic? | Several training modules on different topics are available by conducting search on the internet. The U.S. OSHA website also provides training materials on several topics. (https://www.osha.gov/training/library/materials)
Some companies hesitate to create an emergency situation (simulating fire or explosion). In that case how to review mock drills during audit ? | Third party companies offer offsite training where they can simulate a mock trial of an emergency situation, similar to offsite training on fire fighting. Also, it is good practice to run table-top exercises of emergency response for simulated emergencies. Additionally, provide periodic tours of your site to the local fire department so they become familiar with your facility and the resources you have in place to tackle emergency situations. The fire dept. is interested in knowing the locations of shut off valves for your water supply, gas supply and electricity supply since they are first to arrive on site in case of an emergency.
There has been research that RIR is not statistically valid to measure safety performance. What should we do if companies no longer keep records of their RIRs? | RIR is a good indication of your site's safety performance. However, there are other indicators such as Lost Time Accidents (LTA), Days Away & Restricted Time (DART) Accidents, Frequency and Type of Accidents, etc. All of the above including RIR are considered to be lagging indicators of safety performance. You may want to also consider leading indicators for your safety performance, such as number of audits/inspections conducted, number of near-misses handled, number of trainings completed, etc.
Where can we get the industry data of average rate of accidents, in India and industry-wise, as a benchmark? | Please check with your local Occupational Safety and Health regulatory agency in India, whether they may have industry-wide accident rates that can be used as benchmarks. In the U.S. you can use the Bureau of Labor Statistics (BLS) data to bench mark your specific industry accident rate. (https://www.bls.gov/bls/industry.htm)
Is absence of arc-flash analysis always considered a finding outside the US? | If arc-flash hazard analysis (NFPA-70E regulation in the U.S.) is not a regulatory requirement outside the U.S., then at least it should be pointed out to the site as a "suggestion" rather than a "recommendation", so that the site becomes aware of the hazards of arc-flash and may decide to handle it accordingly.
Does the routine work in a plant require PTW system? If not, is there any other substitute for PTW for routine tasks? | There are certain areas in the plant such as the maintenace yard/shop where there is a designated spot for conducting routine hot work such as welding. According to U.S. OSHA, you do not need permit to work (PTW) or safe work permit (SWP) to perform routine welding work in this area that is considered to be safety compliant and also has the necessary equipment to fight the fire.
Can you elaborate on Drug/alcohol testing? What type of documents to be checked as auditor. | Random drug & alcohol testing can be a company policy depending on your company and the country or region your site is located. Based on reasonable doubt or just plain random selection, employees are requested to give their urine samples for drug testing purposes. As an auditor, you need to check whether the site has a drug/alcohol testing policy as well as whether they enforce drug/alcohol testing, and also whether privacy policy is followed.
How can be the emergency drill in pharmaceuticals ideally? since it has clean rooms/GMP requirements/entry & exit procedure etc..... | There are two types of emergency drills - emergency response drill and emergency evacuation drill. Typically evacation drills should be conducted at least two (2) or more times every year where all employees are required to assemble or meet in designated areas of the plant so everyone including vendors & contractors on site can be accounted via head count. Emergency response drills are conducted by simulating an emergency situation such as release of toxic substance into the atmosphere or in the ground, fire, explosion, large tank spill, medical emergency, etc. The emergency response drill is typically limited to the emergency response team on site that includes personnel from EH&S dept. and site management, as well as the local fire dept. if possible.
What is critical point when we conduct audit to MCC room? | Here are few important things to check when conducting audit of MCC (electrical room): 1) only qualified/trained employees are allowed to work in high voltage areas, 2) cooler temperatures are maintained inside the MCC room especially during hot summer season, 3) rainwater/mositure is prevented from entering the room, 4) sufficient space (36 inches) is provided around electrical breakers/panels for easy access, 5) high voltage labels are placed on electrical panes, 6) lock out tag out procedures are followed when working inside the MCC, 7) smoke/heat detectors are strategically placed in the room, 8) fire suppression, alarm, emergency contact list is in place.
Can we use Latex Gloves as it has banned? | OSHA has not specifically banned the use of latex gloves. These gloves are used especially in the medical health field. However, OSHA has issued a safety bulletin for use of latex gloves with recommended strategies for risk reduction. You should check with local regulations in your specific county regarding use of latex gloves and also other alternatives to using latex gloves.
Using safety goggles continuously in production zones is a requisite but due to humid conditions, it is being used for activities as per PPE matrix. please share your insights ? | I believe your question is related to fogging of safety goggles especially in hot and humid conditions. Some solutions for anti-fogging include used of anti-fog lens coating, use of anti-fog nose bridge strip, anti-fog spray treatment, anti-fog eyewear, etc.
Please can you explain in detail that the Head Protection types 1 & 2 , classes C/G/E? | The types of head protection is as follows: Type 1 hard hats are intended to reduce force of impact from a blow only on top of the head. Type 2 hard hats are intended to reduce force of impact of blow from the side, off-center, and top of the head. Class C (conductive) refers to hard hats that provide provide protection from impact and penetration and NOT from electrical hazards. Class G (general) refers to hard hats that provide protection from electrical shock of upto 2,200 volts. Class E (electrical) refers to hard hats that provide protection from electrical shock of upto 20,000 volts.
Does the auditor always have a single day to review all the EHS questions (questions # 31 to # 100) from the PSCI questionnaire? It is very little time. | I do understand that there is not enough time to review all the EH&S questions during the audit. However here are a few solutions. 1. Two or more auditors could conduct the audit and thus share in the questionnaire review. 2. The auditors could request the supplier site to provide responses or documentation for the questions prior to conducting the onsite visit and therefore only a reduced number of questions will be required for actual review when on site. 3. The auditors could request additional information regarding the supplier responses be sent electronically to the auditors after leaving the site for those questions that the auditors could not review when on site.
your insight of Ergonomic postures concern | It is best to provide training on proper ergonomic postures to employees depending on the tasks they perform to help educate and prevent muscoloskeletal disorders (MSDs) and repetive motion injuries (RMIs). Also, provide the necessary personal protective equipment (PPE) to employees including proper workstation design if working in an office setting. U.S. OSHA provides training materials on its website for computer workstation design. (https://www.osha.gov/SLTC/etools/computerworkstations/)
What is the global standard for Incident classification? | Each country has its own incident (injury/illness) classification system. You should check how your region/county classifies incidents, e.g. serious, first-aid type injury, critical, major, minor, etc. You can also use the PSCI definitions for critical, major and minor incidents. In the U.S. OSHA has a standard, 29 CFR 1904 for Recording and Reporting Occupational Injuries and Illnesses. (https://www.osha.gov/laws-regs/regulations/standardnumber/1904/1904TableofContentsAuthorityfor1904)
Are there special requirements for health check-up for employees working in plants? | Please check local regulations regarding such requirements. Here in the U.S. OSHA has created a guidance document (Medical Screening and Surveillance Requirements in OSHA Standards) for employees working with several hazardous substances such as aresenic, benzene, chromium VI, ethylene oxide, formaldehyde, methylene chloride, etc.
I find it weird that there is no global standard for Incident classification : is there any program to reach such an aim? | See my response above to question "What is the global standard for Incident Classification". I am not personally aware of any program currently to create such a global standard.
D4-Occupational health and IH
What is the reason that OSHA, ACGIH and NIOSH don't have OEL for APIs and Intermediates? | There are many hundreds of thousands of APIs and Intermediates globally. It is not possible for OSHA, ACGIH and NIOSH to create a list of OELs for every API or intermediate. Also, several hazardous ingredients in varying concentrations make up each API. Hence it is difficult to create any OEL for every API or intermediate.
What measures should be adopted if a facility is engaged in handling OEB-4 compound? | Stringent measures including physical barriers should be used between the OEB-4 compounds and the workers handling these compounds. Closed system for material handling and tranfer should be undertaken. Also restricted access barrier system and isolators should be used for handling OEB-4 compounds wherein the worker handles the compound and equipment externally using gloveports.
Is it acceptable if a site shows the banding system and PPE for each level without IH sampling (personal monitoring)? | IH sampling and monitoring are necessary for ensuring compliance with OELs and for creating a banding system as well as for PPE requirements. However where IH sampling is not available, other criteria are available, such as hazard information from SDS, use of known banding system for similar compounds used by other companies, information on chemical hazards from suppliers, recommendations from local or international regulatory agencies, etc.
If there are APIs onsite, are they required to monitor it for the specific API? Or is other methodology acceptable (mass balance, etc)? | OELs should be established for APIs handled on site.
How is Occupational Explosion Limits evaluated, given this data is a common gap in developing countries? Why hearing protection is allowed for 90 dBA/8hr PEL? | I do not fully understand the first part of your question. I presume you are asking that in the absence of OELs, what criteria should be used for evaluting exposure limits for workers. Other criteria are available, such as hazard information from SDS, use of known banding system for similar compounds used by other companies, information on chemicals from suppliers, recommendations from local or international regulatory agencies, etc. For the second part of your question, I presume you are asking why hearing protection should be used for noise level 90 dB/8 hr TWA. The OSHA PEL for noise is 90 dB. However OSHA requires employers to have a hearing conservation program (annual audiometric testing of employees) when the employees are exposed to noise at 85 dB/8 hr TWA and also provide PPE to employees so as to conserve their hearing and prevent hearing loss.
How to deal with the lack of OEL data in public domain ? | This question is similar to the first part of the above question. Please see my response above.
does this presentation include biological monitoring in relation with chemical agent exposure to human? | The major focus of this presentation is on chemical exposure monitoring and very briefly touches upon biological exposure which is a whole new subject.
Do Auditors need to have the OEL (and MSDS) of the API to conduct an HSE audit? | EH&S auditors should request information on OELs, banding system, SDSs, PPE used, engineering controls in place, etc. when they conduct audits at supplier sites.
D4 - High risk work
Can you share some past incidents? any lessons to learn? | Yes - I have an incident to share when I was auditing a supplier. They were doing a confined space entry into a blender to change the auger. The controls for the blenders were on the floor above and when we went to check the lockout, it was discovered that the supplier had locked out the wrong blender. Shows that for lockout you need a lockout, tagout and try out before any work commences.
Does all pharmaceutical/chemical companies have confined space? How do we verify if the company says they do not have one? | Walk around the site and note any potential confined spaces - then ask the site if they have a register or list of confined spaces.
Does it constitute a finding that a confined space does not have labelling? | Yes - all confined spaces shold be labelled
What rescue equipment is appropriate for a confined space? | It depends on the confined space. There is alot of different rescue equipment available - check with local safety equipemtn suppliers. A rope around entrant's waist is not an effective rescue equipment.
Examples of good rescue equipment in general? | See above
Does it constitute a major finding if a confined space does not have atmospheric testing? Do we need to monitor atmospheric gas periodically? | Yes - the atmoshere in a confined space needs to be monitored
Is LOTO required for regular machine check or maintenance? | In most cases, Yes. There may be some unique times when the equipment needs to be live - in these cases ensure there are effective safety procedures and controls in place.
Could you please elaborate on Arch Flash Analysis? | Arc flash is a type of electrical explosion or discharge that results from a connection through air to ground or another voltage phase in an electrical system. For example, when a wire makes contact with an earthed system. Good summary from UK Safety Exectutive: https://elecsafety.co.uk/what-is-arc-flash/
How often should we calibrate the atmospheric testing equipment for confined spaces? Some facilities only calibrate gas detector internally. Is this ok? | As per the instructions from the supplier of the meter you use to monitor the confined space
Does the lack of LOTO constitute a finding? I've observed old electrical panels without any lock out provisions. | Yes - lack of LOTO is usually at least a major finding. All electrical panels should be secured and access restricted
What is the standard for scaffolds safety assessment? Who can be considered "competent" to declare a scaffold safety? Any certification is required? | Check your country's regulatory requirements. In India there is the Indian Standard - Scaffolds and Ladders - Code of Safety - IS 3696 https://law.resource.org/pub/in/bis/S03/is.3696.2.1991.pdf.
What kind of PPE should be used when working in confined spaces? | Conduct a risk assessment and based on the risks identified, the correct PPE can be chosen
Can we conduct audit in China as an Indian Nationality is there any restriction | According to PSCI Audit Guidance, one of the qualifications of auditors from a 3rd party audit company is to ensure below requirements: All auditors are fluent in the local language (as a minimum the social auditor dueto interview of workforce) and in English, as well as familiar with the local culture and working conditions in the applicable industry.